PROCUREMENT NOTICE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

The Chairman, Procurement Committee of the State Pharmaceuticals Corporation of Sri Lanka, Colombo 01 invites sealed quotations from registered and previous sources for following items and bids will be closed at the respective times on the dates given below and will be opened immediately thereafter.

(E. mail /Fax offers as well as FOB offers are not acceptable)

Sealed Bids may be sent by post under registered cover or may be personally deposited in the box available for this purpose at Internal Audit Department in the mezzanine floor of the State Pharmaceuticals Corporation at No. 75, Sir Baron Jayatillake Mawatha, Colombo 1, Sri Lanka.

Bidders or their authorised representatives will be permitted to be present at the time of opening of Bids.

SURGICAL SPECIAL ITEMS

| Tender No./ Bid. Reference | Closing Date | Closing Time | Item | Quantity |
| --- | --- | --- | --- | --- |
| DHS/RSS/86NB/14 | 20.05.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/29/16 | 20.05.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/30/16 | 20.05.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/31/16 | 25.05.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/32/16 | 25.05.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/33/16 | 25.05.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/127/2015 | 20.05.2016 | 2.00 pm | Rubber dam Holder No. 7 | 30 Nos |

SURGICAL ANNUAL ITEMS

| TENDER NO/ BID REFERENCE | CLOSING DATE | CLOSING TIME | ITEM | QUANTITY |
| --- | --- | --- | --- | --- |
| DHS/RS/RQ/206/15 | 20.05.2016 | 2.00 P.M. | Corneal Punch, with stainless base and PTFE punch block. | 15 Nos. |
| DHS/RS/RQ/207/15 | 20.05.2016 | 2.00 P.M. | Suction Head for Vaccum Extraction. | 70 Nos. |
| DHS/RS/RQ/40/16 | 20.05.2016 | 2.00 P.M. | Micro Scissors, straight & curved, stainless steel. | 80 Nos. |
| DHS/RS/RQ/41/16 | 20.05.2016 | 2.00 P.M. | 1. Suture Needles Post Mortem, curved, stainless steel, unsterile. 2. Surgical Suture Needles relaxation stitches, stainless steel, unsterile. | 1,000 Nos. 24,000 Ndls. |

LAB ITEMS

| TENDER NO/ BID REFERENCE | CLOSING DATE | CLOSING TIME | ITEM |
| --- | --- | --- | --- |
| DHS/RL/123SSN/15 | 19.05.2016 | 02.30 P.M. | LAB Items |

Bids should be prepared as per particulars given in the Bidding Documents available at the Head Office of State Pharmaceuticals Corporation of Sri Lanka, No.75, Sir Baron Jayatillake Mawatha, Colombo 1.

Wherever necessary potential bidder/bidders should get registered in terms of the Public Contract Act No.3 of 1987 before collecting the Bid Documents and also should get the contract registered after the award.

CHAIRMAN -PROCUREMENT COMMITTEE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

75, SIR BARON JAYATILLAKE MAWATHA

COLOMBO 1

SRI LANKA.

FAX		:  00 94-11- 2344082

TELEPHONE	:  00 94-11- 2326227/94-11-2335008

E-MAIL		:  impmanager@spc.lk

2015/SPC/N/C/D/0164

| SR No | Item Specification | Quantity | Delivery |
| --- | --- | --- | --- |
| 43562001 | Chamydia ELISA (Antigen Detection) | 2,000 tests | 50% - Immediately |
| 43562002 | Chlamydia ELISA Confirmatory test (Antigen Detection) | 50 tests | 50% - 06 months after 1st lot |

Pack size	:  None

DELIVERY 	:  Immediately

Samples/Literature/Catalogues must be submitted for evaluation on or before the time of tender closing.

(Also should be submitted certificate of Analysis along with the samples)

General Conditions   :

- Offers should be submitted in the format as per annexure.

- To be supplied from freshly manufactured stock

- Each individual item to bear Description of Item, Batch No, Order List No, Indent No, Name and Address of Manufacturer, Date of Manufacture, Date of Expiry, SR No and “STATE LOGO” of Sri Lanka.

- Residual shelf life of each item should be minimum 12 months

- All inner and outer boxes/cartons of laboratory consumables should be labeled Indicating following details in English in clearly visible manner and to be delivered at STD/AIDS Control Programme, Colombo 10 as directed Medical Supplies Division, Colombo 10

        - Description of Item

        - SR No

        - Date of Manufacture

        - Date of Expiry and lot Number – in size 5cm letter/figures in prominently visible manner

        - Name and Address of Manufacturer

        - MSD Order List No

        - SPC Indent No

        - “STATE LOGO” of Sri Lanka Government

        - Special Storage condition of the Item (if available)

- The item should be suitably packed to be stored under normal room temperature and humidity prevailing in Sri Lanka.

- The lot quantities shall be identical and number of Lot Numbers shall be minimal. Each batch quantity should be individually shrunk wrapped and palletized. The shrunk wrapped pallet shall be labeled as described under conditions No 04 and bar code also to be labeled.

- Barcode (code 128) for Batch/lot Numbers shall be printed on the labels of innermost to outermost packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

- Offers for any other economically viable pack sizes different from the specified pack sizes are acceptable with the prior approval of Director, Medical Supplies Division.

- In case the item is not delivered according to the given delivery schedule or non compliance of labeling requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject the whole consignment or part of it.

DHS/RSS/86NB/2014

MSD. Order List. No.  MSD/SC/080 /14/S           Closing On :   20TH MAY, 2016 at    2.00 p.m.

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 53/466028 | Non absorbable Surgical Suture, Coated, Braided Silk Suture BP/USP Standard or Equivalent Standard, size 1, black, 90cm (approx.) length, attached a 20mm - 22mm half circle round bodied taper point eyeless needle, sterile. | 480 Nos. |
| 55/465959 | Non absorbable Surgical Suture, Coated, Braided Silk Suture BP/USP Standard or Equivalent Standard, size 2, black, 90cm (approx.) length, attached a 20mm - 22mm half circle cutting eyeless needle, sterile. | 844 Nos. |

Pack Size :  12/36

Delivery : 100%-Immediately

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and address of

Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details   in

English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev. Baddegama

Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and humidity prevailing in

SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch quantity

should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be labeled with SR No,

Batch No, Date if expiry as described under conditions No. 04 and bar code also to be labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost packing’s as

described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are acceptable with

the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “MSD/SC/080/14/S”, SR No., Description of Item, storage conditions of the item, Batch

No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated in all Supply

Invoices  and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of primary

pack of the consignment shall be brought to the particular attention of Director, Medical Supplies Division of

the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject the

whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the

value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented cost  of

this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same medical

device should be processed simultaneously in order to facilitate relevant Technical Evaluation Committee and

Procurement Committee to consider making cluster awards for such items on an economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from  Administration

Department of SPC.

17.Suppliers should submit all shipping documents including the Bill of lading or Air Way Bill to SPC at least 3 days

prior to arrival of consignments to prevent any delay in clearance.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document issued by

SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there  are

previous quality failures on goods supplied by a particular supplier payments will only be made   upon testing

the quality and standards of the goods and comparing the bulk supply with the samples provided along with

the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the procuring of

said order in any stage, if you would be placed the defaulted supplier’s list due to quality failure found in your

previous supplies made to SPC or non compliance of contractual agreement

22.  This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23. Destination Terminal Handling charges (THC) should be borne by the supplier at the Port of

Loading.  Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be   16.11.2016.

25.The bid submitted should be duly signed and endorsed by the Bidder/ Tenderer him self (with the name and

designation of the signatory) or by the representative.  Representatives submit offers on behalf of their

principals should submit a letter of authorization and power of attorney (if signing on behalf of the principals)

and also should submit documentary proof on their registration as per the Act. No. 03 of 1987 with the

Department of the Registrar of Companies – Sri Lanka.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers. (where applicable)

DHS/RSS/RQ/29/16

2016/SPC/A/C/S/00136    	CLOSING ON:   20th May, 2016  AT      2.00 pm

| ITEM SR No | Item Specification | Quantity | Bid Bond Value |
| --- | --- | --- | --- |
| 13/13522500 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), compliance type, size 2mm x 8mm balloon, sterile. | 60 Nos | - |
| 19/13522700 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), compliance type, size 2.5mm x 8mm balloon, sterile. | 60 Nos | LKR 40,305.50 USD 280.04 |
| 21/13522702 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), compliance type, size 2.5mm x 12mm balloon, sterile. | 60 Nos | LKR 30,000.00 USD 208.43 |
| 23/13523200 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 2.5mm x 8mm balloon, sterile. | 24 Nos | - |
| 24/13523201 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 2.5mm x 10mm balloon, sterile. | 24 Nos | - |
| 25/13523300 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 2.75mm x 8mm balloon, sterile. | 60 Nos | LKR 45,287.42 USD 314.65 |
| 26/13523301 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 2.75mm x 10mm balloon, sterile. | 60 Nos | LKR 36,127.32 Usd 251.00 |
| 27/13523302 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 2.75mm x 12mm balloon, sterile. | 60 Nos | LKR 45,287.42 USD 314.65 |
| 28/13523303 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 2.75mm x 15mm balloon, sterile. | 60 Nos | LKR 42,000/= USD 291.81 |
| 29/13523400 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.0mm x 8mm balloon, sterile. | 60 Nos | - |
| 30/13523401 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.0mm x 10mm balloon, sterile. | 60 Nos | LKR 45,287.42 USD 314.65 |
| 31/13523402 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.0mm x 15mm balloon, sterile. | 60 Nos | LKR 42,000/= USD 291.81 |
| 32/13523500 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.25mm x 8mm balloon, sterile. | 60 Nos | LKR 45,287.42 USD 314.65 |
| 33/13523501 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.25mm x 10mm balloon, sterile. | 60 Nos | LKR 33,600/= USD 233.45 |
| 34/13523502 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.25mm x 12mm balloon, sterile. | 60 Nos | LKR 33,696.80 USD 234.12 |
| 35/13523503 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.25mm x 15mm balloon, sterile. | 60 Nos | LKR 33,696/= USD 233.45 |
| 36/13523600 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.5mm x 8mm balloon, sterile. | 60 Nos | LKR 35,902.91 USD 249.45 |
| 37/13523601 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.5mm x 10mm balloon, sterile. | 60 Nos | LKR 33,600/= USD 233.45 |
| 38/13523602 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.5mm x 12mm balloon, sterile. | 60 Nos | LKR 42,000/= USD 291.81 |
| 39/13523700 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 4mm x 8mm balloon, sterile. | 60 Nos | LKR 42,000/= USD 291.81 |
| 40/13523800 | Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), Chronic Total Occlusion type, size 1.00mm x 10mm balloon, sterile. | 24 Nos | - |

Packing : 01

Delivery : Immediately

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2016/SPC/A/C/S/00136”,,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be   16.11.2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/ 30/16

2016/SPC/N/C/S/00021    	CLOSING ON:    20TH MAY, 2016  AT   2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 24/18403501 | Push Rod, Single Patient Kit, size 29. | 140 Kits |
| 25/18403502 | Push Rod, Single Patient Kit, size 35. | 115 Kits |

Packing : 01

Delivery : Immediately

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2016/SPC/N/C/S/00021”,,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be  16.11. 2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/31/16

2016/SPC/A/C/S/00121  	     CLOSING ON:      25TH MAY, 2016    AT     2.00 pm

| ITEM NO | SR NO | ITEM | QUANTITY Nos. |
| --- | --- | --- | --- |
| 3 | 13507501 | Angiographic Catheter, pigtail, size 4F, angled 155 degrees, 100cm - 110cm length, sterile. | 10 |
| 8 | 13508601 | Angiographic Catheter, Sones type or similar, size 5F, with end hole and 4 side ports, 100cm - 110cm length, sterile. | 25 |
| 9 | 13509000 | Angiographic Catheter, NIH type or similar, size 4F, 60cm - 80cm length, sterile. | 50 |
| 10 | 13509001 | Angiographic Catheter, NIH type or similar, size 5F, 60cm - 80cm length, sterile. | 25 |
| 11 | 13509100 | Angiographic Catheter, Berman type or similar, size 4F, 60cm - 80cm length, sterile. | 50 |
| 12 | 13509101 | Angiographic Catheter, Berman type or similar, size 5F, 60cm - 80cm length, sterile. | 50 |
| 13 | 13509301 | Angiographic Catheter, RIM type or similar, size 5F, 60cm - 80cm length, sterile. | 50 |
| 14 | 13509300 | Angiographic Catheter, RIM type or similar, size 4F, 60cm - 80cm length, sterile. | 50 |
| 15 | 13509800 | Coronary Guiding Catheter, Left, Amplazter type or similar, size 4F, curve style AL 1, 100cm - 110cm length, sterile. | 10 |
| 16 | 13512400 | Coronary Guiding Catheter, Left, Judkin type or similar, size 4F, curve style JL 3, 100cm - 110cm length, sterile. | 10 |
| 17 | 13512401 | Coronary Guiding Catheter, Left, Judkin type or similar, size 5F, curve style JL 3, 100cm - 110cm length, sterile. | 10 |
| 18 | 13512500 | Coronary Guiding Catheter, Left, Judkin type or similar, size 4F, curve style JL 3.5, 100cm - 110cm length, sterile. | 10 |
| 19 | 13513301 | Angiographic catheter for right coronary,Judkin type,usable length 100cm,size 4F,tip curve JR 3.0.Sterile.Packed individually and labelled accordingly. | 100 |
| 20 | 13513303 | Coronary Guiding Catheter, Right, Judkin type or similar, size 5F, curve style JR 3, 100cm - 110cm length, sterile. | 50 |
| 21 | 13514100 | Wedge Pressure Balloon Catheter, with two lumen, size 4F, 100cm - 110cm length, sterile. | 25 |
| 22 | 13514101 | Wedge Pressure Balloon Catheter, with two lumen, size 5F, 100cm - 110cm length, sterile. | 25 |
| 32 | 13514500 | Percutaneous Introducer Set, long sheath, Balkin type or similar, size 5.5F, 40cm - 60cm length, should accept a guidewire of size 0.89mm (0.035") diameter or above, sterile. | 25 |
| 39 | 13514700 | Delivery System for PDA device of ADO I type, with delivery cable, side arm, and haemostat valve, size 6F, 80cm (approx.) length, with compatible guidewire of size 0.89mm (0.035") diameter or above, | 5 |
| 40 | 13514701 | Delivery System for PDA device of ADO I type, with delivery cable, side arm, and haemostat valve, size 7F, 80cm (approx.) length, with compatible guidewire of size 0.89mm (0.035") diameter or above, | 5 |
| 41 | 13514702 | Delivery System for PDA device of ADO I type, with delivery cable, side arm, and haemostat valve, size 8F, 80cm (approx.) length, with compatible guidewire of size 0.89mm (0.035") diameter or above, | 5 |
| 42 | 13514800 | Delivery System for PDA device of ADO II type, with delivery cable, side arm, and haemostat valve, size 4F, 80cm (approx.) length, with compatible guidewire of size 0.89mm (0.035") diameter or above, | 10 |
| 43 | 13514801 | Delivery System for PDA device of ADO II type, with delivery cable, side arm, and haemostat valve, size 5F, 80cm (approx.) length, with compatible guidewire of size 0.89mm (0.035") diameter or above, | 10 |
| 47 | 13514905 | Percutaneous Introducer Set, long sheath, Mullin type or similar, size 12F, 60cm - 80cm length, should accept a guidewire of size 0.89mm (0.035") diameter or above, sterile. | 5 |
| 48 | 13515100 | Percutaneous Introducer Set, long sheath, hydrophyllic coated, Cook Flexor type or similar, size 4F, 90cm - 100cm length, should accept a guidewire of size 0.89mm (0.035") diameter or above, sterile. | 5 |
| 49 | 13515101 | Percutaneous Introducer Set, long sheath, hydrophyllic coated, Cook Flexor type or similar, size 5F, 90cm - 100cm length, should accept a guidewire of size 0.89mm (0.035") diameter or above, sterile. | 5 |
| 67 | 13513400 | Coronary Guiding Catheter, Right, Judkin type or similar, size 4F, curve style JR 3.5, 100cm - 110cm length, sterile. | 100 |

Packing : 01

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2016/SPC/A/C/S/00121,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be  21.11. 2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/ 32/16

2016/SPC/N/C/S/00075                      	CLOSING ON:  25TH MAY, 2016  AT      2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 04/13514100 | Wedge Pressure Balloon Catheter, with two lumen, size 4F, 100cm - 110cm length, sterile. | 05 Nos |
| 05/13514101 | Wedge Pressure Balloon Catheter, with two lumen, size 5F, 100cm - 110cm length, sterile. | 05 Nos |

Packing : 01

Delivery : Immediately

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2016/SPC/N/C/S/00075,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be   21.11. 2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/33/16

2016/SPC/A/C/S/00134  	     CLOSING ON:    25TH MAY, 2016  AT    2.00 pm

| ITEM NO | SR NO | ITEM | QUANTITY Nos. |
| --- | --- | --- | --- |
| 49 | 13524400 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.53mm (0.021") diameter, 150cm - 190cm length, sterile. | 25 |
| 50 | 13524401 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.53mm (0.021") diameter,260cm - 300cm length, sterile. | 25 |
| 57 | 13525100 | Guidewire, straight tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.89mm (0.035") diameter, 150cm - 190cm length, sterile. | 20 |

Packing : 01

Delivery :  Immediately

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2016/SPC/A/C/S/00134,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be 16.11. 2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/127/2015

MSD Order List No. 2015/SPC/N/C/S/01514      Closing On : 20TH MAY, 2016  AT  2 .00 pm

| ITEM/SR NO. | DESCRIPTION OF ITEM | Qty. |
| --- | --- | --- |
| 02/28103304 | Rubber dam Holder No.7 | 30 Nos |

Delivery	: Immediately

Pack Size       :  30

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Stock

Reference No. (Lot No)., Name and address of Manufacturer, Date of Manufacture, Date of expiry,

(If No Expiry it should indicate on label) SR No., and ‘STATE LOGO” of Sri Lanka Government.

04.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following

details in English in clearly visible manner and to be delivered at Medical Supplies Division, No.

357, Rev. Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies

Division.

- Description of Item

- SR No., Date of Manufacture, Date of Expiry and Lot Number

(In size 5cm letters/figures in prominently visible manner)

- Name and Address of Manufacturer,

- MSD Order List No., SPC Indent No.

- “STATE MARK” of Sri Lanka Government

- Special Storage condition of the Item (if available)

05.The item should be suitably packed to be stored under normal room temperature and humidity

prevailing in SRI LANKA.

06.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

7.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

8.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

9.  MSD Order List No. “2015/SPC/N/C/S/01514  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

10.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

11.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

12.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

13.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

14.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

15.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

16.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

17.To be supplied as per the delivery schedule indicated in the order list.

18.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

19.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

20.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

21. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

22.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

23. Offer validity should be  16.11. 2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

# Text boxes

DHS/RL/123SSN/15 Closing on 19.05.2016 @ 02.30 P.M.

URGENT