PROCUREMENT NOTICE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

The Chairman, Procurement Committee of the State Pharmaceuticals Corporation of Sri Lanka, Colombo 01 invites sealed quotations from registered and previous sources for following items and bids will be closed at the respective times on the dates given below and will be opened immediately thereafter.

(E. mail /Fax offers as well as FOB offers are not acceptable)

Sealed Bids may be sent by post under registered cover or may be personally deposited in the box available for this purpose at Internal Audit Department in the mezzanine floor of the State Pharmaceuticals Corporation at No. 75, Sir Baron Jayatillake Mawatha, Colombo 1, Sri Lanka.

Bidders or their authorised representatives will be permitted to be present at the time of opening of Bids.

LAB ITEMS

| TENDER NO/BID REFERENCE | CLOSING DATE | CLOSING TIME | ITEM | QTY |
| --- | --- | --- | --- | --- |
| DHS/RL/188WAC/15 | 08.11.2018 | 02.30 P.M. | 50740101-Teats, rubber, neck bore size 4mm 50740102-Teats, rubber, neck bore size 6mm | 1,000 Nos 750 Nos |
| DHS/RL/138SSN/16 | 12.11.2018 | 02.30 P.M. | 02/41405701-Nessler reagent 03/41406101-Sodium pyruate | 4250ml 125g |
| DHS/RL/139NK/16 | 12.11.2018 | 02.30 P.M. | 1/41304002-Ponceau AR 2/41306301-Erythrosine 3/41306501-Sunset yellow – E 110 4/41306601-Tartrazine – E102 | 25g 25g 25g 25g |
| DHS/RL/99SSN/18 | 12.11.2018 | 02.30 P.M. | 01/45324201-Isosorbidemononitrate EPCRS (Cat No I 0775010) 07/45325301-Ranitidine Impurity B EPCRS 11/45326101-Chloramphenicol EPCRS (Cat No C 1200000) 12/45326301-Ciprofloxacin Hydrochloride EPCRS (Cat No : C 2190000) | 200mg 100mg 250mg 300mg |
| DHS/RL/98NK/18 | 12.11.2018 | 02.30 P.M. | 01/43004601-Iodine | 2000g |

SURGICAL ANNUAL ITEMS

| TENDER NO/BID REFERENCE | CLOSING DATE | CLOSING TIME | ITEM | QUANTITY |
| --- | --- | --- | --- | --- |
| DHS/RS/RQ/155/18 | 09.11.2018 | 2.00 P.M. | Paediatric Intra Ocular Lens, various type ( Items 7) | SPC website www.spc.lk |

PHARMA ITEMS

| Tender no | Closing date | Time | Item | Quantity |
| --- | --- | --- | --- | --- |
| DHS/RP/570/2018 | 08.11.2018 | 3.00 PM | Acetylcholine Chloride Intraocular solution 10mg/1ml, 2ml vial | 75 vials |
| DHS/RP/21/2019 | 07.11.2018 | 3.00 PM | Midazolam Maleate Tablet 7.5mg | 67,500 Tabs |
| DHS/RP/22/2019 | 07.11.2018 | 3.00 PM | Tinzaparin Sodium Injection 3500units | 9,000 PFS |
| DHS/RP/23/2019 | 07.11.2018 | 3.00 PM | Leflunomide Tablet 20mg | 300,000 Tabs. |
| DHS/RP/24/2019 | 08.11.2018 | 3.00 PM | Ursodexycholic Acid Tablet 150mg | 100,000 Tabs. |
| DHS/RP/25/2019 | 08.11.2018 | 3.00 PM | Zuclopenthixol Deconate Injection 200mg/ml, 1ml | 800 Amps. |

Bids should be prepared as per particulars given in the Bidding Documents available at the Head Office of State Pharmaceuticals Corporation of Sri Lanka, No.75, Sir Baron Jayatillake Mawatha, Colombo 1.

Wherever necessary potential bidder/bidders should get registered in terms of the Public Contract Act No.3 of 1987 before collecting the Bid Documents and also should get the contract registered after the award.

CHAIRMAN -PROCUREMENT COMMITTEE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

75, SIR BARON JAYATILLAKE MAWATHA

COLOMBO 1

SRI LANKA.

FAX		:  00 94-11- 2335008

TELEPHONE	:  00 94-11- 2335008

E-MAIL		:  impmanager@spc.lk

------------------------------------------------------------------------------------------------------------

Chairman- Procurement Entity

On behalf of

CHAIRMAN DEPARTMENTAL PROCUREMENT COMMITTEE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

75, SIR BARON JAYATILLAKE MAWATHA

COLOMBO 1

SRI LANKA.

DHS/RS/RQ/155/18 of 09.11.2018 @ 2.00 p.m.

2018/SPC/E/R/S/00270

| ITEM SR No | Item Specification | Quantity Nos. |
| --- | --- | --- |
| 01/13006001 | Paediatric Intra Ocular Lens, foldable type, Hydrophobic Acrylic, spherical, polished, single piece colourless lens, Power -1D, Optic diameter 6.0mm, Overall diameter 13.0mm, Haptic angulation 0 degree, Insertion size 2.4-2.6mm, UV blocking filtration, Capsular bag placement, YAG laser compatible, sterile, accompanied with compatible cartridge and injectable system which should be provided to the hospitals free of charge. | 35 |
| 02/13006002 | Paediatric Intra Ocular Lens, foldable type, Hydrophobic Acrylic, spherical, polished,single piece,colourless lens, Power 0 D, Optic diameter 6.0mm, Overall diameter 13.0mm, Haptic angulation 0 degree, Insertion size 2.4-2.6mm, UV blocking filtration, Capsular bag placement, YAG laser compatible, sterile, accompanied with compatible cartridge and injectable system which should be provided to the hospitals free of charge. | 25 |
| 03/13006003 | Paediatric Intra Ocular Lens, foldable type, Hydrophobic Acrylic, spherical, polished, single piece colourless lens, Power 1 D, Optic diameter 6.0mm, Overall diameter 13.0mm, Haptic angulation 0 degree, Insertion size 2.4-2.6mm, UV blocking filtration, Capsular bag placement, YAG laser compatible, sterile, accompanied with compatible cartridge and injectable system which should be provided to the hospitals free of charge. | 25 |
| 04/13006004 | Paediatric Intra Ocular Lens, foldable type, Hydrophobic Acrylic, spherical, polished, single piece colourless lens, Power 2 D, Optic diameter 6.0mm, Overall diameter 13.0mm, Haptic angulation 0 degree, Insertion size 2.4-2.6mm, UV blocking filtration, Capsular bag placement, YAG laser compatible, sterile, accompanied with compatible cartridge and injectable system which should be provided to the hospitals free of charge. | 25 |
| 05/13006005 | Paediatric Intra Ocular Lens, foldable type, Hydrophobic Acrylic, spherical, polished, single piece colourless lens, Power 3 D, Optic diameter 6.0mm, Overall diameter 13.0mm, Haptic angulation 0 degree, Insertion size 2.4-2.6mm, UV blocking filtration, Capsular bag placement, YAG laser compatible, sterile, accompanied with compatible cartridge and injectable system which should be provided to the hospitals free of charge. | 25 |
| 06/13006006 | Paediatric Intra Ocular Lens, foldable type, Hydrophobic Acrylic, spherical, polished, single piece colourless lens, Power 4 D, Optic diameter 6.0mm, Overall diameter 13.0mm, Haptic angulation 0 degree, Insertion size 2.4-2.6mm, UV blocking filtration, Capsular bag placement, YAG laser compatible, sterile, accompanied with compatible cartridge and injectable system which should be provided to the hospitals free of charge. | 25 |
| 07/13006007 | Paediatric Intra Ocular Lens, foldable type, Hydrophobic Acrylic, spherical, polished, single piece colourless lens, Power 5 D, Optic diameter 6.0mm, Overall diameter 13.0mm, Haptic angulation 0 degree, Insertion size 2.4-2.6mm, UV blocking filtration, Capsular bag placement, YAG laser compatible, sterile, accompanied with compatible cartridge and injectable system which should be provided to the hospitals free of charge. | 25 |

Pack size  :     Each

Delivery    :   100% immediately.

NB :  If offers are received on Import & Supply basis  from local suppliers, those

offers should be in LKR,  All local suppliers/Manufacturers should quote in LKR

for the total delivery price to MSD stores.

Samples Catalogue/Literature should be submitted for evaluation

This bid is administered by the provisions of the “Public Contract Act No. 3 of 1987” and therefore, in the event bidder is to retain an agent, representative, nominee for and on  behalf of Bid or shall register himself and such public contract act in accordance with the section 10 of the Public Contract Act and produce such valid  original certificate

with this bid.

All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of item on instances where the total Tendered Price of item exceeds LKR 1 million. Bid Bond should be valid upto 06.06.2019 submitted together with the tender

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for time by shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s country.

“ C&F offers are not acceptable  if not strictly adhering to labeling  requirements stated in the tender condition of supply”

Amendment to the Tender documents

Page No. 05 condition No. 16 (A)

The successful supplier should agree to enter into a Contract/Agreement is applicable normally for awards which are over LKR 500,000.00 instead of

LKR. 10 million.

Offers should be submitted in the format as per annexure with validity upto 07.05.2019.

General Conditions :

01.   To be supplied from freshly manufactured stock.

02. The products should have a minimum of 36 months shelf life at the time of delivery

at Medical Supplies Division.

03. Each individual item to bear Description of Item, Batch No., Order List No., Indent No.,

Name and Address of Manufacturer, Date of Manufacture, Date of Expiry, SR No., and

“STATE LOGO” of Sri Lanka Government.

04. All inner and outer boxes/cartons of surgical consumables should be labeled indicating

following details in English in clearly visible manner and to be delivered at Medical Supplies

Division, No. 357, Rev. Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed

by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

05. The item should be suitably packed to be stored under normal room temperature and

humidity prevailing in SRI LANKA.

06. The batch quantities shall be identical and number of Batch Numbers shall be minimal. Each

batch quantity should be individually shrunk wrapped and palletized. The shrunk wrapped

pallet shall be labeled as described under conditions No. 04 and bar code also to be labeled.

07.  Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to

outermost packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

08. Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

09. MSD Order List No. “2018 /SPC/E/R/S/00270  ”, SR No., Description of Item, storage

Conditions  of the  item, Batch  No.,  Date of  Manufacture, Date of Expiry of Item and  SPC

Indent No. should be indicated in all  Supply Invoices and Packing Lists.

10.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the

labels of primary pack of the consignment shall be brought to the particular attention of

Director, Medical Supplies Division of the prior approval.

11.In case the item is not delivered according to the given delivery schedule or non compliance

of labeling requirement, specially the barcode labeling, Director, Medical Supplies Division has

the right to reject the whole consignment or part of it delivered thereafter.

12.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

13. If any purchases have to be made by Medical Supplies Division to ensure continuity of

supply, owing to delaying/ defaulting the supply of this order, any excess expenditure

incurred over and above indented cost  of this order shall be recovered from supplier.

14.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend           procuring of said order in any stage, if you would be placed in the defaulted supplier’s list due to  quality failure found in your previous supplies made to SPC or non compliance of contractual  agreement.

15. The bid submitted should be duly signed and endorsed by the Bidder/ Tenderer him self  (with the name and designation of the signatory) or by the representative. Representatives  submit offers on behalf of their principals should submit a letter of authorization and power  of attorney (if signing on behalf of the principals) and also should submit documentary proof  on their registration as per the Act. No. 03 of 1987 with the Department of the Registrar of Companies – Sri Lanka.

16. Cluster Awards : - Different strengths of same drug or chemical/ different sizes or shapes of  same medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation Committee and Procurement Committee to consider making cluster awards for such items on an economical manner.

17. Suppliers should submit all shipping documents including the Bill of lading or Air Way Bill to SPC at least 2-3  days prior to arrival of  consignments to prevent any delay in clearance.

18.Representative samples in respect of items offered should be submitted to reach SPC on or

before the closing time on the closing date of tender and acknowledgement receipt to be

obtained from Administration Department of SPC.

19. Where a purchase for a particular item is being made for the first time from a supplier or

where there  are previous quality failures on goods supplied by a particular supplier

payments will only be  made upon testing the quality and standards of the goods and

comparing the bulk supply with the samples provided along with the offer.

20.The successful Tenderer shall within 14 days from the notification of award and to be

submitted an unconditional Performance Bond through a Commercial Bank in Sri Lanka for

10% of the total value of award. Failure to comply with this request shall constitute sufficient

grounds for the Corporation to cancel  such award and forfeit the Bid Bond/Security without

any notice.

21. “Destination Terminal Handling charges (THC) should be borne by the supplier at the Port of

Loading. Hence when the C & F prices are quoted this should be inclusive of THC”

22  In the event of delivery of consignments deviating from given delivery schedule by MSD and

same is rejected due lack of storage space  available at MSD warehouses, any resulting

demurrage  charges incurred shall be borne by the suppliers concerned.

23.  If awarded supplier is unable to adhere the delivery schedule due to no fault of the

SPC/Ministry would result in the supplier being surcharge 0.5% of total bid amount per day

from the due delivery date.

24.  If the shipment is being effected on FCL basis both FOB and fright charges should be

quoted  separately against  each item in addition to quoted C&F price.  The volume of the

total quantity of each item should be given in cubic meters (m3)

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF

MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.