PROCUREMENT NOTICE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

The Chairman, Procurement Committee of the State Pharmaceuticals Corporation of Sri Lanka, Colombo 01 invites sealed quotations from registered and previous sources for following items and bids will be closed at the respective times on the dates given below and will be opened immediately thereafter.

(E. mail /Fax offers as well as FOB offers are not acceptable)

Sealed Bids may be sent by post under registered cover or may be personally deposited in the box available for this purpose at Internal Audit Department in the mezzanine floor of the State Pharmaceuticals Corporation at No. 75, Sir Baron Jayatillake Mawatha, Colombo 1, Sri Lanka.

Bidders or their authorised representatives will be permitted to be present at the time of opening of Bids.

SURGICAL SPECIAL ITEMS

| Tender No. | Closing Date | Closing Time | Item | Quantity |
| --- | --- | --- | --- | --- |
| DHS/RSS/RQ/13/19 | 25.01.2019 | 2.00 pm | Male Condoms | 4,000,000 Nos |
| DHS/RSS/RQ/16/19 | 25.01.2019 | 2.00 pm | Drug Eluting Coronary Stent,2.75 mm diameter,30-31mm length,sterile. | 371 Nos |
| DHS/RSS/RQ/17/19 | 30.01.2019 | 2.00 pm | Synthetic casting materials | SPC web site www.spc.lk |
| DHS/RSS/RQ/18/19 | 30.01.2019 | 2.00 pm | Intra Aortic Balloon Catheters | SPC web site www.spc.lk |
| DHS/RSS/RQ/19/19 | 30.01.2019 | 2.00 pm | Level Sensor Mounting Pad, compatible for Terumo APS heart lung machine. | 400 Nos |
| DHS/RSS/RQ/20/19 | 30.01.2019 | 2.00 pm | Retractor Perineal, Turner Warwick type ( or similar) with oval sprocket frame (approx.) 180mm x 140mm and six blades, stainless steel. | 02 Nos |
| DHS/RSS/RQ/21/19 | 01.02.2019 | 2.00 pm | Surgical Non-Consumables | SPC web site www.spc.lk |
| DHS/RSS/RQ/224/18 | 25.01.2019 | 2.00 pm | Surgical Consumables | SPC web site www.spc.lk |
| DHS/RSS/RQ/225/18 | 25.01.2019 | 2.00 pm | Coronary Guiding Catheters | SPC web site www.spc.lk |
| DHS/RSS/RQ/226/18 | 01.02.2019 | 2.00 pm | Angiographic Catheters | SPC web site www.spc.lk |
| DHS/RSS/RQ/198/17 | 01.02.2019 | 2.00 pm | Percutaneous Arterial Punctures | SPC web site www.spc.lk |
| DHS/M/RSS/RQ/01/18 | 23.01.2019 | 11.00 am | Surgical Consumables | SPC web site www.spc.lk |

PHARMA ITEMS

| Tender No. | Closing date | Time | Item | Quantity |
| --- | --- | --- | --- | --- |
| DHS/RP/245/2016 | 24.01.2019 | 3.00 PM | Cetrimide Powder 500g | 5,000 Tins |
| DHS/RP/200/2017 | 22.01.2019 | 3.00 PM | Disodium Hydrogenorthophosphate Powder | 100Kg |
| DHS/RP/606/2018 | 22.01.2019 | 3.00 PM | Doxorubicin Hydrochloride Injection 10mg vial | 30,000 vials |
| DHS/RP/69/2019 | 24.01.2019 | 3.00 PM | Idarubicin Hydrochloride capsule 5mg | 300 Caps. |
| DHS/RP/70/2019 | 24.01.2019 | 3.00 PM | Epoetin Injection 1,000IU vial/PFS | 9,000 PFS |
| DHS/RP/71/2019 | 24.01.2019 | 3.00 PM | Budesonide capsule 3mg | 26,800 caps. |
| DHS/RP/72/2019 | 24.01.2019 | 3.00 PM | Aspirin Tablet 300mg | 3,500,000 Tabs. |
| DHS/RP/73/2019 | 24.01.2019 | 3.00 PM | Anti Rabies Human Ig 300IU vial | 8,900 vials |

LAB ITEMS

| TENDER NO/BID REFERENCE | CLOSING DATE | CLOSING TIME | ITEM | QTY |
| --- | --- | --- | --- | --- |
| DHS/RL/117WAC/17 | 21.01.2019 | 02.30 P.M. | 16/41207101 Preston Supplement for Campylobacter detection from food | 20 vials |
| DHS/RL/118WAC/17 | 21.01.2019 | 02.30 P.M. | Lab Items | SPC web site www.spc.lk |
| DHS/RL/106WAC/18 | 24.01.2019 | 02.30 P.M. | 01/50525001 3M Petrifilm Aerobic count plate, 100 in a pack (Cat No 6400) 02/50525002 3M Petrifilm E. coli count plate, 50 in a pack (Cat No 6404) | 52 packs 74 packs |
| DHS/RL/119SSN/17 | 24.01.2019 | 02.30 P.M. | 09/40604702- Furazolidone 50 mic.g | 2500 Discs |
| DHS/RL/145SM/16 | 24.01.2019 | 02.30 P.M. | 01/54925501 Printer cartridge (Epson ERC - 22)for Mettler Toledo, P 25 Printer of pH Meter- MettlerToledo,Model-Seven Multi 02/54925502 Paper rolls for the Mettler Toledo P25 Printer | 10 Nos 10 Nos |
| DHS/RL/120WAC/17 | 24.01.2019 | 02.30 P.M. | 03/41300201- Alciun blue | 1200g |
| DHS/RL/19SR/19 | 24.01.2019 | 02.30 P.M. | Lab Items | SPC web site www.spc.lk |
| DHS/RL/18CPW/19 | 24.01.2019 | 02.30 P.M. | 01/43561601 5% Human Albumin solution 250ml Infusion Bottle | 4000 vials |
| DHS/RL/121MHR/17 | 28.01.2019 | 02.30 P.M. | 43400501 Formaldehyde solution BP/USP Containing not less than 36% by weight of Formaldehyde with methanol added to prevent polymerization | 1,000,000ml |
| DHS/RL/192NK/15 | 31.01.2019 | 02.30 P.M. | 41404101- Sodium Sulphate AR | 5,000g |

SURGICAL ANNUAL ITEMS

| TENDER NO/BID REFERENCE | CLOSING DATE | CLOSING TIME | ITEM/ SR NO | ITEM | QUANTITY |
| --- | --- | --- | --- | --- | --- |
| DHS/RS/RQ/179/18 | 25.01.2019 | 2.00P.M. | 13803701, 13803702, 13803703 | Bronchial Blocker Set, comprising catheter size 5Fr, 7Fr & 9Fr | 104 NOS |
| DHS/RS/RQ/180/18 | 25.1.2019 | 2.00P.M. | 14501901 | Rdio Opaque Gauze Swab | 45,000 Nos |
| DHS/RS/RQ/181/18 | 29.01.2019 | 2.00P.M. | 13 Items | Surgical Consumable (Nitinol Metal Stent, Small bowel capsule, N-butyl… etc ) | 1,944 Nos |
| DHS/RS/RQ/182/18 | 29.01.2019 | 2.00P.M. | 21101800, 21108303 | Screw Driver, for hexagonal head 4.5mm, Stainless steel Plate Holding Forceps, AO type for small fragment set, Stainless steel | 30 Nos 20 Nos |
| DHS/RS/RQ/229/17 | 29.01.2019 | 2.00P.M. | 14500902 | Elastic Adhesive Bandage BP(1993) Length - 4.5m (Roll) width - 10cm | 114,000 Rolls |

Bids should be prepared as per particulars given in the Bidding Documents available at the Head Office of State Pharmaceuticals Corporation of Sri Lanka, No.75, Sir Baron Jayatillake Mawatha, Colombo 1.

Wherever necessary potential bidder/bidders should get registered in terms of the Public Contract Act No.3 of 1987 before collecting the Bid Documents and also should get the contract registered after the award.

CHAIRMAN -PROCUREMENT COMMITTEE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

75, SIR BARON JAYATILLAKE MAWATHA

COLOMBO 1

SRI LANKA.

FAX		:  00 94-11- 2335008

TELEPHONE	:  00 94-11- 2335008

E-MAIL		:  impmanager@spc.lk

--------------------------------------------------------------------------------------------------------

Chairman- Procurement Entity

On behalf of

CHAIRMAN- DEPARTMENTAL PROCUREMENT COMMITTEE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

75, SIR BARON JAYATILLAKE MAWATHA

COLOMBO 1

SRI LANKA.

DHS/M/RSS/RQ/01/18

2018/SPC/E/C/S/00420                       CLOSING ON: 23RD JANUARY, 2019 AT   11.00 am

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 01/13527001 | Item: Guide wire, Roadrunner Extra support, straight tip, 0.46mm, 175 – 190cm Specification : Coronary Guidewire, Similar to Roadrunner Extra support, straight tip, size 0.46mm (0.018") diameter, 175cm - 190cm length, sterile. | 100 Nos |
| 02/13526700 | Item: Guidewire, J tip, 0.97mm PTFE, 150cm - 190cm Specification : Guidewire, J tip, stainless steel core, PTFE (similar to Teflon) coated size 0.97mm (0.038") diameter, 150cm - 190cm length, sterile. | 4,125 Nos |
| 03/13526501 | Item: Guidewire, straight tip, 0.89mm PTFE, 260cm - 300cm Specification : Guidewire, straight tip, stainless steel core, PTFE (similar to Teflon) coated size 0.89mm (0.035") diameter, 260cm - 300cm length, sterile. | 05 Nos |
| 04/13526401 | Item: Guidewire, J tip, 0.89mm PTFE 260cm - 300cm Specification : Guidewire, J tip, stainless steel core, PTFE (similar to Teflon) coated size 0.89mm (0.035") diameter, 260cm - 300cm length, sterile. | 1,110 Nos |
| 05/13526400 | Item: Guidewire, J tip, 0.89mm, PTFE 150cm - 190cm Specification : Guidewire, J tip, stainless steel core, PTFE (similar to Teflon) coated size 0.89mm (0.035") diameter, 150cm - 190cm length, sterile. | 7,000 Nos |
| 06/13526100 | Item: Guidewire, J tip, 0.81mm, PTFE 150cm - 190cm Specification : Guidewire, J tip, stainless steel core, PTFE (similar to Teflon) coated size 0.81mm (0.032") diameter, 150cm - 190cm length, sterile. | 200 Nos |
| 07/13525407 | Item: Guidewire, Asahi Extension, straight tip, 0.36mm 150cm - 165cm Specification : Coronary Guidewire, Similar to Asahi Extension wire, straight tip, size 0.36mm (0.014") diameter, 150cm - 165cm length, sterile. | 270 Nos |
| 08/13525406 | Item: Guidewire, Asahi Str. Tip, 0.36mm, 0.8 tip load, 175cm - 190cm Specification : Coronary Guidewire, Similar to Asahi Sion Black, straight tip, size 0.36mm (0.014") diameter, 0.8 tip load, 175cm - 190cm length, sterile. | 350 Nos |
| 09/13525405 | Item: Guidewire, Asahi, J tip, 0.36mm, 0.8 tip load, 175cm - 190cm Specification : Coronary Guidewire, Similar to Asahi Sion Black, straight tip, size 0.36mm (0.014") diameter, 0.8 tip load, 175cm - 190cm length, sterile. | 250 Nos |
| 10/13525404 | Item: Guidewire, Asahi, straight tip, 0.36mm, 0.7 tip load, 175cm - 190cm Specification : Coronary Guidewire, Similar to Asahi Sion, straight tip, size 0.36mm (0.014") diameter, 0.7 tip load, 175cm - 190cm length, sterile. | 1,120 Nos |
| 11/13525403 | Item: Guidewire, Asahi, J tip, 0.36mm, 0.7 tip load, 175cm - 190cm Specification : Coronary Guidewire, Similar to Asahi Sion , J tip, size 0.36mm (0.014") diameter, 0.7 tip load, 175cm - 190cm length, sterile. | 2,500 Nos |
| 12/13525402 | Item: Guidewire, Asahi, straight tip, size 0.36mm, 0.5 tip load, 175cm - 190cm Specification : Coronary Guidewire, Similar to Asahi Sion Blue, straight tip, size 0.36mm (0.014") diameter, 0.5 tip load, 175cm - 190cm length, sterile. | 2,900 Nos |
| 13/13525401 | Item: Guidewire, Asahi, J tip, 0.36mm, 175cm - 190cm Specification : Coronary Guidewire, Similar to Asahi Sion Blue, J tip, size 0.36mm (0.014") diameter, 0.5 tip load, 175cm - 190cm length, sterile. | 224 Nos |
| 14/13524401 | Item: Guidewire, J tip, M ty. 0.53mm 260 - 300cm Specification : Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type orsimilar, size 0.53mm (0.021") diameter,260cm - 300cm length, sterile. | 127 Nos |
| 15/13524201 | Item: Guidewire, J tip, M ty. 0.46mm 260 - 300cm Specification : Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.46mm (0.018") diameter, 260cm - 300cm length, sterile. | 235 Nos |
| 16/13524103 | Item: Guidewire Rosen type, 0.035"x260cm Specification : Guidewire Rosen type or similar, curved 0.35"x260cm length. | 33 Nos |
| 17/13524102 | Item: Guide wire Hi Torque WIGGLE type, 190cm. Specification : Guide wire Hi Torque WIGGLE type or similar 190cm. | 100 Nos |
| 18/13524101 | Item: Guidewire Amplatzer type fixed noodle 0.035"x300cm. Specification : Guidewire Amplatzer type, Fixed Noodle wire 0.035"x300cm. | 52 Nos |
| 19/13523903 | Item: Coronary Guidewire, BMW Stra. Tip, 0.36mm, 175-190cm Specification : Coronary Guidewire, Balance Middle Weight (BMW) type or similar, straight tip, size 0.36mm (0.014") diameter, 175cm - 190cm length, sterile. | 1,322 Nos |
| 20/13523902 | Item: Coronary Guidewire, BMW J tip, 0.36mm, 175 - 190cm Specification : Coronary Guidewire, Balance Middle Weight (BMW) type or similar, J tip, size 0.36mm (0.014") diameter, 175cm - 190cm length, sterile. | 1,525 Nos |
| 21/13523801 | Item: Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), Chronic Total Occlusion type, size 1.25mm x 10mm Specification : Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), Chronic Total Occlusion type, size 1.25mm x 10mm balloon, sterile. | 600 Nos |
| 22/13523800 | Item: Balloon Dilatation Catheter PTCA Chronic Total Occlusion 1 x 10mm Specification : Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), Chronic Total Occlusion type, size 1.00mm x 10mm balloon, sterile. | 710 Nos |
| 23/13523702 | Item: Balloon Dilatation Catheter PTCA Non Complia. 4.5 x 8mm Specification : Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 4.5mm x 8mm, sterile. | 127 Nos |
| 24/13523600 | Item: Balloon Dilatation Catheter PTCA Non Complia. 3.5 x 8mm Balloon Dilatation Catheter for Percutaneous Transluminal Coronary Angioplasty (PTCA), non compliance type, size 3.5mm x 8mm balloon, sterile. | 490 Nos |

Packing  :  01

Delivery   : Immediately

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

01. To be supplied from freshly manufactured stock.

02. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

03.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

04.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

05.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

06.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date of expiry as described under conditions No. 04 and bar code  to

be  labeled.

07.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

08.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

09.MSD Order List No. SPC Indent No.,,  SR No., Description of Item, storage conditions of the item,

Batch No., Date of Manufacturer, Date of Expiry of Item , shall be indicated in all Supply Invoices and

Detailed Packing Lists.

10.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division for the prior approval.

11.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

12.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

13.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered by supplier.

14.Cluster Awards: -Different strengths of some drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

15.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

16.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

17.To be supplied as per the delivery schedule indicated.

18.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

19.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

20.In the event of delivery of consignment deviating from given delivery schedule by MSD due to default of

supplier and same is rejected due to lack of storage space available at MSD warehouses, any resulting

demurrage charges incurred shall be borne by the suppliers concerned.

21. In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23. The bid submitted should be duly signed and endorsed by the Bidder/ Tenderer himself (with the name

And designation of the signatory) or by the representative.  Representatives submit offers on behalf of

their principals should submit a letter of authorization and power of attorney (if signing on behalf of the

principals) and also should submit documentary proof on their registration as per the Act. No. 03 of

1987 with the Department of the Registrar of Companies – Sri Lanka.

24. Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

25. Offer validity should be  180 days from the tender closing date.  Bid bond validity should be 210 day

from the closing date.

26. When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 75% or more

out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

Special conditions for Tendering

- Offer should be accomplished with the valid registration certificate issued by the National Medicines Regulatory Authority in Sri Lanka Formerly Cosmetic Devices and Drugs Authority.

- Offered item should bear both our SR Number and the Item number.

- However at the tender opening only the item numbers will be read out.  Therefore price quoted should be shown against each item number.

- Fax/Email offers directly send to State Pharmaceuticals Corporation are not acceptable.  Tenders are requested to draw their attention to the clause “Submission of Tenders” of the tender document in this regard.

- Storage temperature of the offered item should be prominently and clearly indicated in the column “Full descriptions of item offered and the standard offered” in Bid form annex II B (attached)

- If the shipment is being effected on FCL basis both FOB and freight charges should be quoted separately against each item in addition to quoted C & F price.  The volume of the total quantity of each item should be given in cubic meters (M3).

- Any other conditions of the relevant Stand Bidding Documents are also applicable. (Standing Bidding Document is available for perusal in the SPC Web Site www.spc.lk)

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

Bid Bond amount should be either Rs. 2,646,722.00 or USD 14,778.00 with validity up to 21.08.2019 offer validity 22.07.2019

DHS/RL/19SR/19 closing on 24.01.2019 @ 02.30 P.M.

URGENT

2019/SPC/N/R/D/00032

| SR No | Item Specification | Quantity | Delivery |
| --- | --- | --- | --- |
| 03/50820001 | Tissue Cassettes with lid -High quality plastic (Thermal & Solvent Resistant) white | 400,000 Nos | 200,000 – Immediately 200,000 – 05 months after 1st lot |
| 04/50820101 | Tissue Cassettes with lid -High quality plastic (Thermal & Solvent Resistant) pink | 125,000 Nos | 65,000 – Immediately 60,000 – 05 months after 1st lot |
| 05/50820201 | Tissue Cassettes with lid -High quality plastic (Thermal & Solvent Resistant) blue | 80,000 Nos | 40,000 – Immediately 40,000 – 05 months after 1st lot |
| 06/50820301 | Tissue Cassettes with lid -High quality plastic (Thermal & Solvent Resistant) green | 190,000 Nos | 95,000 – Immediately 95,000 – 05 months after 1st lot |
| 07/50820401 | Tissue Cassettes with lid -High quality plastic (Thermal & Solvent Resistant) orange | 25,000 Nos | 25,000 – Immediately |
| 08/50803501 | Biopsy Cassettes with lid -High quality plastic (Thermal & Solvent Resistant)- yellow | 100,000 Nos | 50,000 – Immediately 50,000 – 05 months after 1st lot |

Packing : 1 No x 500 pack

Samples/Literature/Catalogues must be submitted for evaluation on or before the time of tender closing.

(Also should be submitted certificate of Analysis along with the samples)

General (Product & Consignments)

- The consignments supplied in respect of an order concerned, shall exactly match with the reference sample submitted and the product information (item descriptions, shelf life/warranty where applicable, manufacturer’s name, country of manufacture, country of origin, etc.) provided in the bid document by the supplier, which has been accepted by the procurement committee, and included in the Indent / Purchase Order (PO), issued by SPC.

- All items shall be supplied, sourcing from the manufacturer and country of manufacturer, stated in the Purchase Order (PO)/Indent of SPC and wherever applicable shall have a valid product registration from NMRA.

- Maintaining the validity of the product registration during the period of supply(delivery schedule), obtaining import license / manufacture licensing at NMRA, is a pre-requisite for the supply of surgical, pharmaceutical and relevant laboratory items. Hence all suppliers shall produce relevant valid registration certificates/licenses, when requested by MSD/SPC.

When the validity of the product/manufacturing licenses and registrations of NMRA (eg; manufacturing license, product registration and GMP certificates), of local manufacturers / local suppliers, lapses during the year or during the period of supply (delivery schedule), it shall be extended / renewed by the supplier. A certified copies of afore mentioned valid certificates shall be submitted to MSD by the supplier when deliveries are made.

- The number of batches per consignment shall be minimal. Batch quantity shall be an equal multiple of the quantity of the consignment and the proportionate size of the batch quantity shall be not less than 15% of the quantity in the consignment.

- If MSD decides to accept a part or full consignment, with deviations from certain tender conditions (eg: with regard to labeling/packaging etc.) due to an urgency, that shall be done subject to, either rectifying the defect within 05 working days by the supplier, or recovering the total cost [a] of rectifying the defect by MSD (via a duly contracted third party providing such services), from the supplier with a 25% surcharge on the labeling cost. (total charge = [a]+[a]x0.25) or  2% of the invoiced value, whichever is the highest 3.

All possible tender deviations such as Packing, labeling, delivery schedule, storage status, payment mode & conditions, etc., shall be communicated and agreed upon before accepting the tender award by the supplier. Noncompliance of same shall be considered as tender violations, to apply penalty.

- The specifications of the product offered in the bid, by the supplier shall match with the tender specifications for the item and any form of alternate offers will not be entertained7. Unless otherwise mentioned in this bidding document.

Shelf life & Warrantees

- Freshly manufactured stocks of the product shall be supplied; thereby the residual Shelf Life (shelf life remaining at the time of delivery of goods in Sri Lanka/MSD stores in case of local supplies) of the product, shall be 85% of the shelf life requested(specified in order/Indent/PO).

In respect of the items with requested shelf life equal or more than 24 months, any deficit between the residual shelf life and requested shelf, shall not be more than 04 months.

In the violation of the above tender condition, SPC/MSD reserves the right to accept a reduced quantity, that is usable (as per the consumption rate) up to three months before the expiry of same and will subject to application of a penalty1

When the shelf life is not specified in the indent/PO/item spec; the requested shelf life shall be considered as, 36 months for surgical items and 24 months for pharma. / laboratory items.

- Any product deficient of its sub components/accessories, not at the specified quality standards or all its components not unitized appropriately in packaging (as a set) shall be rejected.

- Withdrawal from use of items due to quality failure found as manufacturer’s /supplier’s fault:

(a). In case of batch withdrawal, value of entire batch quantity supplied shall be recovered8 from the supplier.

(b).In case of product withdrawal, value of entire product quantity supplied shall be recovered8 from the supplier.

(c). In the event of either a) or b) above, supplier shall be surcharged8 the total cost involved for MSD, of the quality failed supplies with 25% administrative surcharge of the same.

- The storage conditions and the packing requirements of the product shall conform to the information given by the manufacturer and accepted by NMRA for the product registration

The bidder must provide with the bid, a declaration to certify the NMRA accepted product details such as; storage conditions, pack details/contents/sizes and standard batch quantity/size of the product.

- Immediately after delivery at MSD, the consignments shall be subjected to testing  appropriately drawn, one random batch sample (Post-delivery sample) of the consignment at a government/semi-government/accredited laboratory 11.(to be selectively applied for Surgical & Lab items, depending on availability of testing methodology & facilities)		If the sample is found to be substandard, random batch samples will be tested from all the batches/lots in the consignment, and entire expenses on such tests, like value of samples, transport, sampling & testing charges, etc, will be recovered from the supplier.

- Consignments supplied to MSD violating the storage conditions indicated on product labels and/or product information leaflet (as accepted for product registration at NMRA), shall be considered as quality affected consignments and quality assurance of such consignments shall be carried out by post-delivery testing at government / semi government laboratory in Sri Lanka or at an accredited laboratory (foreign/local). All the expenses on such an event, including storage cost shall be borne by the supplier. If found to be quality affected the consignment will be treated as qualityfailed8(as clause No.9).

Pack size, Labeling & Packaging

- Offers for pack sizes at a lower level(smaller quantity per pack) than the pack size specified in the item description/specification and MSD order List, are also acceptable, but higher level (larger quantity per  pack) pack sizes will not be entertained unless otherwise offered with the original bid and accepted by the procurement committee, with the concurrence of MSD.

- Each ; innermost pack, shall bear the item Description , SR No, Batch No/Lot No., Reference/Catalogue No (not for Pharmaceuticals), Date of Manufacture, Date of Expiry and “STATE LOGO” of Government of Sri Lanka.

It is essential to include and exactly match the dates of Expiry & date of Manufacture (in any form as “Year & Month” or “No Exp) in the innermost pack and supplier’s invoice.

- Description of the Item, SR No, Date of Manufacture, Date of Expiry, Batch No, Name and address of manufacturer and “STATE LOGO” of Sri Lanka Government shall be clearly marked on the outer covering of the individual/innermost pack containing the minimum unit of measure, including blister & strip cards and on the outer cover of the carton/box.                                 .  The format of the Date of Manufacture (DOM)/ Date of Expiry(DOE)declared in the offer and it shall consist of at least the year of month.

- All outer most cartons (shipping packages) shall bear the MSD Purchase Order No, SPC Indent No., SR No, Batch No, and Date of Expiry in size 1.5cm letters / figures in prominently visible manner. This may be printed, stenciled or label properly affixed.

- Batch Number of the product shall be separately Barcoded (in Code 128 or 2D formats) and Barcode shall be printed on the labels atall levels of packing as described below, conforming to the industry standards in Barcode printing and pasting.

Format shall be according to Code 128 or 2D standards.

Maximum barcode size shall be 5.0cm (length) x 2.5cm (width).

- In case of receiving goods under inappropriate packaging conditions(not in good order), was to be sorted out by MSD to select the items in good order by 100% checking/handling of the consignment, all expenses incurred to MSD in such an event (including demurrage charges, cold stores charges, labor charges etc. or any other charges incurred until goods are ready for acceptance), have to be paid to MSD by the local supplier, before attending to checking the consignment 100%, by MSD.

In respect of SPC imported supplies, if the local agent does not follow suit as above, such extra expenses incurred to MSD shall be recovered from the supplier 5 by SPC and refund to MSD.

Storage Conditions & Temperature

- If the storage temperature & conditions are not specified in the item specification, NMRA accepted product storage conditions, shall conform to Sri Lankan ambient storage conditions in the ranges of 300c +/- 20c temperature and 75% +/-5% relative humidity. The product storage conditions shall be clearly indicated at all levels of labels/packages/boxes.

- In respect of the products requiring controlled temperature storage (Eg. < 250c, 2-250c, 15-200c/300c, 2-80c etc.), supplier shall provide MSD with latest product stability study reports with the invoice of the consignment.(report shall include studies; at 300c +/- 20c & 75% +/- 5% RH for AC stored items and at 250c +/- 20c & 60% +/- 5% RH for Cold stored items. It shall be a true copy of the latest report submitted to NMRA or a report issued within last 05 years).

Delivery Requirements

- All items shall be supplied as per the latest/final delivery schedule, communicated to the supplier, as an amended Indent/PO delivery schedule (if not amended, original schedule in the Indent/PO will apply) mutually agreed between MSD& SPC, at the time of establishing the payment terms (L/C, DP, TT, etc). Any deviation from this agreed delivery schedule shall be treated as a defaulted delivery.

Contravening the above directions, if the delivery schedule is violated by the supplier for no fault of MSD/SPC/MOH and in the event MSD decides to accept any such consignment in full or part thereof, that is delivered after the due delivery date, Condition No. 23 on delayed deliveries, shall be applied.

- All consignments shall be delivered at Medical Supplies Division or an alternate receiving point as directed. However sending consignments to reach Sri Lanka from 15th December to 10th January shall be avoided, unless otherwise prior approval has been granted by MSD for such deliveries.

- Defaulted consignments with respect to delivery schedule shall only be considered for acceptance, subject to a penalty imposed for the delay due to suppliers fault, allowing a grace period up to two weeks. Consignments delivered after that grace period shall be considered for acceptance subject to a penalty 8 to the supplier as described below ;

(a).  A penalty of 0.5% per day of the consignment value, calculated commencing from the 15th day up to 60th day delay from the due delivery date, as per the indent/PO or its’ latest amended delivery schedules.

(b). When the delay exceeds 60days purchase order will be considered as automatically cancelled, on defaulted performance. In such a situation, MSD reserve the right to recover liquidated damages or to revoke the cancellation (eg. if payments have been released prior to such a cancellation), and accept the consignment subject to a 25% admin surcharge.

- (i). If any local purchases were to be made by MSD/SPC to ensure continuity of supply (due to noncompliance of Indent/PO/its’ amended; delivery schedule); in the ensuing period inclusive of the grace period for delivery from due delivery date, extra expenditure incurred on such local purchases, over the landed cost of relevant SPC main order, shall be recovered from the supplier.

(ii). If a delivery defaulted (violating delivery schedule in the indent/PO) SPC supplier/his local agent, who participate in an urgent local purchase tender of SPC or MSD for the same item, quoting the same product or any similar product, is bound to supply the local purchase order at the landed cost of the defaulted SPC main order. In violations of the same, the cost difference will be set off from the payments to the supplier of the corresponding SPC main order.

- In respect of local manufacturers/ local suppliers, all deliveries shall be made only on week days excluding public holidays, also allowing adequate time to enable the completion of the receiving process at MSD stores before 3.30 p.m.  In the event of failure to meet this deadline due to supplier’s fault (eg. In delivery; time, product, document, etc.) goods shall be accepted on the following working day, such date shall be counted for working out penalties as per No. 23 (regarding defaulted consignment) of the conditions of supply.

As an alternative, supplier can request MSD to take over the consignment on the same day, subject to settling all adl. expenses (i.e. staff OT, forklift charge, etc.) of MSD, by the supplier.

- The extension of L/C’s overstepping delivery schedules in the Indent/PO/its’ amendments, shall not in any way affect the recovery of late delivery charges, as per Condition No. 23 (regarding defaulted consignments) and any other direct or indirect additional costs/liquidated damages, relating/consequent to extension of L/C 12.

- When adequate storage space is not available at MSD,to accept a delivery defaulted consignment (deviating from the delivery schedule in the Indent/PO/its’ amendments) under the condition No. 23, any additional expenses caused to MSD or SPC in arranging temporary external storage and other expenses (eg. demurrage, detention, container storage, re-handling cum transport, etc.)

shall be borne by the supplier.

Documents & Information

- MSD Order No, Item Description, SR No, Batch No., Date of Manufacture, Date of Expiry and product Storage Condition, shall be indicated in all Supply Invoices and detailed Packing Lists.

- One of the tender samples of the selected bid shall be forwarded to MSD, for using as a reference sample (can make it; a part of the last consignment or a returnable to supplier) for checking the conformity of the consignments received under the indent/PO10 (applicable for laboratory items)

The images of the; specimen labels, minimum pack and outer most box/shipper carton, that satisfies the above mentioned labeling conditions, shall also be provided within 14 days of releasing the indent by SPC. Reference sample to be sent by SPC to MSD.

- The supplier shall submit all shipping documents to (Including Bills of Lading / Draft Air Way Bills etc.) SPC Imports department and MSD by e-mail(follow instructions in website www.msd.gov.lk ), at least 03 days before the Expected Time of Arrival (ETA) of sea freighted consignments & 02 days before the ETA of Air freighted consignments.

- After releasing the Indent/PO or establishing L/C, the latest logistical position of manufacturing & supply on the Indent/PO, shall be updated biweekly through e-mails to SPC with a copy to MSD6 by the supplier.( follow instructions in the website www.msd.gov.lk)

If it is not complied or the information so provided are found to be incomplete/false, the grace period (for supply delays) mentioned in the clause 23 will not be applicable.

Common conditions

- In addition to the general conditions of supply given herein, item/order-list specific amendments, exclusions or additions to the same, stated in the covering letter of the order list and any other relevant conditions as per the tender document issued by SPC, are also applicable. The order/item specific; new conditions or amendments to General Order Conditions, will be included in the order list itself and as a remark entry in the MSMIS order records.

Special conditions for Tendering

- Offered item should bear both our SR Number and the Item number. However at the bid opening only the item numbers will be read out. Therefore price quoted should be shown against each item number.

- If the shipment is being effected on FCL basis both FOB and freight charges should be quoted separately against each item in addition to quoted C&F price.

- Foreign offers should be on C & F (CPT/CFR) Colombo basis.  FOB offers are not acceptable.  If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

- Fax/E-mail offers directly sent to State Pharmaceuticals Corporation are not acceptable.Tenderers are requested to draw their attention to the clause “Submission of Bids” of the bid document in this regard.

- If awarded supplier is unable to adhere the delivery schedule due to no fault of the  SPC/Ministry would result in the supplier being surcharge 0.5% of total bid amount per day from the due delivery date.

- The volume of the total quantity of each item should be given in cubic meters (m3)

- The original payment receipt should be annexed to the offer. Offers without same are liable rejected.

- The offer should be valid for a period of 180 days from the date of closing bid.

- We reserve the right to reject offers which do not comply above.

DHS/RL/118WAC/17 closing on 21.01.2019 @ 02.30 P.M.

URGENT

2017/SPC/N/C/D/00051

| SR No | Item Specification | Quantity |
| --- | --- | --- |
| 1/40600301 | Amphotericin B 10 mic.g Packing : 50 Discs | 500 Discs |
| 2/40600304 | Amphotericin B E Strips Packing : 20 Strips | 100 Strips |
| 3/40600307 | Amphotericin B (Pure substance -> 99%) (should contain the generic name, assay pontency in mic.g or international units per mg of powder and expiry date) Packing : 25mg | 50mg |
| 4/40602302 | Clotrimazole 10 mic.g Packing : 50 Discs | 100 Discs |
| 7/40603302 | Miconazole 30 mic.g Packing : 50 Discs | 200 Discs |
| 10/40604701 | Furazolidone 50 mic.g (NEO SENSITABS) Packing : 50 Tables | 500 Tablets |

Delivery	:  Immediately

Samples/Literature/Catalogues must be submitted for evaluation on or before the time of tender closing.

(Also should be submitted certificate of Analysis along with the samples)

General Conditions   :

- Offers should be submitted in the format as per annexure.

- To be supplied from freshly manufactured stock & greater than 75% of total shelf life at the time of shipment arrival at Sri Lanka. (Details to be indicated in the offer)

- Each item to bear Description of Item, Batch No, Date of Manufacture, Date of Expiry, SR No and “STATE LOGO” of Sri Lanka.

- Description of Item, Date of Manufacture, Date of Expiry, Batch No, Name and address of manufacturer, MSD order list No, SR No, SPC Indent No and “STATE LOGO” of Sri Lanka Government should be clearly marked on the outer covering containing the item and on the outer cover of the carton/box.

- The product should have minimum of 24 months shelf life at the time of delivery at Medical Research Institute, Colombo 08.

- All outer cartons should bear the SR No, Batch No, and Date of Expiry in size 1.5cm letters/ figures in prominently visible manner. This may be printed, stenciled or label affixed.

- The batch quantities shall be identical and number of batches shall be minimal. The proportionate size of the batch quantity should be not less than 15% of the quantity in the consignment and number of batches should be minimal & batch size should be an equal multiple of the consignment quantity.

- Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

- Offers for any other economically viable pack sizes different from the specified pack sizes are acceptable with the prior approval of Director, Medical Supplies Division.

- MSD order list No, SPC Indent No, SR No, Description and storage condition of item shall be indicated in all supply invoices and detailed packing lists.

- Storage condition of the items should be clearly indicated in the inner most and outer most carton labels. All outer most cartons to be stenciled with the MSD order list number and delivered at Medical Research Institute – Colombo 08.

- If there is any deviation from the specified labeling requirement the product information leaflet, labels of primary pack and image of the primary pack showing the barcode label shall be brought to the approval of Director Medical Supplies Division prior to shipment.

- In case the item is not delivered according to the given delivery schedule or non compliance of labeling requirement, specially the bar code labeling Director, Medical Supplies Division has the right to reject the whole consignment or part of it delivered thereafter.

- If any local purchase were to be made to ensure continuity of supply owing to delay in delivery, any excess expenditure incurred over indent cost on such purchases to Medical Supplies Division shall be debited to SPC, to be recovered from the supplier.

- In the event of delivery of consignments deviating from given delivery schedule by MSD due to default of supplier and same is rejected due lack of storage space available at MSD warehouses, any resulting demurrage charges incurred shall be borne by the suppliers concerned.

- Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

- Supplier should send SPC the specimen of the Label as per the Indent  requirement  when the goods are manufactured, and should obtain prior approval  before  the delivery of goods to MSD  If the specified label is not received at SPC   prior  & delivery of goods to  MSD, SPC  will not be liable to clear the consignment and any consequences resulting this will be the supplier’s responsibility.

- The bid submitted should be duly signed and endorsed by the Bidder/ Tenderer himself authorized personnel having signatory powers (with the name and designation of the signatory) or by the representative.  Representatives submitting offers on behalf of their principals should submit a letter of authorization and power of attorney (if signing on behalf of the principals) and also should submit documentary proof on their registration as per the Act. No. 03 of 1987 with the Department of the Registrar of Companies – Sri Lanka.

- C&F offers, not strictly adhering to labeling requirement stated in condition of supply are not acceptable

- Offers where samples are not received before the tender closing will be rejected.

DHS/RS/RQ/181/18 of 29.01.2019 @ 2.00 p.m.

2018/SPC/E/R/S/00521

| ITEM SR No | Item Specification | Quantity Nos. |
| --- | --- | --- |
| 01/15319005 | Duodenal Self Expandable Partially Covered Nitinol Metal Stent 9cm: stent length 9cm, delivery system length 230cm (approx.), delivery system diameter 10Fr, suture release, pull or trigger technique flexible delivery system, proximal and distal RO markers, length measurement ruler on the delivery system, ultra flexible delivery system tapered tip, 0.035" guide wire compatibility, sterile. Delivery : 1st lot 17 Nos. immediately 2nd lot 16 Nos. 08 months after 1st lot. | 33 |
| 02/15319006 | Duodenal Self Expandable Partially Covered Nitinol Metal Stent 12cm: stent length 12cm, delivery system length 230cm (approx.), delivery system diameter 10Fr, suture release, pull or trigger technique flexible delivery system, proximal and distal RO markers, length measurement ruler on the delivery system, ultra flexible delivery system tapered tip, 0.035" guide wire compatibility, sterile. Delivery : 1st lot 15 Nos. immediately 2nd lot 15 Nos. 08 months after 1st lot. | 30 |
| 03/15319101 | Colonic Self Expandable Uncovered Nitinol Metal Stent 6cm: stent length 6cm, delivery system length 230cm (approx.), delivery system diameter 10Fr, suture release, pull or trigger technique flexible delivery system, proximal and distal RO markers, length measurement ruler on the delivery system, ultra flexible delivery system tapered tip, 0.035" guide wire compatibility, sterile. Delivery : 1st lot 10 Nos. immediately 2nd lot 08 Nos. 08 months after 1st lot. | 18 |
| 04/15319102 | Colonic Self Expandable Uncovered Nitinol Metal Stent 9cm: stent length 9cm, delivery system length 230cm (approx.), delivery system diameter 10Fr, suture release, pull or trigger technique flexible delivery system, proximal and distal RO markers, length measurement ruler on the delivery system, ultra flexible delivery system tapered tip, 0.035" guide wire compatibility, sterile. Delivery : 1st lot 12 Nos. immediately 2nd lot 12 Nos. 08 months after 1st lot. | 24 |
| 05/15319103 | Colonic Self Expandable Uncovered Nitinol Metal Stent 12cm: stent length 12cm, delivery system length 230cm (approx.), delivery system diameter 10Fr, suture release, pull or trigger technique flexible delivery system, proximal and distal RO markers, length measurement ruler on the delivery system, ultra flexible delivery system tapered tip, 0.035" guide wire compatibility, sterile. Delivery : 1st lot 17 Nos. immediately 2nd lot 16 Nos. 08 months after 1st lot. | 33 |
| 06/15319104 | Colonic Self Expandable Partially Covered Nitinol Metal Stent 6cm: stent length 6cm, delivery system length 230cm (approx.), delivery system diameter 10Fr, suture release, pull or trigger technique flexible delivery system, proximal and distal RO markers, length measurement ruler on the delivery system, ultra flexible delivery system tapered tip, 0.035" guide wire compatibility, sterile. Delivery : 1st lot 10 Nos. immediately 2nd lot 08 Nos. 08 months after 1st lot. | 18 |
| 07/15319105 | Colonic Self Expandable Partially Covered Nitinol Metal Stent 9cm: stent length 9cm, delivery system length 230cm (approx.), delivery system diameter 10Fr, suture release, pull or trigger technique flexible delivery system, proximal and distal RO markers, length measurement ruler on the delivery system, ultra flexible delivery system tapered tip, 0.035" guide wire compatibility, sterile. Delivery : 1st lot 11 Nos. immediately 2nd lot 10 Nos. 08 months after 1st lot. | 21 |
| 08/15319106 | Colonic Self Expandable Partially Covered Nitinol Metal Stent 12cm: stent length 12cm, delivery system length 230cm (approx.), delivery system diameter 10Fr, suture release, pull or trigger technique flexible delivery system, proximal and distal RO markers, length measurement ruler on the delivery system, ultra flexible delivery system tapered tip, 0.035" guide wire compatibility, sterile. Delivery : 1st lot 17 Nos. immediately 2nd lot 10 Nos. 08 months after 1st lot. | 27 |
| 09/15319501 | Small bowel capsule with 360 degree view high definition camera with 20hrs lithium battery.¿Sensor array image transferring system.¿3 to 4 frame per second. Compatible recorder and application to read the video should be provided to the hospital case by case. Delivery : 1st lot 90 Nos. immediately. 2nd lot 90 Nos. 06 months after 1st lot 3rd lot 90 Nos. 05 months after 2nd lot | 270 |
| 10/15319601 | Endoscopic Cleaning Brush for colonoscope, 15cm - 20cm length brush, 160cm (approx.) length sheath. Delivery : 1st lot 150 Nos. immediately. 2nd lot 150 Nos. 06 months after 1st lot 3rd lot 150 Nos. 06 months after 2nd lot | 450 |
| 11/15320001 | N-butyl-2-cyanoacrylate glue preparation for Injection haemostasis, sterile. Delivery : 1st lot 300 Nos. immediately. 2nd lot 300 Nos. 06 months after 1st lot 3rd lot 300 Nos. 07 months after 2nd lot | 900 sets |
| 12/15320002 | 2-Octyl-cyanoacrylate glue preparation for Injection haemostasis, sterile. Delivery : 1st lot 20 Nos. immediately. 2nd lot 20 Nos. 06 months after 1st lot 3rd lot 20 Nos. 06 months after 2nd lot | 60 sets |
| 13/15320003 | N-butyl-2-cyanoacrylate p methacryloxysulfolane glue preparation for Injection haemostasis, sterile. Delivery : 1st lot 20 Nos. immediately. 2nd lot 20 Nos. 06 months after 1st lot 3rd lot 20 Nos. 06 months after 2nd lot | 60 sets |

Pack size  :     Each

NB :  If offers are received on Import & Supply basis  from local suppliers, those

offers should be in LKR,  All local suppliers/Manufacturers should quote in LKR

for the total delivery price to MSD stores.

Samples Catalogue/Literature should be submitted for evaluation

This bid is administered by the provisions of the “Public Contract Act No. 3 of 1987” and therefore, in the event bidder is to retain an agent, representative, nominee for and on  behalf of Bid or shall register himself and such public contract act in accordance with the section 10 of the Public Contract Act and produce such valid  original certificate with this bid.

All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of item on instances where the total Tendered Price of item exceeds LKR 1 million. Bid Bond should be valid upto 26.08.2019 submitted together with the tender

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for time by shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s country.

“ C&F offers are not acceptable  if not strictly adhering to labeling  requirements stated in the tender condition of supply”

Amendment to the Tender documents

Page No. 05 condition No. 16 (A)

The successful supplier should agree to enter into a Contract/Agreement is applicable normally for awards which are over LKR 500,000.00 instead of

LKR.10 million.

Offers should be submitted in the format as per annexure with validity upto 27.07.2019.

General Conditions :

01.   To be supplied from freshly manufactured stock.

02. The products should have a minimum of 36 months shelf life at the time of delivery

at Medical Supplies Division.

03. Each individual item to bear Description of Item, Batch No., Order List No., Indent No.,

Name and Address of Manufacturer, Date of Manufacture, Date of Expiry, SR No., and

“STATE LOGO” of Sri Lanka Government.

04. All inner and outer boxes/cartons of surgical consumables should be labeled indicating

following details in English in clearly visible manner and to be delivered at Medical Supplies

Division, No. 357, Rev. Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed

by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

05. The item should be suitably packed to be stored under normal room temperature and

humidity prevailing in SRI LANKA.

06. The batch quantities shall be identical and number of Batch Numbers shall be minimal. Each

batch quantity should be individually shrunk wrapped and palletized. The shrunk wrapped

pallet shall be labeled as described under conditions No. 04 and bar code also to be labeled.

07.  Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to

outermost packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5cm

- Industry standard in barcode printing and pasting should be followed.

08. Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

09. MSD Order List No. “2018/SPC/E/R/S/00521 ”, SR No., Description of Item, storage

Conditions  of the  item, Batch  No.,  Date of  Manufacture, Date of Expiry of Item and  SPC

Indent No. should be indicated in all  Supply Invoices and Packing Lists.

10.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the

labels of primary pack of the consignment shall be brought to the particular attention of

Director, Medical Supplies Division of the prior approval.

11.In case the item is not delivered according to the given delivery schedule or non compliance

of labeling requirement, specially the barcode labeling, Director, Medical Supplies Division has

the right to reject the whole consignment or part of it delivered thereafter.

12.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

13. If any purchases have to be made by Medical Supplies Division to ensure continuity of

supply, owing to delaying/ defaulting the supply of this order, any excess expenditure

incurred over and above indented cost  of this order shall be recovered from supplier.

14. Cluster Awards: -Different strengths of same drug or chemical/different sizes or shapes of

same medical device should be processed simultaneously in order to facilitate relevant

Technical Evaluation Committee and Procurement Committee to consider making cluster

awards for such items on an economical manner.

15.  Representative samples in respect of items offered should be submitted to reach SPC on or

before the closing time on the closing date of tender and acknowledgement receipt to be

obtained from  Administration Department of SPC.

16. Suppliers should submit all shipping documents including the Bill of lading or Air Way Bill to

SPC at least 2-3 days prior to arrival of consignments to prevent any delay in clearance.

17. Where a purchase for a particular item is being made for the first time from a supplier or

where there  are previous quality failures on goods supplied by a particular supplier

payments will only be made upon testing the quality and standards of the goods and

comparing the bulk supply with the samples provided along with the offer.

18.  In the event of an award made to you on this tender, SPC reserve the right to

cancel/suspend the procuring of said order in any stage, if you would be placed the

defaulted supplier’s list due to quality failure found in your previous supplies made to SPC

or non compliance of  contractual agreement.

19.  “Destination Terminal Handling charges (THC) should be borne by the supplier at the Port of

Loading. Hence when the C & F prices are quoted this should be inclusive of THC”

20. The bid submitted should be duly signed and endorsed by the Bidder/Tenderer him self

(with the name and designation of the signatory) or by the representative. Representatives

submit offers on behalf of  their principals should submit a letter of authorization and power

of attorney (if signing on behalf of the principals) and also should submit documentary proof

on their registration as per the Act. No. 03 of 1987 with the Department of the Registrar of

Companies – Sri Lanka.

21. In the event of delivery of consignments deviating from given delivery schedule by MSD and

same is rejected due lack of storage space  available at MSD warehouses, any resulting

demurrage charges incurred  shall be borne by the suppliers concerned.

22.  If awarded supplier is unable to adhere the delivery schedule due to no fault of the

SPC/Ministry would result in the supplier being surcharge 0.5% of total bid amount per day

from the due delivery date.

23. If the shipment is being effected on FCL basis both FOB and fright charges should  be

quoted  separately against  each item in addition to quoted C&F price. The volume of the

total quantity of each item should be given in cubic meters (m3)

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS

PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/13/19

2019/SPC/N/C/S/00057		CLOSING ON:    25TH JANUARY, 2019 AT   2.00 pm

| ITEM/ SR NO | ITEM | QTY |
| --- | --- | --- |
| 01/12401000 | The condom should be made of natural rubber latex. The condoms should not liberate toxic or otherwise harmful substances in amounts that can be irritating, sensitizing or otherwise harmful to the user under normal conditions of use. The dusting powder used should be Cornstarch, magnesium or calcium carbonates. (Manufactures should not use excess powder). Design requirements of individual Condom: The surface of the condom should be non-textured through -out. The condom should have straight and parallel sides, without constrictions, and with a visible shoulder leading to a reservoir tip. The open end of the condom should have a rolled ring of latex, called an integral bead or rim (ring of rubber at the open end of the condom.) The condom should be translucent and without added colouring. The condoms should not give off an unpleasant odour when the package is opened at any time after manufacture and for the shelf- life of the product. The condom should be free from added fragrance and flavouring agents. Dimensions: Length: 160 mm - 180 mm. Acceptable quality level (AQL) is 1.0. Width: 50 mm- 54 mm. AQL 1.0. Thickness: 0.04 mm - 0.08 mm. AQL is 1.0. The condom should be lubricated with a quantity of silicone fluid having a viscosity between 200 and 350 centistokes. | 4,000,000 Nos |

Packing : 1 Nos

Delivery :  2,000,000 Nos - FEB./2019

2,000,000 Nos - JUN./2019

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

Offers should be submitted in the format as per annexure.

- The consignments supplied in respect of an order concerned, shall exactly match with the reference sample submitted and the product information (item descriptions, shelf life/warranty where applicable, manufacturer’s name, country of manufacture, country of origin, etc.) provided in the bid document by the supplier, which has been accepted by the procurement committee, and included in the Indent / Purchase Order (PO), issued by SPC.

- All items shall be supplied, sourcing from the manufacturer and country of manufacturer, stated in the Purchase Order (PO)/Indent of SPC and wherever applicable shall have a valid product registration or waiver of registration from NMRA.

- Maintaining the validity of the product registration during the period of supply(delivery schedule), obtaining waiver of registration &/ import license / manufacture licensing at NMRA, is a pre-requisite for the supply of surgical, pharmaceutical and relevant laboratory items. Hence all suppliers shall produce relevant valid registration certificates/licenses, when requested by MSD/SPC.

When the validity of the product/manufacturing licenses and registrations of NMRA (eg; manufacturing license, product registration and GMP certificates), of local manufacturers / local suppliers, lapses during the year or during the period of supply (delivery schedule), it shall be extended / renewed by the supplier. A certified copies of afore mentioned valid certificates shall be submitted to MSD by the supplier when deliveries are made.

- The number of batches per consignment shall be minimal. Batch quantity shall be an equal multiple of the quantity of the consignment and the proportionate size of the batch quantity shall be not less than 15% of the quantity in the consignment.

- If MSD decides to accept a part or full consignment, with deviations from certain tender conditions (eg: with regard to labeling/packaging etc.) due to an urgency, that shall be done subject to, either rectifying the defect within 05 working days by the supplier, or recovering the total cost [a] of rectifying the defect by MSD (via a duly contracted third party providing such services), from the supplier with a 25% surcharge on the labeling cost. (total charge = [a]+[a]x0.25) or  2% of the invoiced value, whichever is the highest.

All possible tender deviations such as Packing, labeling, delivery schedule, storage status, payment mode & conditions, etc., shall be communicated and agreed upon before accepting the tender award by the supplier. Noncompliance of same shall be considered as tender violations, to apply penalty (as clause No. 37).

- The specifications of the product offered in the bid, by the supplier shall match with the tender specifications for the item and any form of alternate offers will not be entertained.

Shelf life & Warrantees

- In the supply of all Non consumables; Manufacturer or supplier or local agent shall provide a minimum of 02 year warranty period or as specified in the specification, for each such item or it’s sub components supplied (through the local agent), unless otherwise agreed upon with MSD, prior to awarding the tender. Foreign suppliers of all such items shall have their own local agent in Sri Lanka, capable of providing technical support, repairs & spares, when necessary. (only applicable for Non Consumable Items)

- Freshly manufactured stocks of the product shall be supplied; thereby the residual Shelf Life (shelf life remaining at the time of delivery of goods in Sri Lanka/MSD stores in case of local supplies) of the product, shall be 85% of the shelf life requested(specified in order/Indent/PO).

In respect of the items with requested shelf life equal or more than 24 months, any deficit between the residual shelf life and requested shelf life, shall not be more than 04 months.

In the violation of the above tender condition, SPC/MSD reserves the right to accept a reduced quantity, that is usable (as per the consumption rate) up to three months before the expiry of same and will subject to application of a penalty (as clause No. 37 ).

When the shelf life is not specified in the indent/PO/item spec; the requested shelf life shall be considered as, 36 months for surgical items and 24 months for pharma. / laboratory items.

Standards & Quality

- Standards; In addition to Pharmacopoeial Standards that are indicated in the item specifications, other Pharmacopoeial Standards that are registered at National Medicines Regulatory Authority in Sri Lanka are also acceptable when no bidders have quoted for the standard specified in the item specification.

- Any product deficient of its sub components/ accessories, not at the specified quality standards or all its components not unitized appropriately in packaging (as a set), shall be rejected4.

- Withdrawal from use of items due to quality failure found as manufacturer’s fault:

(a). In case of batch withdrawal, value of entire batch quantity supplied shall be recovered8 from the supplier.

(b).In case of product withdrawal, value of entire product quantity supplied shall be recovered8 from the supplier.

(c). In the event of either a) or b) above, supplier shall be surcharged8 the total cost involved for MSD, of the quality failed supplies with 25% administrative surcharge of the same.

- The storage conditions and the packing requirements of the product shall conform to the information given by the manufacturer and accepted by NMRA for the product registration or shall conform to the information submitted for waiver of registration granted by NMRA in exceptional circumstances.(refer clause No.24)

If the offered product, deviate from NMRA registered product features, supplier must provide with the bid, a declaration to certify the NMRA accepted product details such as; storage conditions, pack details/contents/sizes and standard batch quantity/size of the product.

- Immediately after delivery at MSD, the consignments shall be subjected to testing  appropriately drawn, one random batch sample (Post-delivery sample) of the consignment at a government/semi-government/accredited laboratory11.(to be selectively applied for Surgical & Lab items, depending on availability of testing methodology & facilities) If the sample is found to be substandard, random batch samples will be tested from all the batches/lots in the consignment, and entire expenses on such tests, like value of samples, transport, sampling & testing charges, etc, will be recovered from the supplier.

- Consignments supplied to MSD violating the storage conditions indicated on product labels and/or product information leaflet (as accepted for product registration at NMRA), shall be considered as quality affected consignments and quality assurance of such consignments shall be carried out by post-delivery testing at government / semi government laboratory in Sri Lanka or at an accredited laboratory (foreign/local). All the expenses on such an event, including storage cost shall be borne by the supplier. If found to be quality affected the consignment will be treated as quality failed (as clause No.11).

Pack size, Labeling & Packaging

- Offers for pack sizes at a lower level(smaller quantity per pack) than the pack size specified in the item description/specification and MSD order List, are also acceptable, but higher level (larger quantity per  pack) pack sizes will not be entertained unless otherwise offered with the original bid and accepted by the procurement committee, with the concurrence of MSD.

- In respect of bulk packs (not applicable for blister/strip packs), “DHS” mark shall be ;

(a). embossed or printed in case of tablets

(b). printed in case of capsules

Above condition can be waved off, if the quantity in the purchase order is less than 100,000 tablets/capsules, (any exemptions to this condition, is notified in the relevant MSD order list)

(only applicable for Pharmaceutical Products)

- Each; innermost pack, vial/ampoule, pre-filled syringe or bottle, shall bear the item Description,  SR

No, Batch No/Lot no., Reference/Catalogue no.(not for pharmaceuticals), Date of Manufacture, Date of Expiry and “STATE LOGO” of Government of Sri Lanka.

It is essential to include and exactly match the dates of Expiry & date of Manufacture (in any form as “Year & Month” or “No Exp.”), in the innermost pack and supplier’s invoice.

- Description of the Item, SR No, Date of Manufacture, Date of Expiry, Batch No, Name and address of manufacturer and “STATE LOGO” of Sri Lanka Government shall be clearly marked on the outer covering of the individual/innermost pack containing the minimum unit of measure, including blister & strip cards and on the outer cover of the carton/box. Any deviations of the Date of Manufacture (DOM)/ Date of Expiry(DOE)declared in the offer shall be approved by MSD and DOM & DOE shall consist of at least the year & month.

- All outer most cartons (shipping packages) shall bear the MSD Purchase Order No, SPC Indent No., SR No, Batch No, and Date of Expiry in size 1.5cm letters / figures in prominently visible manner. This may be printed, stenciled or label properly affixed.

- Batch Number of the product shall be separately Barcoded (in Code 128 or 2D formats) and Barcode shall be printed on the labels at all levels of packing as described below, conforming to the industry standards in Barcode printing and pasting.

Format shall be according to Code 128 or 2D standards.

Maximum barcode size shall be 5.0cm (length) x 2.5cm (width).

- In case of receiving goods under inappropriate packaging conditions(not in good order), was to be sorted out by MSD to select the items in good order by 100% checking/handling of the consignment, all expenses incurred to MSD in such an event (including demurrage charges, cold stores charges, labor charges etc. or any other charges incurred until goods are ready for acceptance), have to be paid to MSD by the local supplier, before attending to checking the consignment 100%, by MSD.

In respect of SPC imported supplies, if the local agent does not follow suit as above, such extra expenses incurred to MSD shall be recovered from the supplier5  by SPC and refund to MSD.

Storage Conditions & Temperature

- If the storage temperature & conditions are not specified in the item specification, NMRA accepted product storage conditions, shall conform to Sri Lankan ambient storage conditions in the ranges of 300c +/- 20c temperature and 75% +/-5% relative humidity. The product storage conditions shall be clearly indicated at all levels of labels/packages/boxes.

- Maintenance of Cold Chain;

- In case of cold storage items, cold chain monitors (temperature recording devices) shall be included for each carton and the cold chain shall be maintained according to the manufacturer’s instructions during storage, transport and delivery.

- Supplier shall use suitable prominently visible identification marks of international standard, with appropriate colours and sizes for easy identification of cold cargo. Supplier shall use standardized USB Devices for temperature data logging inside the packages and shall provide free of charge, data logger readers &/ software (reading apps compatible with Windows-07/latest) to wharf department of SPC in advance, to enable examining the maintenance of cold chain in transit, and before taking over the consignment by MSD.

- If the cold chain break is observed at the time of taking over the consignments by MSD, such consignments shall be rejected, indicating the reason on the relevant WDN or copy of the delivery documents. In such an event, the SPC shall arrange necessary cold storage for the consignment until ‘observed cold chain break’ is investigated leading to acceptance / total rejection of consignment and the expenses bone by MSD / SPC in arranging the cold storage shall be recovered from the supplier.

- The vehicles transporting cold cargo to MSD shall be equipped with temperature monitoring devices and the vehicle shall have NMRA approval for transport of pharmaceuticals.

- The suppliers shall dispatch consignments of the items, which require cold chain maintenance, to arrive in Sri Lanka during Monday to Thursday to avoid additional demurrage & storage charges during weekends, during which MSD stores is closed. In case of non-compliance of this condition, any additional expenses incurred to MSD and SPC, to Custom clear/store/receive such consignments shall be recovered from the supplier.

- In respect of the products requiring controlled temperature storage (Eg. < 250c, 2-250c, 15-200c/300c, 2-80c etc.), supplier shall provide MSD with latest product stability study reports with the invoice of the consignment.(report shall include studies; at 300c +/- 20c & 75% +/- 5% RH for AC stored items and at 250c +/- 20c & 60% +/- 5% RH for Cold stored items. It shall be a true copy of the latest report submitted to NMRA or a report issued within last 05 years).    (refer clause No.12)

Delivery Requirements

- All items shall be supplied as per the latest/final delivery schedule, communicated to the supplier, as an amended Indent/PO delivery schedule (if not amended, original schedule in the Indent/PO will apply) mutually agreed between MSD& SPC, at the time of establishing the payment terms (L/C, DP, TT, etc). Any deviation from this agreed delivery schedule shall be treated as a defaulted delivery.

Contravening the above directions, if the delivery schedule is violated by the supplier for no fault of MSD/SPC/MOH and in the event MSD decides to accept any such consignment in full or part thereof, that is delivered after the due delivery date, Condition No. 27 on delayed deliveries, shall be applied.

- All consignments shall be delivered at Medical Supplies Division or an alternate receiving point as directed. However sending consignments to reach Sri Lanka from 15th December to 10th January shall be avoided, unless otherwise prior approval has been granted by MSD for such deliveries.

- Defaulted consignments with respect to delivery schedule shall only be considered for acceptance, subject to a penalty imposed for the delay due to suppliers fault, allowing a grace period up to two weeks. Consignments delivered after that grace period shall be considered for acceptance subject to a penalty  to the supplier as described below ;

(a).  A penalty of 0.5% per day of the consignment value, calculated commencing from the 15th day up to 60th day delay from the due delivery date, as per the indent/PO or its’ latest amended delivery schedules.

(b). When the delay exceeds 60days purchase order will be considered as automatically cancelled, on defaulted performance. In such a situation, MSD reserve the right to recover liquidated damages or to revoke the cancellation (eg. if payments have been released prior to such a cancellation), and accept the consignment subject to a 25% admin surcharge.

- (i). If any local purchases were to be made by MSD/SPC to ensure continuity of supply (due to noncompliance of Indent/PO/its’ amended; delivery schedule); in the ensuing period inclusive of the grace period for delivery from due delivery date, extra expenditure incurred on such local purchases, over the landed cost of relevant SPC main order, shall be recovered from the supplier.

(ii). If a delivery defaulted (violating delivery schedule in the indent/PO) SPC supplier/his local agent, who participate in an urgent local purchase tender of SPC or MSD for the same item, quoting the same product or any similar product, is bound to supply the local purchase order at the landed cost of the defaulted SPC main order. In violations of the same, the cost difference will be set off from the payments to the supplier of the corresponding SPC main order.

- In respect of local manufacturers/ local suppliers, all deliveries shall be made only on week days excluding public holidays, also allowing adequate time to enable the completion of the receiving process at MSD stores before 3.30 p.m.  In the event of failure to meet this deadline due to supplier’s fault (eg. In delivery; time, product, document, etc.) goods shall be accepted on the following working day, such date shall be counted for working out penalties as per No. 27 (regarding defaulted consignment) of the conditions of supply.

As an alternative, supplier can request MSD to take over the consignment on the same day, subject to settling all other expenses (i.e. staff OT, forklift charge, etc.) of MSD, by the supplier.

- The extension of L/C’s overstepping delivery schedules in the Indent/PO/its’ amendments, shall not in any way affect the recovery of late delivery charges, as per Condition No. 27 (regarding defaulted consignments) and any other direct or indirect additional costs/liquidated damages, relating/consequent to extension of L/C.

- When adequate storage space is not available at MSD, to accept a delivery defaulted consignment (deviating from the delivery schedule in the Indent/PO/its’ amendments) under the condition No. 27, any additional expenses caused to MSD or SPC in arranging temporary external storage and other expenses (eg. demurrage, detention, container storage, re-handling cum transport, etc.) shall be borne by the supplier.

Documents & Information

- MSD Order No, Item Description, SR No, Batch No., Date of Manufacture, Date of Expiry and product Storage Condition, shall be indicated in all Supply Invoices and detailed Packing Lists.

- One of the tender samples of the selected bid shall be forwarded to MSD, for using as a reference sample (can make it; a part of the last consignment or a returnable to supplier) for checking the conformity of the consignments received under the indent/PO.(applicable for all surgical items and regular category of laboratory items, when specified in respective order lists).

The images of the; specimen labels, minimum pack and outer most box/shipper carton, that satisfies the above mentioned labeling conditions, shall also be provided within 14 days of releasing the indent by SPC.

- The supplier shall submit all shipping documents to (Including Bills of Lading / Draft Air Way Bills etc.) SPC Imports department and MSD by e-mail(follow instructions in website www.msd.gov.lk ), at least 03 days before the Expected Time of Arrival (ETA) of sea freighted consignments & 02 days before the ETA of Air freighted consignments.

- After releasing the Indent/PO or establishing L/C, the latest logistical position of manufacturing & supply on the Indent/PO, shall be updated biweekly through e-mails to SPC with a copy to MSD6 by the supplier.( follow instructions in the website www.msd.gov.lk)

If it is not complied or the information so provided are found to be incomplete/false, the grace period (for supply delays) mentioned in the clause 27 will not be applicable.

Common conditions

36.	In addition to the general conditions of supply given herein, item/order-list specific amendments, exclusions or additions to the same, stated in the covering letter of the order list and any other relevant conditions as per the tender document issued by SPC, are also applicable. The order/item specific; new conditions or amendments to General Order Conditions, will be included in the order list itself and as a remark entry in the MSMIS order records.

- Administrative surcharge of 25%(on the value of goods), will be applied for tender condition violations that cause deficiencies in supply with respect to; quality, standards & specifications, short packing & short supply or delayed delivery as per the cabinet decision. (eg. As  in conditions No. 08,05,10,13)

- The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

- To be supplied as per the delivery schedule indicated in the order list.

- In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

41.  Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

42. In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality  failure found in your previous supplies made to SPC or non compliance of  contractual agreement

43. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and  therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of Tender or shall register himself and such public contract act in accordance with the section 10 of the Public Contract Act and produce such valid  original certificate of Registration with the tender.

44. Destination Terminal Handling charges (THC) should be borne by the supplier at the Port  of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

45.  Offer validity should be  24/072019.

46.  When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 75% or more out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

Abbreviations :NMRA ; National Medicines Regulatory Authority/Sri Lanka, SPC ; State Pharmaceuticals Corporation, MSD; Medical Supplies Division/Ministry of Health-Sri Lanka.

Special Conditions for Surgical Consumables item

- The product should have minimum of 36 months shelf life at the time of delivery to Medical Supplies Division.  Requested shelf life for Surgical Consumable is 36 months unless specified in the special order conditions/specifications/order list remarks.

- General condition 7 and 16 are not applicable or Surgical Consumable Items.

- Art works and diagrams with dimensions for relevant products with catalog numbers should be provided.

- Usage instruction pamphlet/user manuals in print/pdf/video format should be provided. (Such instructions should carry details on maintenance, compatibility and storage)

- Further to the condition 33, Tender Sample of the selected bid shall be forwarded to MSD to use as reference sample to check the consignment supplied on the indent/PO.

All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of item on instances where the total Tendered Price of item exceeds LKR 1 million. Bid Bond should be submitted with valid up to  23/08/2019 together with the tender

Sufficient  quantity of samples should be forwarded for evaluation.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable

normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different

components are sourced from different suppliers.

DHS/RSS/RQ/17/19

2019/SPC/N/C/S/00407		CLOSING ON:   30TH JANUARY, 2019 AT   2.00 pm

| ITEM/ SR NO | ITEM | QTY | DELIVERY |
| --- | --- | --- | --- |
| 01/14503001 | Synthetic casting material 10.0mm x 3.6m. | 5,500 Rolls | 3,000 Rolls - Immediately 2,500 Rolls – 5 months after 1st lot |
| 02/14503002 | Synthetic casting material 7.5mm x 3.6m. | 5,500 Rolls | 3,000 Rolls - Immediately 2,500 Rolls – 5 months after 1st lot |
| 03/14503003 | Synthetic casting material 12.5mm x 3.6m. | 5,000 Rolls | 2,500 Rolls - Immediately 2,500 Rolls – 5 months after 1st lot |

Packing : 1 Roll x 10 Box

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

Offers should be submitted in the format as per annexure.

- The consignments supplied in respect of an order concerned, shall exactly match with the reference sample submitted and the product information (item descriptions, shelf life/warranty where applicable, manufacturer’s name, country of manufacture, country of origin, etc.) provided in the bid document by the supplier, which has been accepted by the procurement committee, and included in the Indent / Purchase Order (PO), issued by SPC.

- All items shall be supplied, sourcing from the manufacturer and country of manufacturer, stated in the Purchase Order (PO)/Indent of SPC and wherever applicable shall have a valid product registration or waiver of registration from NMRA.

- Maintaining the validity of the product registration during the period of supply(delivery schedule), obtaining waiver of registration &/ import license / manufacture licensing at NMRA, is a pre-requisite for the supply of surgical, pharmaceutical and relevant laboratory items. Hence all suppliers shall produce relevant valid registration certificates/licenses, when requested by MSD/SPC.

When the validity of the product/manufacturing licenses and registrations of NMRA (eg; manufacturing license, product registration and GMP certificates), of local manufacturers / local suppliers, lapses during the year or during the period of supply (delivery schedule), it shall be extended / renewed by the supplier. A certified copies of afore mentioned valid certificates shall be submitted to MSD by the supplier when deliveries are made.

- The number of batches per consignment shall be minimal. Batch quantity shall be an equal multiple of the quantity of the consignment and the proportionate size of the batch quantity shall be not less than 15% of the quantity in the consignment.

- If MSD decides to accept a part or full consignment, with deviations from certain tender conditions (eg: with regard to labeling/packaging etc.) due to an urgency, that shall be done subject to, either rectifying the defect within 05 working days by the supplier, or recovering the total cost [a] of rectifying the defect by MSD (via a duly contracted third party providing such services), from the supplier with a 25% surcharge on the labeling cost. (total charge = [a]+[a]x0.25) or  2% of the invoiced value, whichever is the highest.

All possible tender deviations such as Packing, labeling, delivery schedule, storage status, payment mode & conditions, etc., shall be communicated and agreed upon before accepting the tender award by the supplier. Noncompliance of same shall be considered as tender violations, to apply penalty (as clause No. 37).

- The specifications of the product offered in the bid, by the supplier shall match with the tender specifications for the item and any form of alternate offers will not be entertained.

Shelf life & Warrantees

- In the supply of all Non consumables; Manufacturer or supplier or local agent shall provide a minimum of 02 year warranty period or as specified in the specification, for each such item or it’s sub components supplied (through the local agent), unless otherwise agreed upon with MSD, prior to awarding the tender. Foreign suppliers of all such items shall have their own local agent in Sri Lanka, capable of providing technical support, repairs & spares, when necessary. (only applicable for Non Consumable Items)

- Freshly manufactured stocks of the product shall be supplied; thereby the residual Shelf Life (shelf life remaining at the time of delivery of goods in Sri Lanka/MSD stores in case of local supplies) of the product, shall be 85% of the shelf life requested(specified in order/Indent/PO).

In respect of the items with requested shelf life equal or more than 24 months, any deficit between the residual shelf life and requested shelf life, shall not be more than 04 months.

In the violation of the above tender condition, SPC/MSD reserves the right to accept a reduced quantity, that is usable (as per the consumption rate) up to three months before the expiry of same and will subject to application of a penalty (as clause No. 37 ).

When the shelf life is not specified in the indent/PO/item spec; the requested shelf life shall be considered as, 36 months for surgical items and 24 months for pharma. / laboratory items.

Standards & Quality

- Standards; In addition to Pharmacopoeial Standards that are indicated in the item specifications, other Pharmacopoeial Standards that are registered at National Medicines Regulatory Authority in Sri Lanka are also acceptable when no bidders have quoted for the standard specified in the item specification.

- Any product deficient of its sub components/ accessories, not at the specified quality standards or all its components not unitized appropriately in packaging (as a set), shall be rejected4.

- Withdrawal from use of items due to quality failure found as manufacturer’s fault:

(a). In case of batch withdrawal, value of entire batch quantity supplied shall be recovered8 from the supplier.

(b).In case of product withdrawal, value of entire product quantity supplied shall be recovered8 from the supplier.

(c). In the event of either a) or b) above, supplier shall be surcharged8 the total cost involved for MSD, of the quality failed supplies with 25% administrative surcharge of the same.

- The storage conditions and the packing requirements of the product shall conform to the information given by the manufacturer and accepted by NMRA for the product registration or shall conform to the information submitted for waiver of registration granted by NMRA in exceptional circumstances.(refer clause No.24)

If the offered product, deviate from NMRA registered product features, supplier must provide with the bid, a declaration to certify the NMRA accepted product details such as; storage conditions, pack details/contents/sizes and standard batch quantity/size of the product.

- Immediately after delivery at MSD, the consignments shall be subjected to testing  appropriately drawn, one random batch sample (Post-delivery sample) of the consignment at a government/semi-government/accredited laboratory11.(to be selectively applied for Surgical & Lab items, depending on availability of testing methodology & facilities) If the sample is found to be substandard, random batch samples will be tested from all the batches/lots in the consignment, and entire expenses on such tests, like value of samples, transport, sampling & testing charges, etc, will be recovered from the supplier.

- Consignments supplied to MSD violating the storage conditions indicated on product labels and/or product information leaflet (as accepted for product registration at NMRA), shall be considered as quality affected consignments and quality assurance of such consignments shall be carried out by post-delivery testing at government / semi government laboratory in Sri Lanka or at an accredited laboratory (foreign/local). All the expenses on such an event, including storage cost shall be borne by the supplier. If found to be quality affected the consignment will be treated as quality failed (as clause No.11).

Pack size, Labeling & Packaging

- Offers for pack sizes at a lower level(smaller quantity per pack) than the pack size specified in the item description/specification and MSD order List, are also acceptable, but higher level (larger quantity per  pack) pack sizes will not be entertained unless otherwise offered with the original bid and accepted by the procurement committee, with the concurrence of MSD.

- In respect of bulk packs (not applicable for blister/strip packs), “DHS” mark shall be ;

(a). embossed or printed in case of tablets

(b). printed in case of capsules

Above condition can be waved off, if the quantity in the purchase order is less than 100,000 tablets/capsules, (any exemptions to this condition, is notified in the relevant MSD order list)

(only applicable for Pharmaceutical Products)

- Each; innermost pack, vial/ampoule, pre-filled syringe or bottle, shall bear the item Description,  SR

No, Batch No/Lot no., Reference/Catalogue no.(not for pharmaceuticals), Date of Manufacture, Date of Expiry and “STATE LOGO” of Government of Sri Lanka.

It is essential to include and exactly match the dates of Expiry & date of Manufacture (in any form as “Year & Month” or “No Exp.”), in the innermost pack and supplier’s invoice.

- Description of the Item, SR No, Date of Manufacture, Date of Expiry, Batch No, Name and address of manufacturer and “STATE LOGO” of Sri Lanka Government shall be clearly marked on the outer covering of the individual/innermost pack containing the minimum unit of measure, including blister & strip cards and on the outer cover of the carton/box. Any deviations of the Date of Manufacture (DOM)/ Date of Expiry(DOE)declared in the offer shall be approved by MSD and DOM & DOE shall consist of at least the year & month.

- All outer most cartons (shipping packages) shall bear the MSD Purchase Order No, SPC Indent No., SR No, Batch No, and Date of Expiry in size 1.5cm letters / figures in prominently visible manner. This may be printed, stenciled or label properly affixed.

- Batch Number of the product shall be separately Barcoded (in Code 128 or 2D formats) and Barcode shall be printed on the labels at all levels of packing as described below, conforming to the industry standards in Barcode printing and pasting.

Format shall be according to Code 128 or 2D standards.

Maximum barcode size shall be 5.0cm (length) x 2.5cm (width).

- In case of receiving goods under inappropriate packaging conditions(not in good order), was to be sorted out by MSD to select the items in good order by 100% checking/handling of the consignment, all expenses incurred to MSD in such an event (including demurrage charges, cold stores charges, labor charges etc. or any other charges incurred until goods are ready for acceptance), have to be paid to MSD by the local supplier, before attending to checking the consignment 100%, by MSD.

In respect of SPC imported supplies, if the local agent does not follow suit as above, such extra expenses incurred to MSD shall be recovered from the supplier5  by SPC and refund to MSD.

Storage Conditions & Temperature

- If the storage temperature & conditions are not specified in the item specification, NMRA accepted product storage conditions, shall conform to Sri Lankan ambient storage conditions in the ranges of 300c +/- 20c temperature and 75% +/-5% relative humidity. The product storage conditions shall be clearly indicated at all levels of labels/packages/boxes.

- Maintenance of Cold Chain;

- In case of cold storage items, cold chain monitors (temperature recording devices) shall be included for each carton and the cold chain shall be maintained according to the manufacturer’s instructions during storage, transport and delivery.

- Supplier shall use suitable prominently visible identification marks of international standard, with appropriate colours and sizes for easy identification of cold cargo. Supplier shall use standardized USB Devices for temperature data logging inside the packages and shall provide free of charge, data logger readers &/ software (reading apps compatible with Windows-07/latest) to wharf department of SPC in advance, to enable examining the maintenance of cold chain in transit, and before taking over the consignment by MSD.

- If the cold chain break is observed at the time of taking over the consignments by MSD, such consignments shall be rejected, indicating the reason on the relevant WDN or copy of the delivery documents. In such an event, the SPC shall arrange necessary cold storage for the consignment until ‘observed cold chain break’ is investigated leading to acceptance / total rejection of consignment and the expenses bone by MSD / SPC in arranging the cold storage shall be recovered from the supplier.

- The vehicles transporting cold cargo to MSD shall be equipped with temperature monitoring devices and the vehicle shall have NMRA approval for transport of pharmaceuticals.

- The suppliers shall dispatch consignments of the items, which require cold chain maintenance, to arrive in Sri Lanka during Monday to Thursday to avoid additional demurrage & storage charges during weekends, during which MSD stores is closed. In case of non-compliance of this condition, any additional expenses incurred to MSD and SPC, to Custom clear/store/receive such consignments shall be recovered from the supplier.

- In respect of the products requiring controlled temperature storage (Eg. < 250c, 2-250c, 15-200c/300c, 2-80c etc.), supplier shall provide MSD with latest product stability study reports with the invoice of the consignment.(report shall include studies; at 300c +/- 20c & 75% +/- 5% RH for AC stored items and at 250c +/- 20c & 60% +/- 5% RH for Cold stored items. It shall be a true copy of the latest report submitted to NMRA or a report issued within last 05 years).    (refer clause No.12)

Delivery Requirements

- All items shall be supplied as per the latest/final delivery schedule, communicated to the supplier, as an amended Indent/PO delivery schedule (if not amended, original schedule in the Indent/PO will apply) mutually agreed between MSD& SPC, at the time of establishing the payment terms (L/C, DP, TT, etc). Any deviation from this agreed delivery schedule shall be treated as a defaulted delivery.

Contravening the above directions, if the delivery schedule is violated by the supplier for no fault of MSD/SPC/MOH and in the event MSD decides to accept any such consignment in full or part thereof, that is delivered after the due delivery date, Condition No. 27 on delayed deliveries, shall be applied.

- All consignments shall be delivered at Medical Supplies Division or an alternate receiving point as directed. However sending consignments to reach Sri Lanka from 15th December to 10th January shall be avoided, unless otherwise prior approval has been granted by MSD for such deliveries.

- Defaulted consignments with respect to delivery schedule shall only be considered for acceptance, subject to a penalty imposed for the delay due to suppliers fault, allowing a grace period up to two weeks. Consignments delivered after that grace period shall be considered for acceptance subject to a penalty  to the supplier as described below ;

(a).  A penalty of 0.5% per day of the consignment value, calculated commencing from the 15th day up to 60th day delay from the due delivery date, as per the indent/PO or its’ latest amended delivery schedules.

(b). When the delay exceeds 60days purchase order will be considered as automatically cancelled, on defaulted performance. In such a situation, MSD reserve the right to recover liquidated damages or to revoke the cancellation (eg. if payments have been released prior to such a cancellation), and accept the consignment subject to a 25% admin surcharge.

- (i). If any local purchases were to be made by MSD/SPC to ensure continuity of supply (due to noncompliance of Indent/PO/its’ amended; delivery schedule); in the ensuing period inclusive of the grace period for delivery from due delivery date, extra expenditure incurred on such local purchases, over the landed cost of relevant SPC main order, shall be recovered from the supplier.

(ii). If a delivery defaulted (violating delivery schedule in the indent/PO) SPC supplier/his local agent, who participate in an urgent local purchase tender of SPC or MSD for the same item, quoting the same product or any similar product, is bound to supply the local purchase order at the landed cost of the defaulted SPC main order. In violations of the same, the cost difference will be set off from the payments to the supplier of the corresponding SPC main order.

- In respect of local manufacturers/ local suppliers, all deliveries shall be made only on week days excluding public holidays, also allowing adequate time to enable the completion of the receiving process at MSD stores before 3.30 p.m.  In the event of failure to meet this deadline due to supplier’s fault (eg. In delivery; time, product, document, etc.) goods shall be accepted on the following working day, such date shall be counted for working out penalties as per No. 27 (regarding defaulted consignment) of the conditions of supply.

As an alternative, supplier can request MSD to take over the consignment on the same day, subject to settling all other expenses (i.e. staff OT, forklift charge, etc.) of MSD, by the supplier.

- The extension of L/C’s overstepping delivery schedules in the Indent/PO/its’ amendments, shall not in any way affect the recovery of late delivery charges, as per Condition No. 27 (regarding defaulted consignments) and any other direct or indirect additional costs/liquidated damages, relating/consequent to extension of L/C.

- When adequate storage space is not available at MSD, to accept a delivery defaulted consignment (deviating from the delivery schedule in the Indent/PO/its’ amendments) under the condition No. 27, any additional expenses caused to MSD or SPC in arranging temporary external storage and other expenses (eg. demurrage, detention, container storage, re-handling cum transport, etc.) shall be borne by the supplier.

Documents & Information

- MSD Order No, Item Description, SR No, Batch No., Date of Manufacture, Date of Expiry and product Storage Condition, shall be indicated in all Supply Invoices and detailed Packing Lists.

- One of the tender samples of the selected bid shall be forwarded to MSD, for using as a reference sample (can make it; a part of the last consignment or a returnable to supplier) for checking the conformity of the consignments received under the indent/PO.(applicable for all surgical items and regular category of laboratory items, when specified in respective order lists).

The images of the; specimen labels, minimum pack and outer most box/shipper carton, that satisfies the above mentioned labeling conditions, shall also be provided within 14 days of releasing the indent by SPC.

- The supplier shall submit all shipping documents to (Including Bills of Lading / Draft Air Way Bills etc.) SPC Imports department and MSD by e-mail(follow instructions in website www.msd.gov.lk ), at least 03 days before the Expected Time of Arrival (ETA) of sea freighted consignments & 02 days before the ETA of Air freighted consignments.

- After releasing the Indent/PO or establishing L/C, the latest logistical position of manufacturing & supply on the Indent/PO, shall be updated biweekly through e-mails to SPC with a copy to MSD6 by the supplier.( follow instructions in the website www.msd.gov.lk)

If it is not complied or the information so provided are found to be incomplete/false, the grace period (for supply delays) mentioned in the clause 27 will not be applicable.

Common conditions

36.	In addition to the general conditions of supply given herein, item/order-list specific amendments, exclusions or additions to the same, stated in the covering letter of the order list and any other relevant conditions as per the tender document issued by SPC, are also applicable. The order/item specific; new conditions or amendments to General Order Conditions, will be included in the order list itself and as a remark entry in the MSMIS order records.

- Administrative surcharge of 25%(on the value of goods), will be applied for tender condition violations that cause deficiencies in supply with respect to; quality, standards & specifications, short packing & short supply or delayed delivery as per the cabinet decision. (eg. As  in conditions No. 08,05,10,13)

- The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

- To be supplied as per the delivery schedule indicated in the order list.

- In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

41.  Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

42. In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality  failure found in your previous supplies made to SPC or non compliance of  contractual agreement

43. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and  therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of Tender or shall register himself and such public contract act in accordance with the section 10 of the Public Contract Act and produce such valid  original certificate of Registration with the tender.

44. Destination Terminal Handling charges (THC) should be borne by the supplier at the Port  of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

45.  Offer validity should be   29/07/2019.

46.  When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 85% or more out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

Abbreviations :NMRA ; National Medicines Regulatory Authority/Sri Lanka, SPC ; State Pharmaceuticals Corporation, MSD; Medical Supplies Division/Ministry of Health-Sri Lanka.

Special Conditions for Surgical Consumables item

- The product should have minimum of 36 months shelf life at the time of delivery to Medical Supplies Division.  Requested shelf life for Surgical Consumable is 36 months unless specified in the special order conditions/specifications/order list remarks.

- General condition 7 and 16 are not applicable or Surgical Consumable Items.

- Art works and diagrams with dimensions for relevant products with catalog numbers should be provided.

- Usage instruction pamphlet/user manuals in print/pdf/video format should be provided. (Such instructions should carry details on maintenance, compatibility and storage)

- Further to the condition 33, Tender Sample of the selected bid shall be forwarded to MSD to use as reference sample to check the consignment supplied on the indent/PO.

All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of item on instances where the total Tendered Price of item exceeds LKR 1 million. Bid Bond should be submitted with valid up to 28/08/2019 together with the tender

Sufficient  quantity of samples should be forwarded for evaluation.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable

normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different

components are sourced from different suppliers.

DHS/RSS/RQ/18/19

2019/SPC/N/C/S/00239		CLOSING ON:   30TH JANUARY, 2019 AT   2.00 pm

| ITEM/ SR NO | ITEM | QTY |
| --- | --- | --- |
| 10/13403001 | Intra Aortic Balloon Catheter, size 7.5FG, 40cc. The IABC should be sheathless with no step down from the balloon to the catheter shaft. The pressure lumen size should be atleast 0.027 without compromising on the gas passage area. It should be ready for sheathed as well as sheathless insertion and should be supllied with a stick on anchoring device for sutureless anchorage. | 10 Nos |
| 11/13403003 | Intra Aortic Balloon Catheter, size 7.5FG, 25cc. The IABC should be sheathless with no step down from the balloon to the catheter shaft.The pressure lumen sizeshould be atleast 0.027 without compromising on the gas passage area.It should be ready for sheathed as well as sheathless insertion and should be supllied with a stick on anchoring device for sutureless anchorage. | 10 Nos |

Packing : 1 Nos

Delivery :  100%  - Immediately

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

Offers should be submitted in the format as per annexure.

- The consignments supplied in respect of an order concerned, shall exactly match with the reference sample submitted and the product information (item descriptions, shelf life/warranty where applicable, manufacturer’s name, country of manufacture, country of origin, etc.) provided in the bid document by the supplier, which has been accepted by the procurement committee, and included in the Indent / Purchase Order (PO), issued by SPC.

- All items shall be supplied, sourcing from the manufacturer and country of manufacturer, stated in the Purchase Order (PO)/Indent of SPC and wherever applicable shall have a valid product registration or waiver of registration from NMRA.

- Maintaining the validity of the product registration during the period of supply(delivery schedule), obtaining waiver of registration &/ import license / manufacture licensing at NMRA, is a pre-requisite for the supply of surgical, pharmaceutical and relevant laboratory items. Hence all suppliers shall produce relevant valid registration certificates/licenses, when requested by MSD/SPC.

When the validity of the product/manufacturing licenses and registrations of NMRA (eg; manufacturing license, product registration and GMP certificates), of local manufacturers / local suppliers, lapses during the year or during the period of supply (delivery schedule), it shall be extended / renewed by the supplier. A certified copies of afore mentioned valid certificates shall be submitted to MSD by the supplier when deliveries are made.

- The number of batches per consignment shall be minimal. Batch quantity shall be an equal multiple of the quantity of the consignment and the proportionate size of the batch quantity shall be not less than 15% of the quantity in the consignment.

- If MSD decides to accept a part or full consignment, with deviations from certain tender conditions (eg: with regard to labeling/packaging etc.) due to an urgency, that shall be done subject to, either rectifying the defect within 05 working days by the supplier, or recovering the total cost [a] of rectifying the defect by MSD (via a duly contracted third party providing such services), from the supplier with a 25% surcharge on the labeling cost. (total charge = [a]+[a]x0.25) or  2% of the invoiced value, whichever is the highest.

All possible tender deviations such as Packing, labeling, delivery schedule, storage status, payment mode & conditions, etc., shall be communicated and agreed upon before accepting the tender award by the supplier. Noncompliance of same shall be considered as tender violations, to apply penalty (as clause No. 37).

- The specifications of the product offered in the bid, by the supplier shall match with the tender specifications for the item and any form of alternate offers will not be entertained.

Shelf life & Warrantees

- In the supply of all Non consumables; Manufacturer or supplier or local agent shall provide a minimum of 02 year warranty period or as specified in the specification, for each such item or it’s sub components supplied (through the local agent), unless otherwise agreed upon with MSD, prior to awarding the tender. Foreign suppliers of all such items shall have their own local agent in Sri Lanka, capable of providing technical support, repairs & spares, when necessary. (only applicable for Non Consumable Items)

- Freshly manufactured stocks of the product shall be supplied; thereby the residual Shelf Life (shelf life remaining at the time of delivery of goods in Sri Lanka/MSD stores in case of local supplies) of the product, shall be 85% of the shelf life requested(specified in order/Indent/PO).

In respect of the items with requested shelf life equal or more than 24 months, any deficit between the residual shelf life and requested shelf life, shall not be more than 04 months.

In the violation of the above tender condition, SPC/MSD reserves the right to accept a reduced quantity, that is usable (as per the consumption rate) up to three months before the expiry of same and will subject to application of a penalty (as clause No. 37 ).

When the shelf life is not specified in the indent/PO/item spec; the requested shelf life shall be considered as, 36 months for surgical items and 24 months for pharma. / laboratory items.

Standards & Quality

- Standards; In addition to Pharmacopoeial Standards that are indicated in the item specifications, other Pharmacopoeial Standards that are registered at National Medicines Regulatory Authority in Sri Lanka are also acceptable when no bidders have quoted for the standard specified in the item specification.

- Any product deficient of its sub components/ accessories, not at the specified quality standards or all its components not unitized appropriately in packaging (as a set), shall be rejected4.

- Withdrawal from use of items due to quality failure found as manufacturer’s fault:

(a). In case of batch withdrawal, value of entire batch quantity supplied shall be recovered8 from the supplier.

(b).In case of product withdrawal, value of entire product quantity supplied shall be recovered8 from the supplier.

(c). In the event of either a) or b) above, supplier shall be surcharged8 the total cost involved for MSD, of the quality failed supplies with 25% administrative surcharge of the same.

- The storage conditions and the packing requirements of the product shall conform to the information given by the manufacturer and accepted by NMRA for the product registration or shall conform to the information submitted for waiver of registration granted by NMRA in exceptional circumstances.(refer clause No.24)

If the offered product, deviate from NMRA registered product features, supplier must provide with the bid, a declaration to certify the NMRA accepted product details such as; storage conditions, pack details/contents/sizes and standard batch quantity/size of the product.

- Immediately after delivery at MSD, the consignments shall be subjected to testing  appropriately drawn, one random batch sample (Post-delivery sample) of the consignment at a government/semi-government/accredited laboratory11.(to be selectively applied for Surgical & Lab items, depending on availability of testing methodology & facilities) If the sample is found to be substandard, random batch samples will be tested from all the batches/lots in the consignment, and entire expenses on such tests, like value of samples, transport, sampling & testing charges, etc, will be recovered from the supplier.

- Consignments supplied to MSD violating the storage conditions indicated on product labels and/or product information leaflet (as accepted for product registration at NMRA), shall be considered as quality affected consignments and quality assurance of such consignments shall be carried out by post-delivery testing at government / semi government laboratory in Sri Lanka or at an accredited laboratory (foreign/local). All the expenses on such an event, including storage cost shall be borne by the supplier. If found to be quality affected the consignment will be treated as quality failed (as clause No.11).

Pack size, Labeling & Packaging

- Offers for pack sizes at a lower level(smaller quantity per pack) than the pack size specified in the item description/specification and MSD order List, are also acceptable, but higher level (larger quantity per  pack) pack sizes will not be entertained unless otherwise offered with the original bid and accepted by the procurement committee, with the concurrence of MSD.

- In respect of bulk packs (not applicable for blister/strip packs), “DHS” mark shall be ;

(a). embossed or printed in case of tablets

(b). printed in case of capsules

Above condition can be waved off, if the quantity in the purchase order is less than 100,000 tablets/capsules, (any exemptions to this condition, is notified in the relevant MSD order list)

(only applicable for Pharmaceutical Products)

- Each; innermost pack, vial/ampoule, pre-filled syringe or bottle, shall bear the item Description,  SR

No, Batch No/Lot no., Reference/Catalogue no.(not for pharmaceuticals), Date of Manufacture, Date of Expiry and “STATE LOGO” of Government of Sri Lanka.

It is essential to include and exactly match the dates of Expiry & date of Manufacture (in any form as “Year & Month” or “No Exp.”), in the innermost pack and supplier’s invoice.

- Description of the Item, SR No, Date of Manufacture, Date of Expiry, Batch No, Name and address of manufacturer and “STATE LOGO” of Sri Lanka Government shall be clearly marked on the outer covering of the individual/innermost pack containing the minimum unit of measure, including blister & strip cards and on the outer cover of the carton/box. Any deviations of the Date of Manufacture (DOM)/ Date of Expiry(DOE)declared in the offer shall be approved by MSD and DOM & DOE shall consist of at least the year & month.

- All outer most cartons (shipping packages) shall bear the MSD Purchase Order No, SPC Indent No., SR No, Batch No, and Date of Expiry in size 1.5cm letters / figures in prominently visible manner. This may be printed, stenciled or label properly affixed.

- Batch Number of the product shall be separately Barcoded (in Code 128 or 2D formats) and Barcode shall be printed on the labels at all levels of packing as described below, conforming to the industry standards in Barcode printing and pasting.

Format shall be according to Code 128 or 2D standards.

Maximum barcode size shall be 5.0cm (length) x 2.5cm (width).

- In case of receiving goods under inappropriate packaging conditions(not in good order), was to be sorted out by MSD to select the items in good order by 100% checking/handling of the consignment, all expenses incurred to MSD in such an event (including demurrage charges, cold stores charges, labor charges etc. or any other charges incurred until goods are ready for acceptance), have to be paid to MSD by the local supplier, before attending to checking the consignment 100%, by MSD.

In respect of SPC imported supplies, if the local agent does not follow suit as above, such extra expenses incurred to MSD shall be recovered from the supplier5  by SPC and refund to MSD.

Storage Conditions & Temperature

- If the storage temperature & conditions are not specified in the item specification, NMRA accepted product storage conditions, shall conform to Sri Lankan ambient storage conditions in the ranges of 300c +/- 20c temperature and 75% +/-5% relative humidity. The product storage conditions shall be clearly indicated at all levels of labels/packages/boxes.

- Maintenance of Cold Chain;

- In case of cold storage items, cold chain monitors (temperature recording devices) shall be included for each carton and the cold chain shall be maintained according to the manufacturer’s instructions during storage, transport and delivery.

- Supplier shall use suitable prominently visible identification marks of international standard, with appropriate colours and sizes for easy identification of cold cargo. Supplier shall use standardized USB Devices for temperature data logging inside the packages and shall provide free of charge, data logger readers &/ software (reading apps compatible with Windows-07/latest) to wharf department of SPC in advance, to enable examining the maintenance of cold chain in transit, and before taking over the consignment by MSD.

- If the cold chain break is observed at the time of taking over the consignments by MSD, such consignments shall be rejected, indicating the reason on the relevant WDN or copy of the delivery documents. In such an event, the SPC shall arrange necessary cold storage for the consignment until ‘observed cold chain break’ is investigated leading to acceptance / total rejection of consignment and the expenses bone by MSD / SPC in arranging the cold storage shall be recovered from the supplier.

- The vehicles transporting cold cargo to MSD shall be equipped with temperature monitoring devices and the vehicle shall have NMRA approval for transport of pharmaceuticals.

- The suppliers shall dispatch consignments of the items, which require cold chain maintenance, to arrive in Sri Lanka during Monday to Thursday to avoid additional demurrage & storage charges during weekends, during which MSD stores is closed. In case of non-compliance of this condition, any additional expenses incurred to MSD and SPC, to Custom clear/store/receive such consignments shall be recovered from the supplier.

- In respect of the products requiring controlled temperature storage (Eg. < 250c, 2-250c, 15-200c/300c, 2-80c etc.), supplier shall provide MSD with latest product stability study reports with the invoice of the consignment.(report shall include studies; at 300c +/- 20c & 75% +/- 5% RH for AC stored items and at 250c +/- 20c & 60% +/- 5% RH for Cold stored items. It shall be a true copy of the latest report submitted to NMRA or a report issued within last 05 years).    (refer clause No.12)

Delivery Requirements

- All items shall be supplied as per the latest/final delivery schedule, communicated to the supplier, as an amended Indent/PO delivery schedule (if not amended, original schedule in the Indent/PO will apply) mutually agreed between MSD& SPC, at the time of establishing the payment terms (L/C, DP, TT, etc). Any deviation from this agreed delivery schedule shall be treated as a defaulted delivery.

Contravening the above directions, if the delivery schedule is violated by the supplier for no fault of MSD/SPC/MOH and in the event MSD decides to accept any such consignment in full or part thereof, that is delivered after the due delivery date, Condition No. 27 on delayed deliveries, shall be applied.

- All consignments shall be delivered at Medical Supplies Division or an alternate receiving point as directed. However sending consignments to reach Sri Lanka from 15th December to 10th January shall be avoided, unless otherwise prior approval has been granted by MSD for such deliveries.

- Defaulted consignments with respect to delivery schedule shall only be considered for acceptance, subject to a penalty imposed for the delay due to suppliers fault, allowing a grace period up to two weeks. Consignments delivered after that grace period shall be considered for acceptance subject to a penalty  to the supplier as described below ;

(a).  A penalty of 0.5% per day of the consignment value, calculated commencing from the 15th day up to 60th day delay from the due delivery date, as per the indent/PO or its’ latest amended delivery schedules.

(b). When the delay exceeds 60days purchase order will be considered as automatically cancelled, on defaulted performance. In such a situation, MSD reserve the right to recover liquidated damages or to revoke the cancellation (eg. if payments have been released prior to such a cancellation), and accept the consignment subject to a 25% admin surcharge.

- (i). If any local purchases were to be made by MSD/SPC to ensure continuity of supply (due to noncompliance of Indent/PO/its’ amended; delivery schedule); in the ensuing period inclusive of the grace period for delivery from due delivery date, extra expenditure incurred on such local purchases, over the landed cost of relevant SPC main order, shall be recovered from the supplier.

(ii). If a delivery defaulted (violating delivery schedule in the indent/PO) SPC supplier/his local agent, who participate in an urgent local purchase tender of SPC or MSD for the same item, quoting the same product or any similar product, is bound to supply the local purchase order at the landed cost of the defaulted SPC main order. In violations of the same, the cost difference will be set off from the payments to the supplier of the corresponding SPC main order.

- In respect of local manufacturers/ local suppliers, all deliveries shall be made only on week days excluding public holidays, also allowing adequate time to enable the completion of the receiving process at MSD stores before 3.30 p.m.  In the event of failure to meet this deadline due to supplier’s fault (eg. In delivery; time, product, document, etc.) goods shall be accepted on the following working day, such date shall be counted for working out penalties as per No. 27 (regarding defaulted consignment) of the conditions of supply.

As an alternative, supplier can request MSD to take over the consignment on the same day, subject to settling all other expenses (i.e. staff OT, forklift charge, etc.) of MSD, by the supplier.

- The extension of L/C’s overstepping delivery schedules in the Indent/PO/its’ amendments, shall not in any way affect the recovery of late delivery charges, as per Condition No. 27 (regarding defaulted consignments) and any other direct or indirect additional costs/liquidated damages, relating/consequent to extension of L/C.

- When adequate storage space is not available at MSD, to accept a delivery defaulted consignment (deviating from the delivery schedule in the Indent/PO/its’ amendments) under the condition No. 27, any additional expenses caused to MSD or SPC in arranging temporary external storage and other expenses (eg. demurrage, detention, container storage, re-handling cum transport, etc.) shall be borne by the supplier.

Documents & Information

- MSD Order No, Item Description, SR No, Batch No., Date of Manufacture, Date of Expiry and product Storage Condition, shall be indicated in all Supply Invoices and detailed Packing Lists.

- One of the tender samples of the selected bid shall be forwarded to MSD, for using as a reference sample (can make it; a part of the last consignment or a returnable to supplier) for checking the conformity of the consignments received under the indent/PO.(applicable for all surgical items and regular category of laboratory items, when specified in respective order lists).

The images of the; specimen labels, minimum pack and outer most box/shipper carton, that satisfies the above mentioned labeling conditions, shall also be provided within 14 days of releasing the indent by SPC.

- The supplier shall submit all shipping documents to (Including Bills of Lading / Draft Air Way Bills etc.) SPC Imports department and MSD by e-mail(follow instructions in website www.msd.gov.lk ), at least 03 days before the Expected Time of Arrival (ETA) of sea freighted consignments & 02 days before the ETA of Air freighted consignments.

- After releasing the Indent/PO or establishing L/C, the latest logistical position of manufacturing & supply on the Indent/PO, shall be updated biweekly through e-mails to SPC with a copy to MSD6 by the supplier.( follow instructions in the website www.msd.gov.lk)

If it is not complied or the information so provided are found to be incomplete/false, the grace period (for supply delays) mentioned in the clause 27 will not be applicable.

Common conditions

36.	In addition to the general conditions of supply given herein, item/order-list specific amendments, exclusions or additions to the same, stated in the covering letter of the order list and any other relevant conditions as per the tender document issued by SPC, are also applicable. The order/item specific; new conditions or amendments to General Order Conditions, will be included in the order list itself and as a remark entry in the MSMIS order records.

- Administrative surcharge of 25%(on the value of goods), will be applied for tender condition violations that cause deficiencies in supply with respect to; quality, standards & specifications, short packing & short supply or delayed delivery as per the cabinet decision. (eg. As  in conditions No. 08,05,10,13)

- The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

- To be supplied as per the delivery schedule indicated in the order list.

- In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

41.  Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

42. In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality  failure found in your previous supplies made to SPC or non compliance of  contractual agreement

43. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and  therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of Tender or shall register himself and such public contract act in accordance with the section 10 of the Public Contract Act and produce such valid  original certificate of Registration with the tender.

44. Destination Terminal Handling charges (THC) should be borne by the supplier at the Port  of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

45.  Offer validity should be 29/07/2019.

46.  When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 85% or more out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

Abbreviations :NMRA ; National Medicines Regulatory Authority/Sri Lanka, SPC ; State Pharmaceuticals Corporation, MSD; Medical Supplies Division/Ministry of Health-Sri Lanka.

Special Conditions for Surgical Consumables item

- The product should have minimum of 36 months shelf life at the time of delivery to Medical Supplies Division.  Requested shelf life for Surgical Consumable is 36 months unless specified in the special order conditions/specifications/order list remarks.

- General condition 7 and 16 are not applicable or Surgical Consumable Items.

- Art works and diagrams with dimensions for relevant products with catalog numbers should be provided.

- Usage instruction pamphlet/user manuals in print/pdf/video format should be provided. (Such instructions should carry details on maintenance, compatibility and storage)

- Further to the condition 33, Tender Sample of the selected bid shall be forwarded to MSD to use as reference sample to check the consignment supplied on the indent/PO.

All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of item

on instances where the total Tendered Price of item exceeds LKR 1 million. Bid Bond should be submitted

with valid up to 28/08/2019 together with the tender

Sufficient  quantity of samples should be forwarded for evaluation.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable

normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different

components are sourced from different suppliers.

DHS/RSS/RQ/21/19

2019/SPC/N/C/S/00251 			CLOSING ON:  01ST FEBRUARY, 2019 AT   2.00 pm

| ITEM/ SR NO | ITEM | QTY | DELIVERY |
| --- | --- | --- | --- |
| 26/20509801 | Retractor, Valve Leaflet, Cleland type or similar, (UK pattern), 250mm (approx.) length, stainless steel. | 01 No | 100% - Immediately |
| 27/20509901 | Retractor, Valve, for Off Pump Coronary Bypass Graft (OPCABG) Surgery, Octopus type or similar, with flexible arm, stainless steel. | 01 No | 100% - Immediately |

Packing : 1 Nos

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

Offers should be submitted in the format as per annexure.

General (Product & Consignments)

- The consignments supplied in respect of an order concerned, shall exactly match with the reference sample submitted and the product information (item descriptions, shelf life/warranty where applicable, manufacturer’s name, country of manufacture, country of origin, etc.) provided in the bid document by the supplier, which has been accepted by the procurement committee, and included in the Indent / Purchase Order (PO), issued by SPC.

- All items shall be supplied, sourcing from the manufacturer and country of manufacturer, stated in the Purchase Order (PO)/Indent of SPC and wherever applicable shall have a valid product registration or waiver of registration from NMRA.

- Maintaining the validity of the product registration during the period of supply(delivery schedule), obtaining waiver of registration &/ import license / manufacture licensing at NMRA, is a pre-requisite for the supply of surgical, pharmaceutical and relevant laboratory items. Hence all suppliers shall produce relevant valid registration certificates/licenses, when requested by MSD/SPC.

When the validity of the product/manufacturing licenses and registrations of NMRA (eg; manufacturing license, product registration and GMP certificates), of local manufacturers / local suppliers, lapses during the year or during the period of supply (delivery schedule), it shall be extended / renewed by the supplier. A certified copies of afore mentioned valid certificates shall be submitted to MSD by the supplier when deliveries are made.

- The number of batches per consignment shall be minimal. Batch quantity shall be an equal multiple of the quantity of the consignment and the proportionate size of the batch quantity shall be not less than 15% of the quantity in the consignment.

- If MSD decides to accept a part or full consignment, with deviations from certain tender conditions (eg: with regard to labeling/packaging etc.) due to an urgency, that shall be done subject to, either rectifying the defect within 05 working days by the supplier, or recovering the total cost [a] of rectifying the defect by MSD (via a duly contracted third party providing such services), from the supplier with a 25% surcharge on the labeling cost. (total charge = [a]+[a]x0.25) or  2% of the invoiced value, whichever is the highest.

All possible tender deviations such as Packing, labeling, delivery schedule, storage status, payment mode & conditions, etc., shall be communicated and agreed upon before accepting the tender award by the supplier. Noncompliance of same shall be considered as tender violations, to apply penalty(as clause No. 37).

- The specifications of the product offered in the bid, by the supplier shall match with the tender specifications for the item and any form of alternate offers will not be entertained.

Shelf life & Warrantees

- In the supply of all Non consumables; Manufacturer or supplier or local agent shall provide a minimum of 02 year warranty period or as specified in the specification, for each such item or it’s sub components supplied (through the local agent), unless otherwise agreed upon with MSD, prior to awarding the tender. Foreign suppliers of all such items shall have their own local agent in Sri Lanka, capable of providing technical support, repairs & spares, when necessary.

- Freshly manufactured stocks of the product shall be supplied; thereby the residual Shelf Life (shelf life remaining at the time of delivery of goods in Sri Lanka/MSD stores in case of local supplies) of the product, shall be 85% of the shelf life requested(specified in order/Indent/PO).

In respect of the items with requested shelf life equal or more than 24 months, any deficit between the residual shelf life and requested shelf, shall not be more than 04 months. (Not applicable for Surgical Non Consumables)

In the violation of the above tender condition, SPC/MSD reserves the right to accept a reduced quantity, that is usable (as per the consumption rate) up to three months before the expiry of same and will subject to application of a penalty(as clause No. 37 ).

When the shelf life is not specified in the indent/PO/item spec; the requested shelf life shall be considered as, 36 months for surgical items and 24 months for pharma. / laboratory items. (Not applicable for Surgical Non Consumables)

Standards & Quality

- Standards; In addition to Pharmacopoeial Standards that are indicated in the item specifications, other Pharmacopoeial Standards that are registered at National Medicines Regulatory Authority in Sri Lanka are also acceptable when no bidders have quoted for the standard specified in the item specification.

- Any product deficient of its sub components/ accessories, not at the specified quality standards or all its components not unitized appropriately in packaging (as a set), shall be rejected.

- Withdrawal from use of items due to quality failure found as manufacturer’s fault:

(a). In case of batch withdrawal, value of entire batch quantity supplied shall be recovered from the supplier.

(b).In case of product withdrawal, value of entire product quantity supplied shall be recovered from the supplier.

(c). In the event of either a) or b) above, supplier shall be surcharged the total cost involved for MSD, of the quality failed supplies with 25% administrative surcharge of the same.

- The storage conditions and the packing requirements of the product shall conform to the information given by the manufacturer and accepted by NMRA for the product registration or shall conform to the information submitted for waiver of registration granted by NMRA in exceptional circumstances.(refer clause No.24)

If the offered product, deviate from NMRA registered product features, supplier must provide with the bid, a declaration to certify the NMRA accepted product details such as; storage conditions, pack details/contents/sizes and standard batch quantity/size of the product.

- Immediately after delivery at MSD, the consignments shall be subjected to testing  appropriately drawn, one random batch sample (Post-delivery sample) of the consignment at a government/semi-government/accredited laboratory.(to be selectively applied for Surgical & Lab items, depending on availability of testing methodology & facilities)		If the sample is found to be substandard, random batch samples will be tested from all the batches/lots in the consignment, and entire expenses on such tests, like value of samples, transport, sampling & testing charges, etc, will be recovered from the supplier.

- Consignments supplied to MSD violating the storage conditions indicated on product labels and/or product information leaflet (as accepted for product registration at NMRA), shall be considered as quality affected consignments and quality assurance of such consignments shall be carried out by post-delivery testing at government / semi government laboratory in Sri Lanka or at an accredited laboratory (foreign/local). All the expenses on such an event, including storage cost shall be borne by the supplier. If found to be quality affected the consignment will be treated as quality failed (as clause No.11).

Pack size, Labeling & Packaging

- Offers for pack sizes at a lower level(smaller quantity per pack) than the pack size specified in the item description/specification and MSD order List, are also acceptable, but higher level (larger quantity per  pack) pack sizes will not be entertained unless otherwise offered with the original bid and accepted by the procurement committee, with the concurrence of MSD.

- In respect of bulk packs (not applicable for blister/strip packs), “DHS” mark shall be ;

(a). embossed or printed in case of tablets

(b). printed in case of capsules

Above condition can be waved off, if the quantity in the purchase order is less than 100,000 tablets/capsules, (any exemptions to this condition, is notified in the relevant MSD order list) Not applicable for surgical Non-Consumables

- Each; innermost pack, vial/ampoule, pre-filled syringe or bottle, shall bear the item Description,  SR No, Batch No/Lot no., Reference/Catalogue no.(not for pharmaceuticals), Date of Manufacture, Date of Expiry and “STATE LOGO” of Government of Sri Lanka.

It is essential to include and exactly match the dates of Expiry & date of Manufacture (in any form as “Year & Month” or “No Exp.”), in the innermost pack and supplier’s invoice.

- Description of the Item, SR No, Date of Manufacture, Date of Expiry, Batch No, Name and address of manufacturer and “STATE LOGO” of Sri Lanka Government shall be clearly marked on the outer covering of the individual/innermost pack containing the minimum unit of measure, including blister & strip cards and on the outer cover of the carton/box. Any deviations of the Date of Manufacture (DOM)/ Date of Expiry(DOE)declared in the offer shall be approved by MSD and DOM & DOE shall consist of at least the year & month.

- All outer most cartons (shipping packages) shall bear the MSD Purchase Order No, SPC Indent No., SR No, Batch No, and Date of Expiry in size 1.5cm letters / figures in prominently visible manner. This may be printed, stenciled or label properly affixed.

- Batch Number of the product shall be separately Barcoded (in Code 128 or 2D formats) and Barcode shall be printed on the labels at all levels of packing as described below, conforming to the industry standards in Barcode printing and pasting.

Format shall be according to Code 128 or 2D standards.

Maximum barcode size shall be 5.0cm (length) x 2.5cm (width).

- In case of receiving goods under inappropriate packaging conditions(not in good order), was to be sorted out by MSD to select the items in good order by 100% checking/handling of the consignment, all expenses incurred to MSD in such an event (including demurrage charges, cold stores charges, labor charges etc. or any other charges incurred until goods are ready for acceptance), have to be paid to MSD by the local supplier, before attending to checking the consignment 100%, by MSD.

In respect of SPC imported supplies, if the local agent does not follow suit as above, such extra expenses incurred to MSD shall be recovered from the supplier by SPC and refund to MSD.

Storage Conditions & Temperature

- If the storage temperature & conditions are not specified in the item specification, NMRA accepted product storage conditions, shall conform to Sri Lankan ambient storage conditions in the ranges of 300c +/- 20c temperature and 75% +/-5% relative humidity. The product storage conditions shall be clearly indicated at all levels of labels/packages/boxes.

- Maintenance of Cold Chain;

- In case of cold storage items, cold chain monitors (temperature recording devices) shall be included for each carton and the cold chain shall be maintained according to the manufacturer’s instructions during storage, transport and delivery.

- Supplier shall use suitable prominently visible identification marks of international standard, with appropriate colours and sizes for easy identification of cold cargo. Supplier shall use standardized USB Devices for temperature data logging inside the packages and shall provide free of charge, data logger readers &/ software (reading apps compatible with Windows-07/latest) to wharf department of SPC in advance, to enable examining the maintenance of cold chain in transit, and before taking over the consignment by MSD.

- If the cold chain break is observed at the time of taking over the consignments by MSD, such consignments shall be rejected, indicating the reason on the relevant WDN or copy of the delivery documents. In such an event, the SPC shall arrange necessary cold storage for the consignment until ‘observed cold chain break’ is investigated leading to acceptance / total rejection of consignment and the expenses born by MSD / SPC in arranging the cold storage shall be recovered from the supplier.

- The vehicles transporting cold cargo to MSD shall be equipped with temperature monitoring devices and the vehicle shall have NMRA approval for transport of pharmaceuticals.

- The suppliers shall dispatch consignments of the items, which require cold chain maintenance, to arrive in Sri Lanka during Monday to Thursday to avoid additional demurrage & storage charges during weekends, during which MSD stores is closed. In case of non-compliance of this condition, any additional expenses incurred to MSD and SPC, to Custom clear/store/receive such consignments shall be recovered from the supplier.

- In respect of the products requiring controlled temperature storage (Eg. < 250c, 2-250c, 15-200c/300c, 2-80c etc.), supplier shall provide MSD with latest product stability study reports with the invoice of the consignment.(report shall include studies; at 300c +/- 20c & 75% +/- 5% RH for AC stored items and at 250c +/- 20c & 60% +/- 5% RH for Cold stored items. It shall be a true copy of the latest report submitted to NMRA or a report issued within last 05 years). (refer clause No.12)

Delivery Requirements

- All items shall be supplied as per the latest/final delivery schedule, communicated to the supplier, as an amended Indent/PO delivery schedule (if not amended, original schedule in the Indent/PO will apply) mutually agreed between MSD& SPC, at the time of establishing the payment terms (L/C, DP, TT, etc). Any deviation from this agreed delivery schedule shall be treated as a defaulted delivery.

Contravening the above directions, if the delivery schedule is violated by the supplier for no fault of MSD/SPC/MOH and in the event MSD decides to accept any such consignment in full or part thereof, that is delivered after the due delivery date, Condition No. 27 on delayed deliveries, shall be applied.

- All consignments shall be delivered at Medical Supplies Division or an alternate receiving point as directed. However sending consignments to reach Sri Lanka from 15th December to 10th January shall be avoided, unless otherwise prior approval has been granted by MSD for such deliveries.

- Defaulted consignments with respect to delivery schedule shall only be considered for acceptance, subject to a penalty imposed for the delay due to suppliers fault, allowing a grace period up to two weeks. Consignments delivered after that grace period shall be considered for acceptance subject to a penalty to the supplier as described below ;

(a).  A penalty of 0.5% per day of the consignment value, calculated commencing from the 15th day up to 60th day delay from the due delivery date, as per the indent/PO or its’ latest amended delivery schedules.

(b). When the delay exceeds 60days purchase order will be considered as automatically cancelled, on defaulted performance. In such a situation, MSD reserve the right to recover liquidated damages or to revoke the cancellation (eg. if payments have been released prior to such a cancellation), and accept the consignment subject to a 25% admin surcharge.

- (i). If any local purchases were to be made by MSD/SPC to ensure continuity of supply (due to noncompliance of Indent/PO/its’ amended; delivery schedule); in the ensuing period inclusive of the grace period for delivery from due delivery date, extra expenditure incurred on such local purchases, over the landed cost of relevant SPC main order, shall be recovered from the supplier.

(ii). If a delivery defaulted (violating delivery schedule in the indent/PO) SPC supplier/his local agent, who participate in an urgent local purchase tender of SPC or MSD for the same item, quoting the same product or any similar product, is bound to supply the local purchase order at the landed cost of the defaulted SPC main order. In violations of the same, the cost difference will be set off from the payments to the supplier of the corresponding SPC main order.

- In respect of local manufacturers/ local suppliers, all deliveries shall be made only on week days excluding public holidays, also allowing adequate time to enable the completion of the receiving process at MSD stores before 3.30 p.m.  In the event of failure to meet this deadline due to supplier’s fault (eg. In delivery; time, product, document, etc.) goods shall be accepted on the following working day, such date shall be counted for working out penalties as per No. 27 (regarding defaulted consignment) of the conditions of supply.

As an alternative, supplier can request MSD to take over the consignment on the same day, subject to settling all adl. expenses (i.e. staff OT, forklift charge, etc.) of MSD, by the supplier.

- The extension of L/C’s overstepping delivery schedules in the Indent/PO/its’ amendments, shall not in any way affect the recovery of late delivery charges, as per Condition No. 27 (regarding defaulted consignments) and any other direct or indirect additional costs/liquidated damages, relating/consequent to extension of L/C.

- When adequate storage space is not available at MSD, to accept a delivery defaulted consignment (deviating from the delivery schedule in the Indent/PO/its’ amendments) under the condition No. 27, any additional expenses caused to MSD or SPC in arranging temporary external storage and other expenses (eg. demurrage, detention, container storage, re-handling cum transport, etc.) shall be borne by the supplier.

Documents & Information

- MSD Order No, Item Description, SR No, Batch No., Date of Manufacture, Date of Expiry and product Storage Condition, shall be indicated in all Supply Invoices and detailed Packing Lists.

- One of the tender samples of the selected bid shall be forwarded to MSD, for using as a reference sample (can make it; a part of the last consignment or a returnable to supplier) for checking the conformity of the consignments received under the indent/PO.(applicable for all surgical items and regular category of laboratory items, when specified in respective order lists).

The images of the; specimen labels, minimum pack and outer most box/shipper carton, that satisfies the above mentioned labeling conditions, shall also be provided within 14 days of releasing the indent by SPC.

- The supplier shall submit all shipping documents to (Including Bills of Lading / Draft Air Way Bills etc.) SPC Imports department and MSD by e-mail(follow instructions in website www.msd.gov.lk ), at least 03 days before the Expected Time of Arrival (ETA) of sea freighted consignments & 02 days before the ETA of Air freighted consignments.

- After releasing the Indent/PO or establishing L/C, the latest logistical position of manufacturing & supply on the Indent/PO, shall be updated biweekly through e-mails to SPC with a copy to MSD6 by the supplier.( follow instructions in the website www.msd.gov.lk)

If it is not complied or the information so provided are found to be incomplete/false, the grace period (for supply delays) mentioned in the clause 27 will not be applicable.

Common conditions

36.	In addition to the general conditions of supply given herein, item/order-list specific amendments, exclusions or additions to the same, stated in the covering letter of the order list and any other relevant conditions as per the tender document issued by SPC, are also applicable. The order/item specific; new conditions or amendments to General Order Conditions, will be included in the order list itself and as a remark entry in the MSMIS order records.

- Administrative surcharge of 25%(on the value of goods), will be applied for tender condition violations that cause deficiencies in supply with respect to; quality, standards & specifications, short packing & short supply or delayed delivery as per the cabinet decision. (eg. As  in conditions No. 08,05,10,13)

- The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

- To be supplied as per the delivery schedule indicated in the order list.

- In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

41.  Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

42. In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality  failure found in your previous supplies made to SPC or non compliance of  contractual agreement

43. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and  therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of Tender or shall register himself and such public contract act in accordance with the section 10 of the Public Contract Act and produce such valid  original certificate of Registration with the tender.

44. Destination Terminal Handling charges (THC) should be borne by the supplier at the Port  of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

45.  Offer validity should be  31/07/2019.

46.  When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 85% or more out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

Abbreviations :NMRA ; National Medicines Regulatory Authority/Sri Lanka, SPC ; State Pharmaceuticals Corporation, MSD; Medical Supplies Division/Ministry of Health-Sri Lanka.

Special conditions for Surgical Non Consumable Item

- No. -17, under general condition for Non Consumable item shelf-life is not applicable.

- No. -17, under general condition for Non Consumable- Freshly manufactured product should be supplied.

Warranty document should be address to SPC with a copy to D/MSD and Warranty period is consider from the date of acceptance the consignment by MSD.  Each individual items should be included a Warranty card with contact details of authorized local agent.  Warranty details/period should be included in label and invoice.

- General condition 8 and 16 are not applicable for Surgical Non-Consumables.

- Art works and diagrams with dimensions for relevant products with catalog numbers should be provided, if requested by MSD.

- Usage instruction pamphlet/user manuals in print/pdf/video format should be provided. (Such instructions should carry details on maintenance, compatibility and storage)

- Provide copy of quotation with catalogue numbers for all article/components including special instrument sets at the stage of offered item acceptance.

All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of item on instances where the total Tendered Price of item exceeds LKR 1 million. Bid Bond should be submitted with valid up to   30/08/2019 together with the tender

Sufficient  quantity of samples should be forwarded for evaluation.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable

normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different

components are sourced from different suppliers.

DHS/RSS/RQ/198/17

MSD O.L. NO.2017/SPC/N/C/S/00108  	CLOSING ON    01ST FEBRUARY , 2019 AT  2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 11/13714700 | Percutaneous Arterial Puncture Site Cosing Device, size 6Fr, with insertion sheath, arteriotomy locator and size 0.89mm (0.035") diameter x 70cm (approx.) guidewire with J tip, sterile. | 22 Nos |
| 12/13714701 | Percutaneous Arterial Puncture Site Closing Device, size 8Fr, with insertion sheath, arteriotomy locator and size 0.97mm (0.038") diameter x 70cm (approx.) guidewire with J tip, sterile. | 20 Nos |

Delivery   :  Immediately.

Pack Size :  01

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. 2017/SPC/N/C/S/00108, SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

\

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be  31/07/2019.   Bid Bond value should be  30/08/2019.

25.When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 75% or

more  out of total product shelf life as per the regulation of Import & Export Controller of

Sri Lanka.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

(Annexure I)

DHS/RSS/RQ/224/18

2018/SPC/E/C/S/00416  			CLOSING ON:  25TH JANUARY, 2019 AT   2.00 pm

| ITEM/ SR NO | ITEM | QTY |
| --- | --- | --- |
| 11/13530400 | Introducer for coronory guidewires, sterile. | 4,620 Nos |
| 12/13530300 | Three Way Adaptor, high pressure, sterile. | 7,770 Nos |
| 13/13530200 | Y - Adapter with Touhy - Borst valve, with side arm, sterile. | 5,625 Nos |
| 14/13529904 | Tubing for Pressure Monitoring, clear, non expanding, medical grade PVC, 200cm (approx.) length, sterile. | 5,000 Nos |
| 15/13529903 | Tubing for Pressure Monitoring, clear, non expanding, medical grade PVC, 105cm - 150cm length, sterile. | 5,650 Nos |
| 16/13529902 | Tubing for Pressure Monitoring, clear, non expanding, medical grade PVC, 80cm - 100cm length, sterile. | 1,520 Nos |
| 17/13529900 | Tubing for Pressure Monitoring, clear, non expanding, medical grade PVC, 25cm - 50cm length, sterile. | 2,360 Nos |
| 18/13529804 | Tubing for Contrast Injection, clear, medical grade PVC, rated pressure 1200 psi, 200cm (approx.) length, sterile. | 5,000 Nos |
| 19/13529703 | Tubing for Contrast Injection, clear, braided and flexible polyurethane or similar material, rated pressure 1200 psi, 105cm - 150cm length, sterile. | 5,560 Nos |
| 20/13529701 | Tubing for Contrast Injection, clear, braided and flexible polyurethane or similar material, rated pressure 1200 psi, 55cm - 75cm length, sterile. | 40 Nos |
| 21/13529700 | Tubing for Contrast Injection, clear, braided and flexible polyurethane or similar material, rated pressure 1200 psi, 25cm - 50cm length, sterile. | 2,500 Nos |
| 22/13529503 | Endovascular Snare 3D, mini, large, EN (Merit Medical) snare type or similar, size 18mm - 30mm, 175cm (approx.) length, with size 7F introducer, sterile. | 12 Nos |
| 23/13529502 | Endovascular Snare 3D, mini, large, EN (Merit Medical) snare type or similar, size 12mm - 20mm, 175cm (approx.) length, with size 7F introducer, sterile. | 12 Nos |
| 24/13529500 | Snare 3D, mini, EN snare type or similar, size 2mm - 4mm, 175cm (approx.) length, with size 4F introducer, sterile. | 11 Nos |
| 25/13529204 | Myocardial Biopsy Forceps, flexible, Cordis type or similar, size 6F, 100cm - 120cm length, sterile. | 12 Nos |
| 26/13529203 | Myocardial Biopsy Forceps, flexible, Cordis type or similar, size 6F, 100cm - 120cm length, sterile. | 29 Nos |

| 27/13529201 | Myocardial Biopsy Forceps, flexible, Cordis type or similar, size 5F, 100cm - 120cm length, sterile. | 27 Nos |
| --- | --- | --- |
| 28/13529200 | Myocardial Biopsy Forceps, flexible, Cook type or similar, size 3F, 120cm (approx.) length, sterile. | 21 Nos |
| 29/13528810 | Coronary Guidewire, Similar to Grand Slam, straight tip, size 0.36mm (0.014") diameter, 0.7 tip load, 175cm - 190cm length, sterile. | 100 Nos |
| 30/13528809 | Coronary Guidewire, Similar to Grand Slam, J tip, size 0.36mm (0.014") diameter, 0.8 tip load, 175cm - 190cm length, sterile. | 60 Nos |
| 31/13528808 | Coronary Guidewire, Similar to Fielder, straight tip, size 0.36mm (0.014") diameter, 0.8 tip load, 175cm - 190cm length, sterile. | 140 Nos |
| 32/13528807 | Coronary Guidewire, Similar to Fielder, J tip, size 0.36mm (0.014") diameter, 0.8 tip load, 175cm - 190cm length, sterile. | 60 Nos |
| 33/13528806 | Coronary Guidewire, Similar to Fielder, J tip, size 0.36mm (0.014") diameter, 0.8 tip load, 175cm - 190cm length, sterile. | 450 Nos |
| 34/13528805 | Coronary Guidewire, Similar to Fielder, J tip, size 0.36mm (0.014") diameter, 0.8 tip load, 175cm - 190cm length, sterile. | 10 Nos |

Packing    :  01 Nos

Delivery   :   Immediately

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2018/SPC/E/C/S/00416,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be 24/07/2019 and Bid Bond valid up to 23/08/2019.

25. When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 85% or more

out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/225/18

2018/SPC/N/C/S/00106	                         CLOSING ON:   25TH JANUARY, 2019  AT   2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 14/13511902 | Coronary Guiding Catheter, Left, Ikari Curve, size 7F, curve style IL 3.5, 90cm - 100cm length, sterile. | 25 Nos |
| 16/13512102 | Coronary Guiding Catheter, Left, Ikari Curve, size 7F, curve style IR 1.5, 90cm - 100cm length, sterile. | 05 Nos |

Packing  :  01 No

Delivery : 100%- Immediately

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2018/SPC/N/C/S/00106,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be  24/07/2019 and Bid Bond valid up to  23/08/2019.

25. When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 75% or more

out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/226/18

2019/SPC/E/C/S/00453			CLOSING ON:  01ST FEBRUARY, 2019 AT   2.00 pm

| ITEM/ SR NO | ITEM | QTY | DELIVERY |
| --- | --- | --- | --- |
| 08/13507709 | Angiographic Catheter, Right Coronary, Judkin type or similar, size 4F, curve styleJR 3, 100cm - 110cm length, sterile. | 07 Nos | 100% - Immediately |
| 09/13507708 | Angiographic Catheter, Paediatric, Right Coronary, Judkin type or similar, size 5F, curve style JR 3, 60cm - 80cm length, sterile. | 20 Nos | 100% - Immediately |
| 10/13507707 | Angiographic Catheter, Paediatric, Right Coronary, Judkin type or similar, size 5F, curve style JR 2.5, 60cm - 80cm length, sterile. | 210 Nos | 100% - Immediately |

Packing  : 1 Nos

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2018/SPC/E/C/S/00453,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be 31/07/2019 and Bid Bond valid up to 30/08/2019.

25. When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 75% or more

out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.