PROCUREMENT NOTICE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

The Chairman, Procurement Committee of the State Pharmaceuticals Corporation of Sri Lanka, Colombo 01 invites sealed quotations from registered and previous sources for following items and bids will be closed at the respective times on the dates given below and will be opened immediately thereafter.

(E. mail /Fax offers as well as FOB offers are not acceptable)

Sealed Bids may be sent by post under registered cover or may be personally deposited in the box available for this purpose at Internal Audit Department in the mezzanine floor of the State Pharmaceuticals Corporation at No. 75, Sir Baron Jayatillake Mawatha, Colombo 1, Sri Lanka.

Bidders or their authorised representatives will be permitted to be present at the time of opening of Bids.

LAB ITEMS

| TENDER NO/BID REFERENCE | CLOSING DATE | CLOSING TIME | ITEM | QTY |
| --- | --- | --- | --- | --- |
| DHS/RL/128WAC/17 | 02.05.2019 | 02.30 P.M. | 09/42868101 -Hantavirus antibody – Indirect immunofluorescence | 06 Kits |
| DHS/RL/115CPW/18 | 02.05.2019 | 02.30 P.M. | 04/51615401 Cryo Pen (with different colours) | 39 Nos |
| DHS/RL/26CPW/19 | 02.05.2019 | 02.30 P.M. | 06/43500501 Weak Rh D Control IgG 5ml/vial | 20 vials |

SURGICAL SPECIAL ITEMS

| Tender No. | Closing Date | Closing Time | Item | Quantity |
| --- | --- | --- | --- | --- |
| DHS/RSS/RQ/252/18 | 03.05.2019 | 2.00 pm | Surgical Consumables | SPC web site www.spc.lk |
| DHS/RSS/RQ/253/18 | 03.05.2019 | 2.00 pm | Clamp Aorta, abdominal, Zanger type or similar, curved, atraumatic jaws, 305mm(approx.) length, stainless steel. | 07 Nos |
| DHS/RSS/RQ/255/18 | 17.05.2019 | 2.00 pm | Surgical Consumables | SPC web site www.spc.lk |
| DHS/RSS/RQ/55/19 | 03.05.2019 | 2.00 pm | Intra Venous Cannula without side port, Surflo type or similar, size 20G cannula, 32mmm (approx.) length, sterile. | 2,400 Nos |
| DHS/RSS/RQ/57/19 | 03.05.2019 | 2.00 pm | Surgical Consumables | SPC web site www.spc.lk |
| DHS/RSS/RQ/58/19 | 03.05.2019 | 2.00 pm | Surgical Sutures | SPC web site www.spc.lk |
| DHS/RSS/RQ/59/19 | 17.05.2019 | 2.00 pm | Baby Blood Lines Set for Haemodialysis, comprising Arterial and Venous blood lines with filter and connector, withfilling volume less than 70ml, sterile. Should be compatible with "FMC 4008S" (Fresenius) Haemodialysismachine. | 2,000 Sets |

Bids should be prepared as per particulars given in the Bidding Documents available at the Head Office of State Pharmaceuticals Corporation of Sri Lanka, No.75, Sir Baron Jayatillake Mawatha, Colombo 1.

Wherever necessary potential bidder/bidders should get registered in terms of the Public Contract Act No.3 of 1987 before collecting the Bid Documents and also should get the contract registered after the award.

CHAIRMAN -PROCUREMENT COMMITTEE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

75, SIR BARON JAYATILLAKE MAWATHA

COLOMBO 1

SRI LANKA.

FAX		:  00 94-11- 2335008/2344082

TELEPHONE	:  00 94-11- 2335008/2326227/2335374

E-MAIL		:  impmanager@spc.lk / pharma.manager@spc.lk

--------------------------------------------------------------------------------------------------------

Chairman- Procurement Entity

On behalf of

CHAIRMAN DEPARTMENTAL PROCUREMENT COMMITTEE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

75, SIR BARON JAYATILLAKE MAWATHA

COLOMBO 1

SRI LANKA.

(Annexure I)

DHS/RSS/RQ/ 252/18

2018/SPC/E/C/S/00425                     CLOSING ON:  03RD MAY, 2019 AT   2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 25/13515200 | Delivery System for Detachable Embolization Coils, for Cook Flipper type coils, size 2.6F, 110cm (approx.) length, sterile. | 03 Nos |
| 26/13514906 | Percutaneous Introducer Set, long sheath, Mullin type or similar, size 14F, 60cm - 80cm length, should accept a guidewire of size 0.89mm (0.035") diameter or above, sterile. | 20 Nos |
| 27/13514905 | Percutaneous Introducer Set, long sheath, Mullin type or similar, size 12F, 60cm - 80cm length, should accept a guidewire of size 0.89mm (0.035") diameter or above, sterile. | 30 Nos |

Packing  :  01

Delivery :  Immediately

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2018/SPC/E/C/S/00425,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be  30/10/2019.

25. All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of the

total Tendered Price exceeds LKR 1 million. Bid Bond should be submitted with valid up to 21/10/2019

together with the tender.

26. When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 85% or more

out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

27.  If you are not interested in participating, please acknowledge the receipt of this invitation with the

reason for not quoting.

28  BIDS FROM THOSE OTHER THAN MANUFACTURERS

Bids for supply of goods which are not manufactured by the Bidder should be supported by a Certificate of Authority issued by the Manufacturer indicating that the Bidder has been duly authorized to supply the goods tendered for.  Failure to comply may result in the offer being rejected.

All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of the total Tendered Price exceeds LKR 1 million. Bid Bond should be submitted with valid up to

29/11/2019 together with the tender.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

(Annexure I)

DHS/RSS/RQ/255/18

2018/SPC/E/C/S/00386                    CLOSING ON:  17TH MAY , 2019 AT   2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 01/13400303 | Arterial Cannula for ECMO (Extracorporeal Membrane oxygenation), for paediatric, size 10Fr, sterile. | 02 Nos |
| 02/13400304 | Arterial Cannula for ECMO (Extracorporeal Membrane oxygenation), for paediatric, size 12Fr, sterile. | 02 Nos |
| 03/13400305 | Arterial Cannula for ECMO (Extracorporeal Membrane oxygenation), for paediatric, size 14Fr, sterile. | 02 Nos |
| 04/13400700 | Venous Return Catheter, angled, with metal/plastic tip, size 10Fr, sterile. | 03 Nos |
| 05/13400701 | Venous Return Catheter, angled, with metal/plastic tip, size 12Fr, sterile. | 03 Nos |
| 06/13400702 | Venous Return Catheter, angled, with metal/plastic tip, size 14Fr, sterile. | 03 Nos |
| 07/13400703 | Venous Return Catheter, angled, with metal/plastic tip, size 16Fr, sterile. | 03 Nos |
| 08/13400704 | Venous Return Catheter, angled, with metal/plastic tip, size 18Fr, sterile. | 03 Nos |
| 09/13400707 | Venous Return Catheter, angled, with metal/plastic tip, size 8Fr, sterile. | 03 Nos |
| 10/13404702 | Oxygenator for Extracorporeal Membrane Oxygenation (ECMO), Neonate, stand alone coated long term Oxygenator, for Levitronix system, made out of Polymethylpentene (PMP) plasma light fibre, blood flow range 0.2-1.4lpm, static volume 65ml, heat exchange surface area 0.07m2, Gas exchange surface area 0.45m2, sterile. | 03 Nos |
| 11/13404703 | Oxygenator for Extracorporeal Membrane Oxygenation (ECMO), Infant, stand alone coated long term Oxygenator, for Levitronix system, made out of Polymethylpentene (PMP) plasma light fibre, blood flow range 0.5-3.0lpm, static volume 145ml, heat exchange surface area 0.02m2, Gas exchange surface area 0.88m2, sterile. | 02 Nos |
| 12/13404705 | Oxygenator for Extracorporeal Membrane Oxygenation (ECMO), Small Adult, stand alone coated long term Oxygenator, for Levitronix system, made out of Polymethylpentene (PMP) plasma light fibre, blood flow range 1.0-5.0lpm, static volume 225ml, heat exchange surface area 0.02m2, Gas exchange surface area 1.78m2, sterile. | 02 Nos |
| 13/13404706 | Oxygenator for Extracorporeal Membrane Oxygenation (ECMO), Medium Adult, stand alone coated long term Oxygenator, for Levitronix system, made out of Polymethylpentene (PMP) plasma light fibre, blood flow range 1.0-7.0lpm, static volume 250ml, heat exchange surface area 0.04m2, Gas exchange surface area 1.95m2, sterile. | 03 Nos |

| 14/13404707 | Oxygenator for Extracorporeal Membrane Oxygenation (ECMO), Large Adult, stand alone coated long term Oxygenator, for Levitronix system, made out of Polymethylpentene (PMP) plasma light fibre, blood flow range 1.0-9.0lpm, static volume 290ml, heat exchange surface area 0.04m2, Gas exchange surface area 2.44m2, sterile. | 02 Nos |
| --- | --- | --- |
| 15/13405401 | Custom Made Tubing Pack for ECMO, Levitronix Centrimag" compatible, for Neonate, sterile. | 02 Nos |
| 16/13405402 | Custom Made Tubing Pack for ECMO, "Levitronix Centrimag" compatible, for Infant, sterile. | 02 Nos |
| 17/13405403 | Custom Made Tubing Pack for ECMO, "Levitronix Centrimag" compatible, for Paediatric, sterile. | 02 Nos |
| 18/13405404 | Custom Made Tubing Pack for ECMO, "Levitronix Centrimag" compatible, for Small Adult, sterile. | 02 Nos |
| 19/13405405 | Custom Made Tubing Pack for ECMO, "Levitronix Centrimag" compatible, for Medium Adult, sterile. | 03 Nos |
| 20/13405406 | Custom Made Tubing Pack for ECMO, "Levitronix Centrimag" compatible, for Large Adult, sterile. | 03 Nos |
| 21/13407203 | Venous Cannula for ECMO (Extracorporeal Membrane oxygenation), two stage, for adult, size 22Fr, sterile. | 03 Nos |
| 22/13407204 | Venous Cannula for ECMO (Extracorporeal Membrane oxygenation),for adult, size 14Fr, sterile. | 03 Nos |
| 23/13407205 | Venous Cannula for ECMO (Extracorporeal Membrane oxygenation), for adult, size 12Fr, sterile. | 02 Nos |
| 24/13408001 | 8Fr 18-20cm: Percutaneous Femoral Venous Cannula for ECMO, for weight 2-5 Kg, kink resistant, wire wounded, bevel tipped catheter, Seldinger needle, scalpel blade, 0.025?x 60 cm Seldinger guide wire, Introducer with depth marker, stepped vessel dilators, non vented 6.3mm connector, peel open, sterile. | 03 Nos |
| 25/13408002 | 10Fr 18-20cm: Percutaneous Femoral Venous Cannula for ECMO, for weight 2-5 Kg, kink resistant, wire wounded, bevel tipped catheter, Seldinger needle, scalpel blade, 0.038?x 100 cm Seldinger guide wire, Introducer with depth marker, stepped vessel dilators 8/10Fr, non vented 6.3mm connector, peel open, sterile. | 03 Nos |
| 26/13408003 | 12Fr 18-20cm: Percutaneous Femoral Venous Cannula for ECMO, for weight 2-5 Kg, kink resistant, wire wounded, bevel tipped catheter, Seldinger needle, scalpel blade, 0.038?x 100 cm Seldinger guide wire, Introducer with depth marker, stepped vessel dilators 8/10Fr and 11/12Fr, non vented 6.3mm connector, peel open, sterile. | 03 Nos |
| 27/13408004 | 14/15Fr 18-20cm: Percutaneous Femoral Venous Cannula for ECMO, for weight 2-5 Kg, kink resistant, wire wounded, bevel tipped catheter, Seldinger needle, scalpel blade, 0.038?x 100 cm Seldinger guide wire, Introducer with depth marker, stepped vessel dilators 8/10Fr and 12/14Fr, non vented 6.3mm connector, peel open, sterile. | 03 Nos |
| 28/13408005 | 15 Fr 18-20cm long, 18cm tip, Percutaneous Femoral Venous Cannula for ECMO, for 5 8 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 100 seldinger guide wire,Introducer with depth marker, Stepped vessel dilators 8/10Fr and 12/14Fr, Non vented 6.3mm connector, sterile, peel open. | 03 Nos |
| 29/13408006 | 17 Fr 40-50cm long, 18cm tip, Percutaneous Femoral Venous Cannula for ECMO, for 8 -16 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 180 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr and 12/14Fr, Non vented 6.3mm connector, sterile, peel open. | 03 Nos |
| 30/13408007 | 19 Fr 40-50cm long, 18cm tip, Percutaneous Femoral Venous Cannula for ECMO, for 8 -16 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 180 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr, 12/14Fr and 16/18Fr, Non vented 6.3mm connector, sterile, peel open. | 03 Nos |
| 31/13408008 | 21 Fr 40-50cm long, 18cm tip, Percutaneous Femoral Venous Cannula for ECMO, for 15 -30 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 180 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr and 12/14Fr, Non vented 6.3mm connector, sterile, peel open. | 03 Nos |
| 32/13408009 | 23 Fr 40-50cm long, Percutaneous Femoral Venous Cannula for ECMO, for 15 -30 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 180 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr and 12/14Fr, Non vented 12.5mm connector, sterile, peel open. | 03 Nos |
| 33/13408010 | 25 Fr 40-50cm long, Percutaneous Femoral Venous Cannula for ECMO, for 30 -50 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 180 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr, 12/14Fr and 16/18Fr Non vented 6.3mm connector, sterile, peel open. | 03 Nos |
| 34/13408011 | 27 Fr 40-50cm long, Percutaneous Femoral Venous Cannula for ECMO, for 30 -50 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 180 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr, 12/14Fr and 16/18Fr Non vented 6.3mm connector, sterile, peel open. | 03 Nos |
| 35/13408012 | 29 Fr 40-50cm long, Percutaneous Femoral Venous Cannula for ECMO, for over 50 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 180 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr, 12/14Fr and 16/18Fr Non vented 6.3mm connector, sterile, peel open. | 02 Nos |
| 36/13408101 | 8Fr 18-20cm: Percutaneous Femoral Arterial Cannula for ECMO, for weight 2-5 Kg, kink resistant, wire wounded, bevel tipped catheter, Seldinger needle, scalpel blade, 0.025?x 60 cm Seldinger guide wire, Introducer with depth marker, stepped vessel dilators, non vented 6.3mm connector, peel open, sterile. | 02 Nos |
| 37/13408102 | 10Fr 18-20cm: Percutaneous Femoral Arterial Cannula for ECMO, for weight 2-5 Kg, kink resistant, wire wounded, bevel tipped catheter, Seldinger needle, scalpel blade, 0.038?x 100 cm Seldinger guide wire, Introducer with depth marker, stepped vessel dilators 8/10Fr, non vented 6.3mm connector, peel open, sterile. | 02 Nos |
| 38/13408103 | 12Fr 18-20cm: Percutaneous Femoral Arterial Cannula for ECMO,for weight 2-5 Kg, kink resistant, wire wounded, bevel tipped catheter, Seldinger needle, scalpel blade, 0.038?x 100 cm Seldinger guide wire, Introducer with depth marker, stepped vessel dilators 8/10Fr and 11/12Fr, non vented 6.3mm connector, peel open, sterile. | 02 Nos |
| 39/13408104 | 14/15Fr 18-20cm: Percutaneous Femoral Arterial Cannula for ECMO, for weight 2-5 Kg, kink resistant, wire wounded, bevel tipped catheter, Seldinger needle, scalpel blade, 0.038?x 100 cm Seldinger guide wire, Introducer with depth marker, stepped vessel dilators 8/10Fr and 12/14Fr, non vented 6.3mm connector, peel open, sterile. | 02 Nos |
| 40/13408105 | 15 Fr 18-20cm long, 18cm tip, Percutaneous Femoral Arterial Cannula for ECMO, for 5 8 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 100 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr and 12/14Fr, Non vented 6.3mm connector, sterile, peel open. | 02 Nos |
| 41/13408106 | 17 Fr 40-50cm long, 18cm tip, Percutaneous Femoral Arterial Cannula for ECMO, for 8 -16 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 180 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr and 12/14Fr, Non vented 6.3mm connector, sterile, peel open. | 01 Nos |
| 42/13408107 | 19 Fr 40-50cm long, 18cm tip, Percutaneous Femoral Arterial Cannula for ECMO, for 8 -16 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 180 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr, 12/14Fr and 16/18Fr, Non vented 6.3mm connector, sterile, peel open. | 02 Nos |
| 43/13408108 | 21 Fr 40-50cm long, 18cm tip, Percutaneous Femoral Arterial Cannula for ECMO, for 15 -30 Kg weight, Kink resistant, wire wounded, multiport tipped catheter, Seldinger needle, scalpel blade, Haemostasis cap, 0.038?x 180 seldinger guide wire, Introducer with depth marker, Stepped vessel dilators 8/10Fr and 12/14Fr, Non vented 6.3mm connector, sterile, peel open. | 02 Nos |
| 44/13408201 | 13Fr Percutaneous VenoVeno Cannula for ECMO for 2-5 Kg weight, maximum insertion length of 6-8 .5 cm, drain flow @ -50mmHg 600ml, Maximum return flow range@ +250mmHg 500ml/min, connector size 6.3mm, wire wounded, Kink resistant, multiple side holes, with introducer kit: 22G needle, 18 G IV catheter, 24G IV catheter, 0.018¿guide wire in coil sheath, 0.035?-0.038? guide wire in coil sheath, dilators & introducer sheath, sterile. | 02 Nos |

| 45/13408202 | 16Fr Percutaneous VenoVeno Cannula for ECMO for 5- 8 Kg weight, maximum insertion length of 8 - 10 cm, drain flow @ -50mmHg 850ml, Maximum return flow range@ +250mmHg 775ml/min, connector size 6.3mm, wire wounded, Kink resistant, multiple side holes, with introducer kit: 22G needle, 18 G IV catheter, 24G IV catheter, 0.018? guide wire in coil sheath, 0.035¿guide wire in coil sheath, dilators & introducer sheath, sterile. | 02 Nos |
| --- | --- | --- |
| 46/13408203 | 19Fr Percutaneous VenoVeno Cannula for ECMO for 8- 16 Kg weight, maximum insertion length of 12 - 14 cm, drain flow @ -50mmHg 1100ml, Maximum return flow range@ +250mmHg 1100ml/min, connector size 6.3mm, wire wounded, Kink resistant, multiple side holes, with introducer kit: 22G needle, 18 G IV catheter, 24G IV catheter, 0.018?guide wire in coil sheath, 0.035? guide wire in coil sheath, dilators & introducer sheath, sterile. | 02 Nos |
| 47/13408204 | 23Fr Percutaneous VenoVeno Cannula for ECMO for 15- 30 Kg weight, maximum insertion length of 16 - 18 cm, drain flow @ -50mmHg 3000ml, Maximum return flow range@ +250mmHg 2500ml/min, connector size 9.4mm, wire wounded, Kink resistant, multiple side holes, with introducer kit: 22G needle, 18 G IV catheter, 24G IV catheter, 0.018? guide wire in coil sheath, 0.035?guide wire in coil sheath, dilators & introducer sheath, sterile. | 02 Nos |
| 48/13408205 | 28Fr Percutaneous VenoVeno Cannula for ECMO for 15- 30 Kg weight, maximum insertion length of 20 - 24 cm, drain flow @ -50mmHg 4300ml, Maximum return flow range@ +250mmHg 3500ml/min, connector size 9.4mm, wire wounded, Kink resistant, multiple side holes, with introducer kit: 22G needle, 18 G IV catheter, 24G IV catheter, 0.018?x 180 cm guide wire in coil sheath, 0.035?x 180 cm guide wire in coil sheath, dilators & introducer sheath, sterile. | 02 Nos |
| 49/13408206 | 32Fr Percutaneous VenoVeno Cannula for ECMO for over 50 Kg weight, maximum insertion length of 25 cm, drain flow @ -50mmHg 5300ml, Maximum return flow range@ +250mmHg 4700ml/min, connector size 9.4mm, wire wounded, Kink resistant, multiple side holes, with introducer kit: 22G needle, 18 G IV catheter, 24G IV catheter, 0.018?x 180 cm guide wire in coil sheath, 0.035?x 180 cm guide wire in coil sheath, dilators & introducer sheath, sterile. | 02 Nos |
| 50/13409001 | Centrifugal Blood Pump, for Adult, for Levitronix system, priming volume 31ml , Inlet & outlet 3/8"(9.4mm), maximum speed 5500rpm, Maximum flow 9.99 lpm, max operating pressure 600mmHg, sterile. | 05 Nos |
| 51/13409002 | Centrifugal Blood Pump, for Padiatric, for Levitronix system, priming volume 14ml , Inlet & outlet 1/4" (6.3 mm), maximum speed 5500rpm, Maximum flow 1.5 lpm, max operating pressure 540mmHg, sterile. | 06 Nos |

Packing    :  01

Delivery   :   Immediately

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2018/SPC/E/C/S/00386,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be  13.11.2019.

25. All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of the

total Tendered Price exceeds LKR 1 million. Bid Bond should be submitted with valid up to 21/10/2019

together with the tender.

26. When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 85% or more

out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

27.  If you are not interested in participating, please acknowledge the receipt of this invitation with the

reason for not quoting.

28  BIDS FROM THOSE OTHER THAN MANUFACTURERS

Bids for supply of goods which are not manufactured by the Bidder should be supported by a Certificate of Authority issued by the Manufacturer indicating that the Bidder has been duly authorized to supply the goods tendered for.  Failure to comply may result in the offer being rejected.

All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of the total Tendered Price exceeds LKR 1 million. Bid Bond should be submitted with valid up to

13/12/2019 together with the tender.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

(Annexure I)

DHS/RSS/RQ/57/19

2019/SPC/N/C/S/00171		CLOSING ON:   03RD MAY, 2019 AT   2.00 pm

| ITEM/ SR NO | ITEM | QTY | DELIVERY |
| --- | --- | --- | --- |
| 01/14000205 | Hypodermic Syringes, 2.5ml/3ml with Needle, single use plastic, conforming to sterile single use plastic syringes BP1993 complying with international standard ISO 7886 -1984(E) for hypodermic syringes for single use and British Standard BS 5081 : Part 1 and 2 1987 for sterile hypodermic syringes and needles), with 0.1ml graduations, with double seal piston (3 part) or medical grade plastic plunger (2 part), with mounted needle of size 30G x 31mm long. Sterile, non toxic and pyrogen free, for dental use. | 100,000 Nos | 50,000 Nos – Immediately 50,000 Nos – 03 months after 1st lot |
| 02/14102901 | Venous Blood Sampling Set for new born and infants, conforming to ISO standards, with winged needles, luer lock fitting, sterile. | 1,200 Nos | 600 Nos – Immediately 600 Nos – 03 months after 1st lot |

Packing : 1 Nos

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

Offers should be submitted in the format as per annexure.

- The consignments supplied in respect of an order concerned, shall exactly match with the reference sample submitted and the product information (item descriptions, shelf life/warranty where applicable, manufacturer’s name, country of manufacture, country of origin, etc.) provided in the bid document by the supplier, which has been accepted by the procurement committee, and included in the Indent / Purchase Order (PO), issued by SPC.

- All items shall be supplied, sourcing from the manufacturer and country of manufacturer, stated in the Purchase Order (PO)/Indent of SPC and wherever applicable shall have a valid product registration or waiver of registration from NMRA.

- Maintaining the validity of the product registration during the period of supply(delivery schedule), obtaining waiver of registration &/ import license / manufacture licensing at NMRA, is a pre-requisite for the supply of surgical, pharmaceutical and relevant laboratory items. Hence all suppliers shall produce relevant valid registration certificates/licenses, when requested by MSD/SPC.

When the validity of the product/manufacturing licenses and registrations of NMRA (eg; manufacturing license, product registration and GMP certificates), of local manufacturers / local suppliers, lapses during the year or during the period of supply (delivery schedule), it shall be extended / renewed by the supplier. A certified copies of afore mentioned valid certificates shall be submitted to MSD by the supplier when deliveries are made.

- The number of batches per consignment shall be minimal. Batch quantity shall be an equal multiple of the quantity of the consignment and the proportionate size of the batch quantity shall be not less than 15% of the quantity in the consignment.

- If MSD decides to accept a part or full consignment, with deviations from certain tender conditions (eg: with regard to labeling/packaging etc.) due to an urgency, that shall be done subject to, either rectifying the defect within 05 working days by the supplier, or recovering the total cost [a] of rectifying the defect by MSD (via a duly contracted third party providing such services), from the supplier with a 25% surcharge on the labeling cost. (total charge = [a]+[a]x0.25) or  2% of the invoiced value, whichever is the highest.

All possible tender deviations such as Packing, labeling, delivery schedule, storage status, payment mode & conditions, etc., shall be communicated and agreed upon before accepting the tender award by the supplier. Noncompliance of same shall be considered as tender violations, to apply penalty (as clause No. 37).

- The specifications of the product offered in the bid, by the supplier shall match with the tender specifications for the item and any form of alternate offers will not be entertained.

Shelf life & Warrantees

- In the supply of all Non consumables; Manufacturer or supplier or local agent shall provide a minimum of 02 year warranty period or as specified in the specification, for each such item or it’s sub components supplied (through the local agent), unless otherwise agreed upon with MSD, prior to awarding the tender. Foreign suppliers of all such items shall have their own local agent in Sri Lanka, capable of providing technical support, repairs & spares, when necessary. (only applicable for Non Consumable Items)

- Freshly manufactured stocks of the product shall be supplied; thereby the residual Shelf Life (shelf life remaining at the time of delivery of goods in Sri Lanka/MSD stores in case of local supplies) of the product, shall be 85% of the shelf life requested(specified in order/Indent/PO).

In respect of the items with requested shelf life equal or more than 24 months, any deficit between the residual shelf life and requested shelf life, shall not be more than 04 months.

In the violation of the above tender condition, SPC/MSD reserves the right to accept a reduced quantity, that is usable (as per the consumption rate) up to three months before the expiry of same and will subject to application of a penalty (as clause No. 37 ).

When the shelf life is not specified in the indent/PO/item spec; the requested shelf life shall be considered as, 36 months for surgical items and 24 months for pharma. / laboratory items.

Standards & Quality

- Standards; In addition to Pharmacopoeial Standards that are indicated in the item specifications, other Pharmacopoeial Standards that are registered at National Medicines Regulatory Authority in Sri Lanka are also acceptable when no bidders have quoted for the standard specified in the item specification.

- Any product deficient of its sub components/ accessories, not at the specified quality standards or all its components not unitized appropriately in packaging (as a set), shall be rejected4.

- Withdrawal from use of items due to quality failure found as manufacturer’s fault:

(a). In case of batch withdrawal, value of entire batch quantity supplied shall be recovered8 from the supplier.

(b).In case of product withdrawal, value of entire product quantity supplied shall be recovered8 from the supplier.

(c). In the event of either a) or b) above, supplier shall be surcharged8 the total cost involved for MSD, of the quality failed supplies with 25% administrative surcharge of the same.

- The storage conditions and the packing requirements of the product shall conform to the information given by the manufacturer and accepted by NMRA for the product registration or shall conform to the information submitted for waiver of registration granted by NMRA in exceptional circumstances.(refer clause No.24)

If the offered product, deviate from NMRA registered product features, supplier must provide with the bid, a declaration to certify the NMRA accepted product details such as; storage conditions, pack details/contents/sizes and standard batch quantity/size of the product.

- Immediately after delivery at MSD, the consignments shall be subjected to testing  appropriately drawn, one random batch sample (Post-delivery sample) of the consignment at a government/semi-government/accredited laboratory11.(to be selectively applied for Surgical & Lab items, depending on availability of testing methodology & facilities) If the sample is found to be substandard, random batch samples will be tested from all the batches/lots in the consignment, and entire expenses on such tests, like value of samples, transport, sampling & testing charges, etc, will be recovered from the supplier.

- Consignments supplied to MSD violating the storage conditions indicated on product labels and/or product information leaflet (as accepted for product registration at NMRA), shall be considered as quality affected consignments and quality assurance of such consignments shall be carried out by post-delivery testing at government / semi government laboratory in Sri Lanka or at an accredited laboratory (foreign/local). All the expenses on such an event, including storage cost shall be borne by the supplier. If found to be quality affected the consignment will be treated as quality failed (as clause No.11).

Pack size, Labeling & Packaging

- Offers for pack sizes at a lower level(smaller quantity per pack) than the pack size specified in the item description/specification and MSD order List, are also acceptable, but higher level (larger quantity per  pack) pack sizes will not be entertained unless otherwise offered with the original bid and accepted by the procurement committee, with the concurrence of MSD.

- In respect of bulk packs (not applicable for blister/strip packs), “DHS” mark shall be ;

(a). embossed or printed in case of tablets

(b). printed in case of capsules

Above condition can be waved off, if the quantity in the purchase order is less than 100,000 tablets/capsules, (any exemptions to this condition, is notified in the relevant MSD order list)

(only applicable for Pharmaceutical Products)

- Each; innermost pack, vial/ampoule, pre-filled syringe or bottle, shall bear the item Description,  SR

No, Batch No/Lot no., Reference/Catalogue no.(not for pharmaceuticals), Date of Manufacture, Date of Expiry and “STATE LOGO” of Government of Sri Lanka.

It is essential to include and exactly match the dates of Expiry & date of Manufacture (in any form as “Year & Month” or “No Exp.”), in the innermost pack and supplier’s invoice.

- Description of the Item, SR No, Date of Manufacture, Date of Expiry, Batch No, Name and address of manufacturer and “STATE LOGO” of Sri Lanka Government shall be clearly marked on the outer covering of the individual/innermost pack containing the minimum unit of measure, including blister & strip cards and on the outer cover of the carton/box. Any deviations of the Date of Manufacture (DOM)/ Date of Expiry(DOE)declared in the offer shall be approved by MSD and DOM & DOE shall consist of at least the year & month.

- All outer most cartons (shipping packages) shall bear the MSD Purchase Order No, SPC Indent No., SR No, Batch No, and Date of Expiry in size 1.5cm letters / figures in prominently visible manner. This may be printed, stenciled or label properly affixed.

- Batch Number of the product shall be separately Barcoded (in Code 128 or 2D formats) and Barcode shall be printed on the labels at all levels of packing as described below, conforming to the industry standards in Barcode printing and pasting.

Format shall be according to Code 128 or 2D standards.

Maximum barcode size shall be 5.0cm (length) x 2.5cm (width).

- In case of receiving goods under inappropriate packaging conditions(not in good order), was to be sorted out by MSD to select the items in good order by 100% checking/handling of the consignment, all expenses incurred to MSD in such an event (including demurrage charges, cold stores charges, labor charges etc. or any other charges incurred until goods are ready for acceptance), have to be paid to MSD by the local supplier, before attending to checking the consignment 100%, by MSD.

In respect of SPC imported supplies, if the local agent does not follow suit as above, such extra expenses incurred to MSD shall be recovered from the supplier5  by SPC and refund to MSD.

Storage Conditions & Temperature

- If the storage temperature & conditions are not specified in the item specification, NMRA accepted product storage conditions, shall conform to Sri Lankan ambient storage conditions in the ranges of 300c +/- 20c temperature and 75% +/-5% relative humidity. The product storage conditions shall be clearly indicated at all levels of labels/packages/boxes.

- Maintenance of Cold Chain;

- In case of cold storage items, cold chain monitors (temperature recording devices) shall be included for each carton and the cold chain shall be maintained according to the manufacturer’s instructions during storage, transport and delivery.

- Supplier shall use suitable prominently visible identification marks of international standard, with appropriate colours and sizes for easy identification of cold cargo. Supplier shall use standardized USB Devices for temperature data logging inside the packages and shall provide free of charge, data logger readers &/ software (reading apps compatible with Windows-07/latest) to wharf department of SPC in advance, to enable examining the maintenance of cold chain in transit, and before taking over the consignment by MSD.

- If the cold chain break is observed at the time of taking over the consignments by MSD, such consignments shall be rejected, indicating the reason on the relevant WDN or copy of the delivery documents. In such an event, the SPC shall arrange necessary cold storage for the consignment until ‘observed cold chain break’ is investigated leading to acceptance / total rejection of consignment and the expenses bone by MSD / SPC in arranging the cold storage shall be recovered from the supplier.

- The vehicles transporting cold cargo to MSD shall be equipped with temperature monitoring devices and the vehicle shall have NMRA approval for transport of pharmaceuticals.

- The suppliers shall dispatch consignments of the items, which require cold chain maintenance, to arrive in Sri Lanka during Monday to Thursday to avoid additional demurrage & storage charges during weekends, during which MSD stores is closed. In case of non-compliance of this condition, any additional expenses incurred to MSD and SPC, to Custom clear/store/receive such consignments shall be recovered from the supplier.

- In respect of the products requiring controlled temperature storage (Eg. < 250c, 2-250c, 15-200c/300c, 2-80c etc.), supplier shall provide MSD with latest product stability study reports with the invoice of the consignment.(report shall include studies; at 300c +/- 20c & 75% +/- 5% RH for AC stored items and at 250c +/- 20c & 60% +/- 5% RH for Cold stored items. It shall be a true copy of the latest report submitted to NMRA or a report issued within last 05 years).    (refer clause No.12)

Delivery Requirements

- All items shall be supplied as per the latest/final delivery schedule, communicated to the supplier, as an amended Indent/PO delivery schedule (if not amended, original schedule in the Indent/PO will apply) mutually agreed between MSD& SPC, at the time of establishing the payment terms (L/C, DP, TT, etc). Any deviation from this agreed delivery schedule shall be treated as a defaulted delivery.

Contravening the above directions, if the delivery schedule is violated by the supplier for no fault of MSD/SPC/MOH and in the event MSD decides to accept any such consignment in full or part thereof, that is delivered after the due delivery date, Condition No. 27 on delayed deliveries, shall be applied.

- All consignments shall be delivered at Medical Supplies Division or an alternate receiving point as directed. However sending consignments to reach Sri Lanka from 15th December to 10th January shall be avoided, unless otherwise prior approval has been granted by MSD for such deliveries.

- Defaulted consignments with respect to delivery schedule shall only be considered for acceptance, subject to a penalty imposed for the delay due to suppliers fault, allowing a grace period up to two weeks. Consignments delivered after that grace period shall be considered for acceptance subject to a penalty  to the supplier as described below ;

(a).  A penalty of 0.5% per day of the consignment value, calculated commencing from the 15th day up to 60th day delay from the due delivery date, as per the indent/PO or its’ latest amended delivery schedules.

(b). When the delay exceeds 60days purchase order will be considered as automatically cancelled, on defaulted performance. In such a situation, MSD reserve the right to recover liquidated damages or to revoke the cancellation (eg. if payments have been released prior to such a cancellation), and accept the consignment subject to a 25% admin surcharge.

- (i). If any local purchases were to be made by MSD/SPC to ensure continuity of supply (due to noncompliance of Indent/PO/its’ amended; delivery schedule); in the ensuing period inclusive of the grace period for delivery from due delivery date, extra expenditure incurred on such local purchases, over the landed cost of relevant SPC main order, shall be recovered from the supplier.

(ii). If a delivery defaulted (violating delivery schedule in the indent/PO) SPC supplier/his local agent, who participate in an urgent local purchase tender of SPC or MSD for the same item, quoting the same product or any similar product, is bound to supply the local purchase order at the landed cost of the defaulted SPC main order. In violations of the same, the cost difference will be set off from the payments to the supplier of the corresponding SPC main order.

- In respect of local manufacturers/ local suppliers, all deliveries shall be made only on week days excluding public holidays, also allowing adequate time to enable the completion of the receiving process at MSD stores before 3.30 p.m.  In the event of failure to meet this deadline due to supplier’s fault (eg. In delivery; time, product, document, etc.) goods shall be accepted on the following working day, such date shall be counted for working out penalties as per No. 27 (regarding defaulted consignment) of the conditions of supply.

As an alternative, supplier can request MSD to take over the consignment on the same day, subject to settling all other expenses (i.e. staff OT, forklift charge, etc.) of MSD, by the supplier.

- The extension of L/C’s overstepping delivery schedules in the Indent/PO/its’ amendments, shall not in any way affect the recovery of late delivery charges, as per Condition No. 27 (regarding defaulted consignments) and any other direct or indirect additional costs/liquidated damages, relating/consequent to extension of L/C.

- When adequate storage space is not available at MSD, to accept a delivery defaulted consignment (deviating from the delivery schedule in the Indent/PO/its’ amendments) under the condition No. 27, any additional expenses caused to MSD or SPC in arranging temporary external storage and other expenses (eg. demurrage, detention, container storage, re-handling cum transport, etc.) shall be borne by the supplier.

Documents & Information

- MSD Order No, Item Description, SR No, Batch No., Date of Manufacture, Date of Expiry and product Storage Condition, shall be indicated in all Supply Invoices and detailed Packing Lists.

- One of the tender samples of the selected bid shall be forwarded to MSD, for using as a reference sample (can make it; a part of the last consignment or a returnable to supplier) for checking the conformity of the consignments received under the indent/PO.(applicable for all surgical items and regular category of laboratory items, when specified in respective order lists).

The images of the; specimen labels, minimum pack and outer most box/shipper carton, that satisfies the above mentioned labeling conditions, shall also be provided within 14 days of releasing the indent by SPC.

- The supplier shall submit all shipping documents to (Including Bills of Lading / Draft Air Way Bills etc.) SPC Imports department and MSD by e-mail(follow instructions in website www.msd.gov.lk ), at least 03 days before the Expected Time of Arrival (ETA) of sea freighted consignments & 02 days before the ETA of Air freighted consignments.

- After releasing the Indent/PO or establishing L/C, the latest logistical position of manufacturing & supply on the Indent/PO, shall be updated biweekly through e-mails to SPC with a copy to MSD6 by the supplier.( follow instructions in the website www.msd.gov.lk)

If it is not complied or the information so provided are found to be incomplete/false, the grace period (for supply delays) mentioned in the clause 27 will not be applicable.

Common conditions

36.	In addition to the general conditions of supply given herein, item/order-list specific amendments, exclusions or additions to the same, stated in the covering letter of the order list and any other relevant conditions as per the tender document issued by SPC, are also applicable. The order/item specific; new conditions or amendments to General Order Conditions, will be included in the order list itself and as a remark entry in the MSMIS order records.

- Administrative surcharge of 25%(on the value of goods), will be applied for tender condition violations that cause deficiencies in supply with respect to; quality, standards & specifications, short packing & short supply or delayed delivery as per the cabinet decision. (eg. As  in conditions No. 08,05,10,13)

- The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

- To be supplied as per the delivery schedule indicated in the order list.

- In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

41.  Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

42. In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality  failure found in your previous supplies made to SPC or non compliance of  contractual agreement

43. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and  therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of Tender or shall register himself and such public contract act in accordance with the section 10 of the Public Contract Act and produce such valid  original certificate of Registration with the tender.

44. Destination Terminal Handling charges (THC) should be borne by the supplier at the Port  of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

45.  Offer validity should be  30/10/2019.

46.  When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 85% or more out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

47. If you are not interested in participating, please acknowledge the receipt of this invitation with the

reason for not quoting.

48.  BIDS FROM THOSE OTHER THAN MANUFACTURERS

Bids for supply of goods which are not manufactured by the Bidder should be supported by a Certificate of Authority issued by the Manufacturer indicating that the Bidder has been duly authorized to supply the goods tendered for.  Failure to comply may result in the offer being rejected.

Abbreviations :NMRA ; National Medicines Regulatory Authority/Sri Lanka, SPC ; State Pharmaceuticals Corporation, MSD; Medical Supplies Division/Ministry of Health-Sri Lanka.

Special Conditions for Surgical Consumables item

- The product should have minimum of 36 months shelf life at the time of delivery to Medical Supplies Division.  Requested shelf life for Surgical Consumable is 36 months unless specified in the special order conditions/specifications/order list remarks.

- General condition 7 and 16 are not applicable or Surgical Consumable Items.

- Art works and diagrams with dimensions for relevant products with catalog numbers should be provided.

- Usage instruction pamphlet/user manuals in print/pdf/video format should be provided. (Such instructions should carry details on maintenance, compatibility and storage)

- Further to the condition 33, Tender Sample of the selected bid shall be forwarded to MSD to use as reference sample to check the consignment supplied on the indent/PO.

All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of the total Tendered Price exceeds LKR 1 million. Bid Bond should be submitted with valid up to 29/11/2019 together with the tender.

Sufficient  quantity of samples should be forwarded for evaluation.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable

normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different

components are sourced from different suppliers.

(Annexure I)

DHS/RSS/RQ/58/19

2019/SPC/A/C/S/00439		CLOSING ON:  03RD MAY, 2019 AT   2.00 pm

| ITEM/ SR NO | ITEM | QTY | DELIVERY |
| --- | --- | --- | --- |
| 01/10300104 | Non absorbable Synthetic Monofilament Surgical Suture Polypropylene BP/USP Standard or Equivalent Standard, 10/0, 13cm (approx.) length, attached to a 3.8mm, taper point, 3/8 curature eyeless needle, sterile. (for plastic surgery) | 1,200 Nos | 600 Nos - Immediately 600 Nos – 02 months after 1st lot |
| 05/10300701 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 4/0, blue, 90cm length attached to a 12mm (approx.) cutting eyeless needle and sterile. Each sterile suture packed individually in peel open foil and peel/tear open over wrap and labelled accordingly. | 3,800 Nos | 2,000 Nos - Immediately 1,800 Nos – 02 months after 1st lot |
| 07/10300808 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 3/0, approx.45cm length attached to a 26mm (approx.) curved cutting eyeless prime needle and sterile. Each sterile suture packed individually in peel open foil and peel/tear open over wrap and labelled accordingly. such over wraps packed in a suitable box. | 9,000 Nos | 5,000 Nos - Immediately 4,000 Nos – 02 months after 1st lot |

Packing : 1 Nos

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

Shipment should be made exclusively on vessels belonging to the Ceylon Shipping Corporation or those chartered by CSC. However, shipment on other vessels will be permitted, in instances where vessels of the Ceylon Shipping Corporation do not call at the Port of Shipment or if they are not available for timely shipment of Cargo, in which event the supplier should attach a waiver certificate issued by Ceylon Shipping Corporation on their Authorized Agent in the supplier’s county.

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

Offers should be submitted in the format as per annexure.

- .The consignments supplied in respect of an order concerned, shall exactly match with the reference sample submitted and the product information (item descriptions, shelf life/warranty where applicable, manufacturer’s name, country of manufacture, country of origin, etc.) provided in the bid document by the supplier, which has been accepted by the procurement committee, and included in the Indent / Purchase Order (PO), issued by SPC.

- All items shall be supplied, sourcing from the manufacturer and country of manufacturer, stated in the Purchase Order (PO)/Indent of SPC and wherever applicable shall have a valid product registration or waiver of registration from NMRA.

- Maintaining the validity of the product registration during the period of supply(delivery schedule), obtaining waiver of registration &/ import license / manufacture licensing at NMRA, is a pre-requisite for the supply of surgical, pharmaceutical and relevant laboratory items. Hence all suppliers shall produce relevant valid registration certificates/licenses, when requested by MSD/SPC.

When the validity of the product/manufacturing licenses and registrations of NMRA (eg; manufacturing license, product registration and GMP certificates), of local manufacturers / local suppliers, lapses during the year or during the period of supply (delivery schedule), it shall be extended / renewed by the supplier. A certified copies of afore mentioned valid certificates shall be submitted to MSD by the supplier when deliveries are made.

- The number of batches per consignment shall be minimal. Batch quantity shall be an equal multiple of the quantity of the consignment and the proportionate size of the batch quantity shall be not less than 15% of the quantity in the consignment.

- If MSD decides to accept a part or full consignment, with deviations from certain tender conditions (eg: with regard to labeling/packaging etc.) due to an urgency, that shall be done subject to, either rectifying the defect within 05 working days by the supplier, or recovering the total cost [a] of rectifying the defect by MSD (via a duly contracted third party providing such services), from the supplier with a 25% surcharge on the labeling cost. (total charge = [a]+[a]x0.25) or  2% of the invoiced value, whichever is the highest.

All possible tender deviations such as Packing, labeling, delivery schedule, storage status, payment mode & conditions, etc., shall be communicated and agreed upon before accepting the tender award by the supplier. Noncompliance of same shall be considered as tender violations, to apply penalty (as clause No. 37).

- The specifications of the product offered in the bid, by the supplier shall match with the tender specifications for the item and any form of alternate offers will not be entertained.

Shelf life & Warrantees

- In the supply of all Non consumables; Manufacturer or supplier or local agent shall provide a minimum of 02 year warranty period or as specified in the specification, for each such item or it’s sub components supplied (through the local agent), unless otherwise agreed upon with MSD, prior to awarding the tender. Foreign suppliers of all such items shall have their own local agent in Sri Lanka, capable of providing technical support, repairs & spares, when necessary. (only applicable for Non Consumable Items)

- Freshly manufactured stocks of the product shall be supplied; thereby the residual Shelf Life (shelf life remaining at the time of delivery of goods in Sri Lanka/MSD stores in case of local supplies) of the product, shall be 85% of the shelf life requested(specified in order/Indent/PO).

In respect of the items with requested shelf life equal or more than 24 months, any deficit between the residual shelf life and requested shelf life, shall not be more than 04 months.

In the violation of the above tender condition, SPC/MSD reserves the right to accept a reduced quantity, that is usable (as per the consumption rate) up to three months before the expiry of same and will subject to application of a penalty (as clause No. 37 ).

When the shelf life is not specified in the indent/PO/item spec; the requested shelf life shall be considered as, 36 months for surgical items and 24 months for pharma. / laboratory items.

Standards & Quality

- Standards; In addition to Pharmacopoeial Standards that are indicated in the item specifications, other Pharmacopoeial Standards that are registered at National Medicines Regulatory Authority in Sri Lanka are also acceptable when no bidders have quoted for the standard specified in the item specification.

- Any product deficient of its sub components/ accessories, not at the specified quality standards or all its components not unitized appropriately in packaging (as a set), shall be rejected4.

- Withdrawal from use of items due to quality failure found as manufacturer’s fault:

(a). In case of batch withdrawal, value of entire batch quantity supplied shall be recovered8 from the supplier.

(b).In case of product withdrawal, value of entire product quantity supplied shall be recovered8 from the supplier.

(c). In the event of either a) or b) above, supplier shall be surcharged8 the total cost involved for MSD, of the quality failed supplies with 25% administrative surcharge of the same.

- The storage conditions and the packing requirements of the product shall conform to the information given by the manufacturer and accepted by NMRA for the product registration or shall conform to the information submitted for waiver of registration granted by NMRA in exceptional circumstances.(refer clause No.24)

If the offered product, deviate from NMRA registered product features, supplier must provide with the bid, a declaration to certify the NMRA accepted product details such as; storage conditions, pack details/contents/sizes and standard batch quantity/size of the product.

- Immediately after delivery at MSD, the consignments shall be subjected to testing  appropriately drawn, one random batch sample (Post-delivery sample) of the consignment at a government/semi-government/accredited laboratory11.(to be selectively applied for Surgical & Lab items, depending on availability of testing methodology & facilities) If the sample is found to be substandard, random batch samples will be tested from all the batches/lots in the consignment, and entire expenses on such tests, like value of samples, transport, sampling & testing charges, etc, will be recovered from the supplier.

- Consignments supplied to MSD violating the storage conditions indicated on product labels and/or product information leaflet (as accepted for product registration at NMRA), shall be considered as quality affected consignments and quality assurance of such consignments shall be carried out by post-delivery testing at government / semi government laboratory in Sri Lanka or at an accredited laboratory (foreign/local). All the expenses on such an event, including storage cost shall be borne by the supplier. If found to be quality affected the consignment will be treated as quality failed (as clause No.11).

Pack size, Labeling & Packaging

- Offers for pack sizes at a lower level(smaller quantity per pack) than the pack size specified in the item description/specification and MSD order List, are also acceptable, but higher level (larger quantity per  pack) pack sizes will not be entertained unless otherwise offered with the original bid and accepted by the procurement committee, with the concurrence of MSD.

- In respect of bulk packs (not applicable for blister/strip packs), “DHS” mark shall be ;

(a). embossed or printed in case of tablets

(b). printed in case of capsules

Above condition can be waved off, if the quantity in the purchase order is less than 100,000 tablets/capsules, (any exemptions to this condition, is notified in the relevant MSD order list)

(only applicable for Pharmaceutical Products)

- Each; innermost pack, vial/ampoule, pre-filled syringe or bottle, shall bear the item Description,  SR

No, Batch No/Lot no., Reference/Catalogue no.(not for pharmaceuticals), Date of Manufacture, Date of Expiry and “STATE LOGO” of Government of Sri Lanka.

It is essential to include and exactly match the dates of Expiry & date of Manufacture (in any form as “Year & Month” or “No Exp.”), in the innermost pack and supplier’s invoice.

- Description of the Item, SR No, Date of Manufacture, Date of Expiry, Batch No, Name and address of manufacturer and “STATE LOGO” of Sri Lanka Government shall be clearly marked on the outer covering of the individual/innermost pack containing the minimum unit of measure, including blister & strip cards and on the outer cover of the carton/box. Any deviations of the Date of Manufacture (DOM)/ Date of Expiry(DOE)declared in the offer shall be approved by MSD and DOM & DOE shall consist of at least the year & month.

- All outer most cartons (shipping packages) shall bear the MSD Purchase Order No, SPC Indent No., SR No, Batch No, and Date of Expiry in size 1.5cm letters / figures in prominently visible manner. This may be printed, stenciled or label properly affixed.

- Batch Number of the product shall be separately Barcoded (in Code 128 or 2D formats) and Barcode shall be printed on the labels at all levels of packing as described below, conforming to the industry standards in Barcode printing and pasting.

Format shall be according to Code 128 or 2D standards.

Maximum barcode size shall be 5.0cm (length) x 2.5cm (width).

- In case of receiving goods under inappropriate packaging conditions(not in good order), was to be sorted out by MSD to select the items in good order by 100% checking/handling of the consignment, all expenses incurred to MSD in such an event (including demurrage charges, cold stores charges, labor charges etc. or any other charges incurred until goods are ready for acceptance), have to be paid to MSD by the local supplier, before attending to checking the consignment 100%, by MSD.

In respect of SPC imported supplies, if the local agent does not follow suit as above, such extra expenses incurred to MSD shall be recovered from the supplier5  by SPC and refund to MSD.

Storage Conditions & Temperature

- If the storage temperature & conditions are not specified in the item specification, NMRA accepted product storage conditions, shall conform to Sri Lankan ambient storage conditions in the ranges of 300c +/- 20c temperature and 75% +/-5% relative humidity. The product storage conditions shall be clearly indicated at all levels of labels/packages/boxes.

- Maintenance of Cold Chain;

- In case of cold storage items, cold chain monitors (temperature recording devices) shall be included for each carton and the cold chain shall be maintained according to the manufacturer’s instructions during storage, transport and delivery.

- Supplier shall use suitable prominently visible identification marks of international standard, with appropriate colours and sizes for easy identification of cold cargo. Supplier shall use standardized USB Devices for temperature data logging inside the packages and shall provide free of charge, data logger readers &/ software (reading apps compatible with Windows-07/latest) to wharf department of SPC in advance, to enable examining the maintenance of cold chain in transit, and before taking over the consignment by MSD.

- If the cold chain break is observed at the time of taking over the consignments by MSD, such consignments shall be rejected, indicating the reason on the relevant WDN or copy of the delivery documents. In such an event, the SPC shall arrange necessary cold storage for the consignment until ‘observed cold chain break’ is investigated leading to acceptance / total rejection of consignment and the expenses bone by MSD / SPC in arranging the cold storage shall be recovered from the supplier.

- The vehicles transporting cold cargo to MSD shall be equipped with temperature monitoring devices and the vehicle shall have NMRA approval for transport of pharmaceuticals.

- The suppliers shall dispatch consignments of the items, which require cold chain maintenance, to arrive in Sri Lanka during Monday to Thursday to avoid additional demurrage & storage charges during weekends, during which MSD stores is closed. In case of non-compliance of this condition, any additional expenses incurred to MSD and SPC, to Custom clear/store/receive such consignments shall be recovered from the supplier.

- In respect of the products requiring controlled temperature storage (Eg. < 250c, 2-250c, 15-200c/300c, 2-80c etc.), supplier shall provide MSD with latest product stability study reports with the invoice of the consignment.(report shall include studies; at 300c +/- 20c & 75% +/- 5% RH for AC stored items and at 250c +/- 20c & 60% +/- 5% RH for Cold stored items. It shall be a true copy of the latest report submitted to NMRA or a report issued within last 05 years).    (refer clause No.12)

Delivery Requirements

- All items shall be supplied as per the latest/final delivery schedule, communicated to the supplier, as an amended Indent/PO delivery schedule (if not amended, original schedule in the Indent/PO will apply) mutually agreed between MSD& SPC, at the time of establishing the payment terms (L/C, DP, TT, etc). Any deviation from this agreed delivery schedule shall be treated as a defaulted delivery.

Contravening the above directions, if the delivery schedule is violated by the supplier for no fault of MSD/SPC/MOH and in the event MSD decides to accept any such consignment in full or part thereof, that is delivered after the due delivery date, Condition No. 27 on delayed deliveries, shall be applied.

- All consignments shall be delivered at Medical Supplies Division or an alternate receiving point as directed. However sending consignments to reach Sri Lanka from 15th December to 10th January shall be avoided, unless otherwise prior approval has been granted by MSD for such deliveries.

- Defaulted consignments with respect to delivery schedule shall only be considered for acceptance, subject to a penalty imposed for the delay due to suppliers fault, allowing a grace period up to two weeks. Consignments delivered after that grace period shall be considered for acceptance subject to a penalty  to the supplier as described below ;

(a).  A penalty of 0.5% per day of the consignment value, calculated commencing from the 15th day up to 60th day delay from the due delivery date, as per the indent/PO or its’ latest amended delivery schedules.

(b). When the delay exceeds 60days purchase order will be considered as automatically cancelled, on defaulted performance. In such a situation, MSD reserve the right to recover liquidated damages or to revoke the cancellation (eg. if payments have been released prior to such a cancellation), and accept the consignment subject to a 25% admin surcharge.

- (i). If any local purchases were to be made by MSD/SPC to ensure continuity of supply (due to noncompliance of Indent/PO/its’ amended; delivery schedule); in the ensuing period inclusive of the grace period for delivery from due delivery date, extra expenditure incurred on such local purchases, over the landed cost of relevant SPC main order, shall be recovered from the supplier.

(ii). If a delivery defaulted (violating delivery schedule in the indent/PO) SPC supplier/his local agent, who participate in an urgent local purchase tender of SPC or MSD for the same item, quoting the same product or any similar product, is bound to supply the local purchase order at the landed cost of the defaulted SPC main order. In violations of the same, the cost difference will be set off from the payments to the supplier of the corresponding SPC main order.

- In respect of local manufacturers/ local suppliers, all deliveries shall be made only on week days excluding public holidays, also allowing adequate time to enable the completion of the receiving process at MSD stores before 3.30 p.m.  In the event of failure to meet this deadline due to supplier’s fault (eg. In delivery; time, product, document, etc.) goods shall be accepted on the following working day, such date shall be counted for working out penalties as per No. 27 (regarding defaulted consignment) of the conditions of supply.

As an alternative, supplier can request MSD to take over the consignment on the same day, subject to settling all other expenses (i.e. staff OT, forklift charge, etc.) of MSD, by the supplier.

- The extension of L/C’s overstepping delivery schedules in the Indent/PO/its’ amendments, shall not in any way affect the recovery of late delivery charges, as per Condition No. 27 (regarding defaulted consignments) and any other direct or indirect additional costs/liquidated damages, relating/consequent to extension of L/C.

- When adequate storage space is not available at MSD, to accept a delivery defaulted consignment (deviating from the delivery schedule in the Indent/PO/its’ amendments) under the condition No. 27, any additional expenses caused to MSD or SPC in arranging temporary external storage and other expenses (eg. demurrage, detention, container storage, re-handling cum transport, etc.) shall be borne by the supplier.

Documents & Information

- MSD Order No, Item Description, SR No, Batch No., Date of Manufacture, Date of Expiry and product Storage Condition, shall be indicated in all Supply Invoices and detailed Packing Lists.

- One of the tender samples of the selected bid shall be forwarded to MSD, for using as a reference sample (can make it; a part of the last consignment or a returnable to supplier) for checking the conformity of the consignments received under the indent/PO.(applicable for all surgical items and regular category of laboratory items, when specified in respective order lists).

The images of the; specimen labels, minimum pack and outer most box/shipper carton, that satisfies the above mentioned labeling conditions, shall also be provided within 14 days of releasing the indent by SPC.

- The supplier shall submit all shipping documents to (Including Bills of Lading / Draft Air Way Bills etc.) SPC Imports department and MSD by e-mail(follow instructions in website www.msd.gov.lk ), at least 03 days before the Expected Time of Arrival (ETA) of sea freighted consignments & 02 days before the ETA of Air freighted consignments.

- After releasing the Indent/PO or establishing L/C, the latest logistical position of manufacturing & supply on the Indent/PO, shall be updated biweekly through e-mails to SPC with a copy to MSD6 by the supplier.( follow instructions in the website www.msd.gov.lk)

If it is not complied or the information so provided are found to be incomplete/false, the grace period (for supply delays) mentioned in the clause 27 will not be applicable.

Common conditions

36.	In addition to the general conditions of supply given herein, item/order-list specific amendments, exclusions or additions to the same, stated in the covering letter of the order list and any other relevant conditions as per the tender document issued by SPC, are also applicable. The order/item specific; new conditions or amendments to General Order Conditions, will be included in the order list itself and as a remark entry in the MSMIS order records.

- Administrative surcharge of 25%(on the value of goods), will be applied for tender condition violations that cause deficiencies in supply with respect to; quality, standards & specifications, short packing & short supply or delayed delivery as per the cabinet decision. (eg. As  in conditions No. 08,05,10,13)

- The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

- To be supplied as per the delivery schedule indicated in the order list.

- In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

41.  Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

42. In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality  failure found in your previous supplies made to SPC or non compliance of  contractual agreement

43. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and  therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of Tender or shall register himself and such public contract act in accordance with the section 10 of the Public Contract Act and produce such valid  original certificate of Registration with the tender.

44. Destination Terminal Handling charges (THC) should be borne by the supplier at the Port  of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

45.  Offer validity should be 30/10/2019.

46.  When the time of arrival of goods to Sri Lanka, the residual shelf life should be remained 85% or more out of total product shelf life as per the regulation of Import & Export Controller of Sri Lanka.

47. If you are not interested in participating, please acknowledge the receipt of this invitation with the

reason for not quoting.

48.  BIDS FROM THOSE OTHER THAN MANUFACTURERS

Bids for supply of goods which are not manufactured by the Bidder should be supported by a Certificate of Authority issued by the Manufacturer indicating that the Bidder has been duly authorized to supply the goods tendered for.  Failure to comply may result in the offer being rejected.

Abbreviations : NMRA; National Medicines Regulatory Authority/Sri Lanka, SPC ; State Pharmaceuticals Corporation, MSD; Medical Supplies Division/Ministry of Health-Sri Lanka.

Special Conditions for Surgical Consumables item

- The product should have minimum of 36 months shelf life at the time of delivery to Medical Supplies Division.  Requested shelf life for Surgical Consumable is 36 months unless specified in the special order conditions/specifications/order list remarks.

- General condition 7 and 16 are not applicable or Surgical Consumable Items.

- Art works and diagrams with dimensions for relevant products with catalog numbers should be provided.

- Usage instruction pamphlet/user manuals in print/pdf/video format should be provided. (Such instructions should carry details on maintenance, compatibility and storage)

- Further to the condition 33, Tender Sample of the selected bid shall be forwarded to MSD to use as reference sample to check the consignment supplied on the indent/PO.

All tenderers should furnish an unconditional Bid Bond encashable on demand to the value of 2% of the total Tendered Price exceeds LKR 1 million. Bid Bond should be submitted with valid up to  29/11/2019 together with the tender.

Sufficient  quantity of samples should be forwarded for evaluation.

CONTRACT AND ARBITRATION

(A) CONTRACT

The successful supplier should agree to enter into a Contract/Agreement is applicable

normally for awards which are over LKR 500,000.00 (Five Hundred Thousand).

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different

components are sourced from different suppliers.