PROCUREMENT NOTICE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

The Chairman, Procurement Committee of the State Pharmaceuticals Corporation of Sri Lanka, Colombo 01 invites sealed quotations from registered and previous sources for following items and bids will be closed at the respective times on the dates given below and will be opened immediately thereafter.

(E. mail /Fax offers as well as FOB offers are not acceptable)

Sealed Bids may be sent by post under registered cover or may be personally deposited in the box available for this purpose at Internal Audit Department in the mezzanine floor of the State Pharmaceuticals Corporation at No. 75, Sir Baron Jayatillake Mawatha, Colombo 1, Sri Lanka.

Bidders or their authorised representatives will be permitted to be present at the time of opening of Bids.

PHARMACEUTICALS ITEMS

| Tender no | Closing date | Time | Item | Quantity |
| --- | --- | --- | --- | --- |
| DHS/RP/88/2016 | 17th DECEMBER 15 | 3.00pm | HEPATITIS B VACCINE BP OR HEPATITIS B VIRUS VACCINES INACTIVATED,USP | 20,000 VIALS |
| DHS/RP/89/2016 | 17th DECEMBER 15 | 3.00pm | OXYTETRACYCLINE 3% WITH HYDROCORTISONE ACETATE 1% EAR OINTMENT-15G | 2,300 TUBES |

SURGICAL SPECIAL ITEMS

| Tender No./Bid. Reference | Closing Date | Closing Time | Item |
| --- | --- | --- | --- |
| DHS/RSS/RQ/13/16 | 18.12.2015 | 9.00 am | Surgical Consumables |

Bids should be prepared as per particulars given in the Bidding Documents available at the Head Office of State Pharmaceuticals Corporation of Sri Lanka, No.75, Sir Baron Jayatillake Mawatha, Colombo 1.

Wherever necessary potential bidder/bidders should get registered in terms of the Public Contract Act No.3 of 1987 before collecting the Bid Documents and also should get the contract registered after the award.

CHAIRMAN -PROCUREMENT COMMITTEE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

75, SIR BARON JAYATILLAKE MAWATHA

COLOMBO 1

SRI LANKA.

FAX		:  00 94-11- 2344082

TELEPHONE	:  00 94-11- 2326227/94-11-2335008

E-MAIL		:  impmanager@spc.lk

DHS/RSS/RQ/13/16

2016/SPC/A/C/S/00114       	CLOSING ON:    18TH DECEMBER,  2015 AT      9.00 am

| ITEM SR No | Item Specification | Quantity |  |
| --- | --- | --- | --- |
| 42/13524000 | Guidewire, J tip, Amplatzer Super Stiff type or similar, stainless steel core, PTFE coated, size 0.89mm (0.038") diameter, 260cm - 300cm length, sterile. | 10 Nos |  |
| 43/13524001 | Guidewire, J tip, Amplatzer Super Stiff type or similar, stainless steel core, PTFE coated, size 0.97mm (0.038") diameter, 260cm - 300cm length, sterile. | 10 Nos |  |
| 44/13524200 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.46mm (0.018") diameter, 150cm - 190cm length, sterile. | 20 Nos |  |
| 45/13524201 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.46mm (0.018") diameter, 260cm - 300cm length, sterile. | 20 Nos |  |
| 46/13524300 | Guidewire, straight tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.46mm (0.018") diameter, 150cm - 190cm length, sterile. | 20 Nos |  |
| 47/13524301 | Guidewire, straight, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.46mm (0.018") diameter, 260cm - 300cm length, sterile. | 20 Nos |  |
| 48/13524400 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.53mm (0.021") diameter, 150cm - 190cm length, sterile. | 20 Nos |  |
| 49/13524401 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.53mm (0.021") diameter,260cm - 300cm length, sterile. | 10 Nos |  |
| 50/13524500 | Guidewire, straight tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.53mm (0.021") diameter, 150cm - 190cm length, sterile. | 20 Nos |  |
| 51/13524600 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.64mm (0.025") diameter, 150cm - 190cm length, sterile. | 20 Nos |  |
| 52/13524601 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.64mm (0.025") diameter, 260cm - 300cm length, sterile. | 10 Nos |  |
| 53/13524700 | Guidewire, straight tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.64mm (0.025") diameter, 150cm - 190cm length, sterile. | 10 Nos |  |
| 54/13524801 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.81mm (0.032") diameter, 260cm - 300cm length, sterile. | 10 Nos |  |
| 55/13525201 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.97mm (0.038") diameter, 260cm - 300cm length, sterile. | 20 Nos |  |
| 56/13525300 | Guidewire, straight tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.97mm (0.038") diameter, 150cm - 190cm length, sterile. | 20 Nos |  |
| 57/13525700 | Guidewire, straight, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.53mm (0.021") diameter, 260cm - 300cm length, sterile. | 20 Nos |  |
| 58/13526000 | Guidewire, straight, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.64mm (0.025") diameter, 260cm - 300cm length, sterile. | 20 Nos |  |
| 59/13526600 | Guidewire, straight, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.89mm (0.035") diameter, 260cm - 300cm length, sterile. | 30 Nos |  |
| 60/13527200 | Guidewire for Percutaneous Transluminal Coronary Angioplasty (PTCA), Floppy, J tip, stainless steel core, hydrophilic coated, size 0.36mm (0.014") diameter, 175cm - 190cm length, sterile. | 200 Nos |  |
| 61/13527202 | Guidewire for Percutaneous Transluminal Coronary Angioplasty (PTCA), Intermediate, J tip, stainless steel core, hydrophilic coated, size 0.36mm (0.014") diameter, 175cm - 190cm length, sterile. | 100 Nos |  |
| 62/13527300 | Guidewire for Percutaneous Transluminal Coronary Angioplasty (PTCA), Floppy, straight tip, stainless steel core, hydrophilic coated, size 0.36mm (0.014") diameter, 175cm - 190cm length, sterile. | 100 Nos |  |
| 63/13527700 | Guidewire for Percutaneous Transluminal Coronary Angioplasty (PTCA), special type, Fielder FC type or similar, hydrophilic coated, size 0.36mm (0.014") diameter, 175cm - 190cm length, sterile. | 25 Nos |  |
| 64/13527701 | Guidewire for Percutaneous Transluminal Coronary Angioplasty (PTCA), special type, Fielder XT type or similar, hydrophilic coated, size 0.36mm (0.014") diameter, 175cm - 190cm length, sterile. | 48 Nos |  |
| 66/13529903 | Tubing for Pressure Monitoring, clear, non expanding, medical grade PVC, 105cm - 150cm length, sterile. | 50 Nos |  |

Packing : 01 No

Delivery : 100%  - JANUARY/2016

Samples Catalogue/Literature should be submitted for evaluation

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2016/SPC/A/C/S/00114”,,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be   15/06/2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.