PROCUREMENT NOTICE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

The Chairman, Procurement Committee of the State Pharmaceuticals Corporation of Sri Lanka, Colombo 01 invites sealed quotations from registered and previous sources for following items and bids will be closed at the respective times on the dates given below and will be opened immediately thereafter.

(E. mail /Fax offers as well as FOB offers are not acceptable)

Sealed Bids may be sent by post under registered cover or may be personally deposited in the box available for this purpose at Internal Audit Department in the mezzanine floor of the State Pharmaceuticals Corporation at No. 75, Sir Baron Jayatillake Mawatha, Colombo 1, Sri Lanka.

Bidders or their authorised representatives will be permitted to be present at the time of opening of Bids.

SURGICAL SPECIAL ITEMS

| Tender No./ Bid. Reference | Closing Date | Closing Time | Item | Quantity |
| --- | --- | --- | --- | --- |
| DHS/RSS/RQ/46/16 | 01.07.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/47/16 | 08.07.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/48/16 | 08.07.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/49/16 | 04.07.2016 | 2.00 pm | Surgical Non-Consumables |  |
| DHS/RSS/RQ/50/16 | 04.07.2016 | 2.00 pm | Surgical Non-Consumables |  |
| DHS/RSS/RQ/51/16 | 04.07.2016 | 2.00 pm | Femoral Arterial Cannula, wire reinforced, size 12Fr, sterile. | 02 Nos |
| DHS/RSS/RQ/52/16 | 08.07.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/01/17 | 01.07.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/137/15 | 01.07.2016 | 2.00 pm | Surgical Consumables |  |
| DHS/RSS/RQ/141/15 | 04.07.2016 | 2.00 pm | Haemofilteration Solution 5 Litre Bag with Luer Lock Connection compatible with Infomed HF CRRT Machine. Composition of the solution is Na+ 140mmol/l, K+ 1.5mmol/l, Ca++ 2.00mmol/l, Mg++ 0.75mmol/l, Cl- 113mmol/l, HCO3- 30.0mmol/l, and CH3COO- 4.00mmol/l. | 500 Kits |

LAB ITEMS

| TENDER NO/BID REFERENCE | CLOSING DATE | CLOSING TIME | ITEM | QTY |
| --- | --- | --- | --- | --- |
| DHS/RL/130RS/15 | 27.06.2016 | 02.30 P.M. | 1/42600301 R.A. test complete | 500 kits |
| DHS/RL/131WAC/15 | 30.06.2016 | 02.30 P.M. | 1/40505501 Rosolic acid 0.1g | 01g |

SURGICAL ANNUAL ITEMS

| TENDER NO/BID REFERENCE | CLOSING DATE | CLOSING TIME | ITEM | QUANTITY |
| --- | --- | --- | --- | --- |
| DHS/RS/RQ/217/15 | 01.07.2016 | 2.00 P.M. | Endoscopic cleaning brush for colonoscope. | 180 Nos. |
| DHS/RS/RQ/218/15 | 01.07.2016 | 2.00 P.M. | 1. Cerebral Catheter.(Various Types) 2. Visceral Catheter.(Various Types) 3. Spinal Needle.(Various Types) | 20 Nos. 15 Nos. 1,620 Nos. |
| DHS/RS/RQ/219/15 | 01.07.2016 | 2.00 P.M. | Covered Stent, sterile. | 13 Nos. |
| DHS/RS/RQ/220/15 | 05.07.2016 | 2.00 P.M. | UGI Endoscopic Oesophageal Stent. | 150 Nos. |
| DHS/RS/RQ/53/16 | 28.06.2016 | 2.00 P.M. | Laryngoscope, Negus, with fiber optic light carrier.(Various Types) | 40 Nos. |
| DHS/RS/RQ/54/16 | 28.06.2016 | 2.00 P.M. | Hypordermic Syringes.(Various Types) | 5,281,000 Nos. |
| DHS/RS/RQ/55/16 | 05.07.2016 | 2.00 P.M. | 1. Burr Conial. 2. Rasp, Joseph, fine cut. | 45 Nos. 10 Nos. |

PHARMA ITEMS

| Tender no | Closing date | Time | Item | Quantity |
| --- | --- | --- | --- | --- |
| DHS/RP/02/2017 | 21ST JUNE 2016 | 3.00PM | ALLOPURINOL TABLETS BP 100MG | 1,900,000 TABS |
| DHS/RP/185/2016 | 23RD JUNE 2016 | 3.00PM | DICLOFENAC SODIUM SUPPOSITORY 12.5MG | 90,000 SUPP. |
| DHS/RP/186/2016 | 23RD JUNE 2016 | 3.00PM | ABACAVIR SULFATE 60MG + LAMIVUDINE 30MG TABLETS | 9030 TABLETS |

Bids should be prepared as per particulars given in the Bidding Documents available at the Head Office of State Pharmaceuticals Corporation of Sri Lanka, No.75, Sir Baron Jayatillake Mawatha, Colombo 1.

Wherever necessary potential bidder/bidders should get registered in terms of the Public Contract Act No.3 of 1987 before collecting the Bid Documents and also should get the contract registered after the award.

CHAIRMAN -PROCUREMENT COMMITTEE

STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

75, SIR BARON JAYATILLAKE MAWATHA

COLOMBO 1

SRI LANKA.

FAX		:  00 94-11- 2344082

TELEPHONE	:  00 94-11- 2326227/94-11-2335008

E-MAIL		:  impmanager@spc.lk

DHS/RSS/RQ/01 /17

2017/SPC/N/C/S/00158    	CLOSING ON:   01ST JULY, 2016  AT  2.00 pm

| ITEM SR No | Item Specification | Quantity | Bid Bond Value |
| --- | --- | --- | --- |
| 01/13529000 | Intra Venous Cannula without side port, Surflo type or similar, size 20G cannula, 32mmm (approx.) length, sterile. | 3,500 Nos | LKR 119,000.00 USD 816.47 Valid till 27.1.17 |
| 02/13529300 | Vascular Retrieval Forceps, flexible, Cook type or similar, size 3F, 120cm (approx.) length, sterile. | 15 Nos | - |
| 07/13529900 | Tubing for Pressure Monitoring, clear, non expanding, medical grade PVC, 25cm - 50cm length, sterile. | 20 Nos | - |
| 08/13529901 | Tubing for Pressure Monitoring, clear, non expanding, medical grade PVC, 55cm - 75cm length, sterile. | 170 Nos | - |
| 09/13529902 | Tubing for Pressure Monitoring, clear, non expanding, medical grade PVC, 80cm - 100cm length, sterile. | 1,670 Nos | LKR 23,380.00 USD 160.41 Valid till 27.1.17 |
| 10/13529903 | Tubing for Pressure Monitoring, clear, non expanding, medical grade PVC, 105cm - 150cm length, sterile.. | 350 Nos | - |

Packing : 01

Delivery : JANUARY 2017

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2017/SPC/N/C/S/00158,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be   28.12.2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/46 /16

2016/SPC/A/C/S/00106 	     CLOSING ON:   01ST JULY,  2016  AT    2.00 pm

| ITEM NO | SR NO | ITEM | QUANTITY Nos. |
| --- | --- | --- | --- |
| 07 | 13509001 | Angiographic Catheter, NIH type or similar, size 5F, 60cm - 80cm length, sterile. | 30 |
| 08 | 13509101 | Angiographic Catheter, Berman type or similar, size 5F, 60cm - 80cm length, sterile. | 10 |
| 22 | 13514100 | Wedge Pressure Balloon Catheter, with two lumen, size 4F, 100cm - 110cm length, sterile. | 05 |
| 23 | 13514101 | Wedge Pressure Balloon Catheter, with two lumen, size 5F, 100cm - 110cm length, sterile. | 05 |

Packing : 01

Delivery :  Immediately

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2016/SPC/A/C/S/00106,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be   28.12.2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/47/16

2016/SPC/N/C/S/00072                      	CLOSING ON:   08TH JULY, 2016  AT   2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 01/13400000 | Arterial Cannula, size 22G x 4cm length, sterile. | 20 Nos |
| 06/13400400 | Coronary Artery Ostial Cannula, One Piece type, with basket tip, size 10Fr x 15cm (approx.) length, sterile. | 10 Nos |
| 21/13404001 | Sump sucker Pericardial, for Paediatric, fluted tip, with 6.3mm connector, size 12Fr x 30cm length, sterile | 40 Nos |

Packing : 01

Delivery : Immediately

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2016/SPC/N/C/S/00072,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be    04.01. 2017.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/ 48/16

2016/SPC/A/C/S/00139  	     CLOSING ON:   08TH JULY, 2016  AT      2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 15/13524200 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.46mm (0.018") diameter, 150cm - 190cm length, sterile. | 10 Nos |
| 16/13524201 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.46mm (0.018") diameter, 260cm - 300cm length, sterile. | 10 Nos |
| 17/13524300 | Guidewire, straight tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.46mm (0.018") diameter, 150cm - 190cm length, sterile. | 05 Nos |
| 18/ 13524301 | Guidewire, straight, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.46mm (0.018") diameter, 260cm - 300cm length, sterile. | 05 Nos |
| 20/13524401 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.53mm (0.021") diameter,260cm - 300cm length, sterile. | 05 Nos |
| 21/13524500 | Guidewire, straight tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.53mm (0.021") diameter, 150cm - 190cm length, sterile. | 05 Nos |
| 22/13524600 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.64mm (0.025") diameter, 150cm - 190cm length, sterile. | 05 Nos |
| 23/13524601 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.64mm (0.025") diameter, 260cm - 300cm length, sterile. | 05 Nos |
| 24/13524900 | Guidewire, straight tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.81mm (0.032") diameter, 150cm - 190cm length, sterile. | 05 Nos |
| 25/13525200 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.97mm (0.038") diameter, 150cm - 190cm length, sterile. | 30 Nos |
| 26/13525201 | Guidewire, J tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.97mm (0.038") diameter, 260cm - 300cm length, sterile. | 15 Nos |
| 27/13525300 | Guidewire, straight tip, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.97mm (0.038") diameter, 150cm - 190cm length, sterile. | 05 Nos |
| 28/13525400 | Guidewire, angled tip, Nitinol core, hydrophilic coated, size 0.89mm (0.035") diameter, 260cm - 300cm length, sterile. | 15 Nos |
| 31/13526600 | Guidewire, straight, Nitinol core, hydrophilic coated, Terumo guidewire M type or similar, size 0.89mm (0.035") diameter, 260cm - 300cm length, sterile. | 20 Nos |

Packing : 01

Delivery :  Immediately

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2016/SPC/A/C/S/00139,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be 04.01.2017.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/49/16

2016/SPC/A/C/S/00164  	     CLOSING ON:   04TH JULY, 2016    AT   2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 15/21731000 | Suction Probe for Frontal Sinus Surgery, Wormald type or similar, malleable, 2mm - 2.5mm outer diameter, 110mm working length, stainless steel. | 10 Nos |
| 16/21731003 | Sinus Probe for Frontal Sinus Surgery, Wormald type or similar, malleable, double ended, 2mm - 2.5mm outer diameter, 110mm working length, stainless steel. | 13 Nos |

Packing : 01

Delivery  : 100% Immediately

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Stock

Reference No. (Lot No)., Name and address of Manufacturer, Date of Manufacture, Date of expiry,

(If No Expiry it should indicate on label) SR No., and ‘STATE LOGO” of Sri Lanka Government.

04.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following

details in English in clearly visible manner and to be delivered at Medical Supplies Division, No.

357, Rev. Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies

Division.

- Description of Item

- SR No., Date of Manufacture, Date of Expiry and Lot Number

(In size 5cm letters/figures in prominently visible manner)

- Name and Address of Manufacturer,

- MSD Order List No., SPC Indent No.

- “STATE MARK” of Sri Lanka Government

- Special Storage condition of the Item (if available)

05.The item should be suitably packed to be stored under normal room temperature and humidity

prevailing in SRI LANKA.

06.The lot quantities shall be identical and number of Lot numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall

be labeled as described under conditions No. 4 and bar code also to be labeled.

07.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Lot number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

08.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

09.MSD Order List No. “2016/SPC/A/C/S/00164,, SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be

indicated in all Supply Invoices and Packing Lists.

10.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels

of primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

11.In case the item is not delivered according to the given delivery schedule or non compliance of

labeling requirement, specially the barcode labeling, Director, Medical Supplies Division has the right

to reject the whole consignment or part of it delivered thereafter.

12.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing

to delaying/ defaulting the supply on this order, any excess expenditure incurred over and above

indented cost  of this order shall be debited to SPC, to be recovered from supplier.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical

Evaluation Committee and Procurement Committee to consider making cluster awards for such

items on an economical manner.

15. Representative samples in respect of items offered should be submitted to reach SPC on or before

the closing time on the closing date of tender and acknowledgement receipt to be obtained

from  Administration Department of SPC.

16.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

17.To be supplied as per the delivery schedule indicated in the order list.

18.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

19.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

20.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

21. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

22.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

23. Offer validity should be  31/12/2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/50/16

2016/SPC/A/C/S/00165                     	CLOSING ON:  04TH JULY, 2016  AT    2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 21/21732407 | Frontal Sinus Surgery Hook, malleable, ultra delicate, Kennedy type or similar, vertical, 150mm (approx.) length, stainless steel. | 03 Nos |
| 23/21732409 | Frontal Sinus Surgery Hook, malleable, ultra delicate, Kennedy type or similar, angled backwards, 150mm (approx.) length, stainless steel. | 04 Nos |
| 27/21732502 | Orbital Forceps, 45 degrees angled, for intranasal endoscopic orbital decompression, Levine type or similar, 145mm (approx.) length, stainless steel. | 04 Nos |

Delivery : 100% Immediately

Packing : 01

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Stock

Reference No. (Lot No)., Name and address of Manufacturer, Date of Manufacture, Date of expiry,

(If No Expiry it should indicate on label) SR No., and ‘STATE LOGO” of Sri Lanka Government.

04.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following

details in English in clearly visible manner and to be delivered at Medical Supplies Division, No.

357, Rev. Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies

Division.

- Description of Item

- SR No., Date of Manufacture, Date of Expiry and Lot Number

(In size 5cm letters/figures in prominently visible manner)

- Name and Address of Manufacturer,

- MSD Order List No., SPC Indent No.

- “STATE MARK” of Sri Lanka Government

- Special Storage condition of the Item (if available)

05.The item should be suitably packed to be stored under normal room temperature and humidity

prevailing in SRI LANKA.

06.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

7.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

8.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

9.  MSD Order List No. “2016/SPC/A/C/S/00165  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

10.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

11.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

12.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

13.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

14.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

15.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

16.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

17.To be supplied as per the delivery schedule indicated in the order list.

18.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

19.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

20.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

21. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

22.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

23. Offer validity should be  31.12.2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/52/16

2016/SPC/N/C/S/00090                      	CLOSING ON:  08TH JULY, 2016,  AT    2.00 pm

| ITEM SR No | Item Specification | Quantity | Delivery | Bid Bond Value |
| --- | --- | --- | --- | --- |
| 05/10300408 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 7/0, blue, 45cm length with each end attached to a 13mm (approx.) half circle round bodied (double arm) eyeless needle and sterile. Each sterile suture packed individually in peel open foil and peel/tear open over wrap and labeled accordingly. | 1,400 Nos | 1,000 Nos-Immediately 400 Nos- 05 months after 1st lot | LKR 80,557.96 USD 552.75 Valid up to 30.1.17 |
| 06/10300409 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 7/0, blue, 60cm length with each end attached to a 13mm (approx.) 3/8 circle round bodied (double arm) eyeless needle and sterile. Each suture packed individually in peel/tear open foil pack and labelled accordingly. | 2,100 Nos | 1,500 Nos-Immediately 600 Nos - 05 months after 1st lot | LKR 27,861.12 USD 191.17 Valid up to 30.1.17 |
| 07/10300503 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 6/0, blue, 60cm length with attached to a 8mm (approx.) 3/8 circle round bodied 220 microns eyeless needle and sterile. Each sterile suture packed individually in peel open foil and peel/tear open over wrap and labeled accordingly. | 700 Nos | 700 Nos- Immediately | - |
| 08/10300507 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 6/0, 90cm length with each end attached to a 10mm (approx.) half circle round bodied (double arm) eyeless needle and sterile. Each sterile suture packed individually in peel open foil and peel/tear open over wrap and labeled accordingly. | 400 Nos | 400 Nos- Immediately | - |
| 09/10300514 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 4/0, 90cm length with each end attached to a 8mm (approx.) half circle round bodied eyeless needle(double arm) and sterile. Each sterile suture packed individually in peel open foil and peel/tear open over wrap and labeled accordingly. | 300 Nos | 300 Nos- Immediately |  |
| 10/10300532 | Non absorbable Synthetic Monofilament Surgical Suture Polypropylene BP/USP Standard or Equivalent Standard, size 6/0, blue, 60cm -75cm length, each end attached to a 10mm 3/8 circle round bodied taper point eyeless needle, (double arm), with PTFE pledget size 3mm x 3mm x 1.5mm, sterile. | 850 Nos | 850 Nos- Immediately | - |
| 11/10300536 | Surgical Suture, Non-absorbable Braided Coated Polyester Suture BP/USP Standard or Equivalent Standrds, Gauge size 6/0, blue, 60cm length with each end attached to a 13mm (approx.) compound curved half circle squaire bodied (double arm) eyeless needle and sterile. Each sterile suture packed individually in a peel/tear open foil pack and labelled accordingly. | 320 Nos | 320 Nos- Immediately | - |
| 12/10300605 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 5/0, 75cm length attached to a 17mm (approx.) half circle round bodied eyeless needle and sterile. Each sterile suture packed individually in peel open foil and peel/tear open over wrap and labelled accordingly. | 1,200 Nos | 800 Nos- Immediately 400 Nos- 05 months after 1st lot | - |
| 13/10300640 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 5/0, .45cm length attached to a 15mm (approx.) curved cutting slim bodied eyeless needle and sterile. Each sterile suture packed individually in peel open foil and peel/tear open over wrap and labelled accordingly. | 1,200 Nos | 800 Nos- Immediately 400 Nos- 05 months after 1st lot | - |
| 14/10300701 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 4/0, blue, 90cm length attached to a 12mm (approx.) cutting eyeless needle and sterile. Each sterile suture packed individually in peel open foil and peel/tear open over wrap and labelled accordingly. | 3,000 Nos | 2,000 Nos-Immediately 1,000 Nos- 05 months after 1st lot | - |
| 15/10300703 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 4/0, 60cm length with each end attached to a 13mm (approx.) half circle round bodied taper point eyeless needle (double arm) and sterile. Each sterile suture packed individually in peel open foil and peel/tear open over wrap and labeled accordingly. | 1,500 Nos | 1,000 Nos-Immediately 500 Nos- 05 months after 1st lot |  |
| 19/10300716 | Surgical Suture, Non absorbable Monofilament Polypropylene Suture BP/USP Standard or Equivalent Standards, Gauge size 4/0, blue, 60cm length with each end attached to a 20mm (approx.) compound curved half circle (double arm) eyeless needle and sterile. Each suture packed individually in peel/tear open foil pack and labelled accordingly. | 900 Nos | 900 Nos- Immediately |  |

Packing : 01

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2016/SPC/N/C/S/00090,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be   31.12.2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.

DHS/RSS/RQ/ 137/15

2015/SPC/N/C/S/0173                      	CLOSING ON:   01ST  JULY, 2016  AT    2.00 pm

| ITEM SR No | Item Specification | Quantity |
| --- | --- | --- |
| 10/13508500 | Angiographic Catheter, hydrophyllic coated tip, size 4F, Yashiro type curve, 100cm - 110cm length, sterile. | 10 Nos |
| 11/13508501 | Angiographic Catheter, hydrophyllic coated tip, size 5F, Yashiro type curve, 100cm - 110cm length, sterile. | 10 Nos |
| 14/13509100 | Angiographic Catheter, Berman type or similar, size 4F, 60cm - 80cm length, sterile. | 10 Nos |
| 15/13509101 | Angiographic Catheter, Berman type or similar, size 5F, 60cm - 80cm length, sterile. | 20 Nos |
| 52/13515200 | Delivery System for Detachable Embolization Coils, for Cook Flipper type coils, size 2.6F, 110cm (approx.) length, sterile. | 24 Nos |

Packing : 01

Delivery : Immediately

Samples Catalogue/Literature should be submitted for evaluation

NB :

If offers are received on Import & Supply basis from local suppliers, those offers should be in LKR.  All local suppliers/manufacturers should quote in LKR for the total delivery price to MSD stores.

General Conditions :

01. Offers should be submitted in the format as per annexure

02. To be supplied from freshly manufactured stock.

03. The products should have a minimum of 36 months shelf life at the time of delivery at Medical

Supplies Division.

04.Each individual item to bear Description of Item, Batch No., Order List No., Indent No., Name  and

address of Manufacturer, Date of Manufacture, Date of expiry, SR No., and ‘STATE LOGO” of Sri Lanka

Government.

05.All inner and outer boxes/cartons of surgical consumables should be labeled indicating following details

in English in clearly visible manner and to be delivered at Medical Supplies Division, No. 357, Rev.

Baddegama Wimalawansa Thero Mawatha, Colombo 10/ as directed by Medical Supplies Division.

- Description of Item

- SR No.,

- Date of Manufacture,

- Date of Expiry and Batch Number –in size 5cm letters/figures in

prominently visible manner

- Name and Address of Manufacturer,

- MSD Order List No.,

- SPC Indent No.

- “STATE LOGO” of Sri Lanka Government

- Special Storage condition of the Item (if available)

06.The item should be suitably packed to be stored under normal room temperature and  humidity

prevailing in SRI LANKA.

07.The batch quantities shall be identical and number of Batch Numbers shall be minimal.  Each batch

quantity should be individually shrunk wrapped and palletized.  The shrunk wrapped pallet shall be

labeled with SR No, Batch No, Date if expiry as described under conditions No. 04 and bar code also to

be  labeled.

08.Barcode (code 128) for Batch Numbers shall be printed on the labels of innermost to outermost

packing’s as described below;

- Batch number should be separately bar-coded.

- Format should be according to CODE 128 standard.

- Maximum barcode size should be 2.5cm x 5.0cm

- Industry standard in barcode printing and pasting should be followed.

09.Offers for any other economically viable pack sizes different from the specified pack sizes are

acceptable with the prior approval of Director, Medical Supplies Division.

10.MSD Order List No. “2015/SPC/N/C/S/0173,  SR No., Description of Item, storage conditions of the

item, Batch No., Date of Manufacturer, Date of Expiry of Item and SPC Indent no. should be indicated

in all Supply Invoices and Packing Lists.

11.Any deviation of the labeling requirement requested by Director, Medical Supplies Division the labels of

primary pack of the consignment shall be brought to the particular attention of Director, Medical

Supplies Division of the prior approval.

12.In case the item is not delivered according to the given delivery schedule or non compliance of labeling

requirement, specially the barcode labeling, Director, Medical Supplies Division has the right to reject

the whole consignment or part of it delivered thereafter.

13.Withdrawal from use of items due to quality failures:

- In case of batch withdrawal due to quality failure, the supplier/manufacturer shall either replace entire batch quantity with a good quality product, free of charge or reimburse the value of entire batch quantity supplied.

- In case of product withdrawal due to quality failure, the supplier/ manufacturer shall reimburse the value of entire product quantity supplied.

- In the event of either a) or b) above the supplier/ manufacturer shall be surcharged additional 25% of the total value concerned as administrative cost.

14.If any purchases have to be made by Medical Supplies Division to ensure continuity of supply, owing to

delaying/ defaulting the supply on this order, any excess expenditure incurred over and above indented

cost  of this order shall be debited to SPC, to be recovered from supplier.

15.Cluster Awards: -Different strengths of same drug or chemical/ different sizes or shapes of same

medical device should be processed simultaneously in order to facilitate relevant Technical Evaluation

Committee and Procurement Committee to consider making cluster awards for such items on an

economical manner.

16.Representative samples in respect of items offered should be submitted to reach SPC on or before the

closing time on the closing date of tender and acknowledgement receipt to be obtained from

Administration Department of SPC.

17.The successful supplier should agree to dispatch by fax/courier a full set of copy document to SPC at

least 3 days prior to arrival of consignment in Sri Lanka to prevent any delay in clearance.

Demurrage /additional charges if any which become payable due to supplier’s failure to comply with

this requirement will be claimed from the supplier.

18.To be supplied as per the delivery schedule indicated in the order list.

19.In addition to the condition given herein any other relevant conditions as per the tender document

issued by SPC are also applicable.

20.Where a purchase for a particular item is being made for the first time from a supplier or where there

are previous quality failures on goods supplied by a particular supplier payments will only be made

upon testing the quality and standards of the goods and comparing the bulk supply with the samples

provided along with the offer.

21.In the event of an award made to you on this tender, SPC reserve the right to cancel/suspend the

procuring of said order in any stage, if you would be placed the defaulted supplier’s list due to quality

failure found in your previous supplies made to SPC or non compliance of  contractual agreement

22. This tender is administered by the provisions of the “Public Contract Act No. 3 of 1987” and

therefore, in the event bidder is to retain an agent, representative, nominee for and on behalf of

Tender or shall register himself and such public contract act in accordance with the section 10 of

the Public Contract Act and produce such valid  original certificate of Registration with the

tender.

23.Destination Terminal Handling charges (THC) should be borne by the supplier at the Port

of  Loading.   Hence when the C&F prices are quoted this should be inclusive of THC.

24. Offer validity should be   28.12.2016.

(NEW PROCEDURES TO BE ADOPTED TO FACILITATE THE IMPLEMENTATION OF MSMIS PROJECT)

- In respect of multi-component items that are ordered as kit items under single SR number, representing all components as one assembled unit, all deliveries of such items to MSD should be in the form of kits (all its components assembled together) with a commercial invoice indicating the number of kits and its S.R. number, describing & quantifying the individual components that forms the kit.

MSD will not accept parts of the full complement of components making the kit, that are delivered by different suppliers at different times and such deliveries will be rejected, even when the different components are sourced from different suppliers.