STATE PHARMACEUTICALS CORPORATION OF SRI LANKA

TENDER BOARD DECISION AS AT 31STMARCH 2012

DHS SURGICAL UNIT

| Tender Ref: | SR/ Item | Quantity | Supplier | Value |
| --- | --- | --- | --- | --- |
| DHS/SU/079/12 521608 | Auto - Disable Syringe, 5ml for reconstitutions of vaccine. | 300,000 Nos | Hindustan Syringes & Medical Devices - India | US$ 6.00/100 nos |
| DHS/SU/079/2012 521616 | Auto - Disable Syringe, 2ml for reconstitutions BCG vaccine. | 50,000 Nos | Hindustan Syringes & Medical Devices | US$ 5.45/100 Nos |
| DHS/SU/077/2012 07/450700 | Surgical suture, coated, braided absorbable synthetic, surgical suture BP /USP standard or equivalent standards, gauge size 2/0, 75cm length attached to a 50mm (approx) curved round bodied eyeless needle | 8,000 Nos | Sutures India | US$ 0.699/ each C&F |
| DHS/SU/079/2012 521399 | Auto- Disable Syringes 0.05ml Disposable, for Bcg. General Characteristics Single Use, Sterile | 500,000 Nos | Wuxi Yushou Medical Appliances Co. Ltd - China | US$ 8.00/100 |
| DHS/SU/077/2012 09/450849 | Surgical Suture, Coated, Braided, Absorbable Synthetic Surgical Suture BP/USP Standard or Equivalent Standards, gauge size 3/0, 150cm length | 11,500 Nos | Sutures India Pvt Ltd - India | US$ 0.80/each |
| DHS/RSS/402/2008 558998 | Temporary pacemaker electrode catheters size 4F | 5 packs each contains 1 set | Ceegeez Associates - Colombo | LKR 12,500/pack |
| DHS/SUS/755/2011 659613 | Introducer set for catheter, 6F with Haemasta value | 20 nos | Ceegeez Associates - Colombo | US$ 16.4730/each |
| DHS/RSS/97/2009 558778 | Temporary pacing electrode catheters introducers set size 5f sterile | 620 Nos | Ceegeez Associates - Colombo | US$ 53.10/each |
| DHS/SU/077/2012 11/450912 | Surgical Suture, Coated Braided, Absorbable Synthetic Surgical Suture BP/USP Standard or Equivalent standards, gauge size 3/0, 75cm length attached to a 16mm (approx) half circle round bodied eyeless needle. Each sterile sterile suture packed individually in peel open foil and peel/ tear open over wrap and labeled accordingly | 4500 nos | Sutures India Pvt Ltd - India | US$ 0.69/each |
| DHS/SU/045/2011 562719 | Airways Clear Plastic with Bite Block, Reusable for Adult, size 2,9 cm Long | 7,000 Nos | Romsons International - India | US$ 0.171/each C&F |
| DHS/SUS/10/K/2012 of 23/5/2011 26/SR555966 76/SR656877 77/SR656885 | Cardiology Consumables | 10 Nos 10 Nos 10 Nos | M/s B. Braun Medical Industries Sdn Bhd - Malaysia | US$ C&F 10.50/each 18.20/each 18.20/each |
| 53/SR558134 55/SR558249 56/SR558257 57/SR558388 59/SR558508 60/SR558524 65/SR559782 66/SR559847 91/SR658421 92/SR658455 | Cardiology Consumables | 10 Nos 05 Nos 10 Nos 05 Nos 05 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos | M/s CID Srl - Italy | US$ 190.00/each 190.00/each 190.00/each 190.00/each 190.00/each 190.00/each 190.00/each 190.00/each 190.00/each 190.00/each |
| 52/SR558126 58/SR558443 90/SR658413 93/SR658471 | Cardiology Consumables | 10 Nos 10 Nos 05 Nos 05 Nos | M/s Eurocor Singapore Pvt Ltd - Singapore | US$ 215.00/each 215.00/each 215.00/each 215.00/each |
| 01/555039 02/555063 03/555071 05/555097 06/555186 07/555217 08/555225 10/555036 11/555322 12/555330 13/555380 14/555398 15/555403 16/555411 19/555526 22/555827 23/555885 28/556108 32/556687 33/556695 49/557201 50/557243 51/557251 62/558702 63/558710 75/656851 99/659281 | Cardiology Consumables | 10 nos 10 nos 10 nos 10 nos 05 nos 10 nos 10 nos 05 nos 10 nos 10 nos 10 nos 10 nos 10 nos 10 nos 10 nos 10 nos 10 nos 10 nos 10 nos 05 nos 02 nos 10 nos 10 nos 10 nos 10 nos 10 nos 10 nos | M/s Medtronic NL BV- Netherlands M/s Medtronic NL BV- Netherlands | US$ 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 8.50/each 6.00/each 155.00/each 155.00/each 48.00/each 48.00/each 48.00/each 8.50/each 8.50/each 48.00/each 6.00/each |
| 34/556726 36/556768 39/556865 40/556873 46/557099 47/557104 48/557120 73/656712 74/656770 |  | 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos | M/s Terumo Corporation - Singapore | US$ 68.00/each US$ 68.00/each US$ 68.00/each US$ 68.00/each US$ 68.00/each US$ 68.00/each US$ 68.00/each US$ 68.00/each US$ 68.00/each US$ 68.00/each |
| 78/657386 79/657409 80/657425 81/657441 82/657467 83/657603 84/657629 85/657645 86/657726 100/659702 101/659710 102/659752 103/659825 |  | 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos 10 Nos | M/s Vascular Innovation Co - Ltd - Thailand | Euro 700.00/each Euro 700.00/each Euro 700.00/each Euro 700.00/each Euro 700.00/each Euro 700.00/each Euro 700.00/each Euro 700.00/each Euro 250.00/each Euro 425.00/each Euro 425.00/each Euro 425.00/each Euro 250.00/each |
| 17/555461 |  | 10 nos | M/s Vascular Therapeutics - India | US$ 625.00/each |
| DHS/SU/011/2012 of 21.04.2011 02/590217 | Indicator Tape for Autoclaving Process | 7,200 Nos | M/s Glaswaren fabrik Karl Hecht Gmbh && Co., Kg., - Germany | Euro 2.55/each (FOB) + Actual freight |
| DHS/SUS/068/K/2012 of 29.08.2011 Item No: 3 & 14 | Orthopeadic Consumables |  | M/s Aesculap Ag., - Germany | Euro 468.94 (total FOB) + Actual freight and packing chargers |
| Item No: 13,16,17,19-26 |  |  | M/s Rudolf Gmbh - Germany | Euro 1,410.38 (Total FOB) + Actual freight and packing chargers |
| Item Nos: 27,28, 29 tem No: 2,4 |  |  | M/s Kish International - Sri Lanka Smith & Nephew pvt ltd - Singapore | LKR 17,389.00 (total delivered price to MSD) SGD 92,875.71 (Total C&F) |
| Item No 1, 5-8, 15 |  |  | M/s Synthes - Switzerland | CHF 59,197.75 (total C&F) SGD 92,875.71 (total C&F) |
| Item No 10, 11 |  |  | M/s Synthes - Switzerland | CHF 203.50 (Total FOB) + actual freight and packing chargers |
| DHS/SUS/DQ/11/A/2012 01/525149 | Apheresis Kits closed system for “Amicus Apheresis System” | 498 Kits | M/s A. J. Medichem International Pvt | USD 246/kit |
| DHS(M)RS/011/2012 of 02/02/2012 180240 | X- Ray film blue base for automatic processing. Size 24cm x 30cm | 10,000 packs x 100films | M/s Fuji Film Corporation - Japan | US$ 37.78/100 films (C&F) |
| DHS(M)RS/011/2012 of 02/02/2012 180208 | X- Ray film blue base for automatic processing. Size 30cm x 40cm | 300,000 nos | M/s Fuji Film Corporation - Japan | US$ 62.97/100 films (C&F) |
| DHS(M)RS/011/2012 180216 | X- Ray film blue base for automatic processing. Size 35.6cm x 43.2cm | 4,000 packs x 100 Films | M/s Fuji Film Corporation - Japan | US$ 80.70/100 films (C&F) |
| DHS/RLS/274/08 868424 | Lab Items |  | Analytical Instruments - Colombo | Rs. 1,260,630.00(total delivered price) with VAT |
| DHS/SU/RSS/184/B/2009 31/348937 | Surgical Non consumables | 3 Nos | Lawton GMBH - Germany | Euro 112.05 C&F |
| DHS/SU/653/2011 closed on 18.08.2010 520301 | Hypodermic syringes 1ml with mounted Needle 26g x 15mm Long | 500,000 Nos | Terumo Corporation - Singapore | USD 75/1000 C&F |
| DHS/SUS/889/2011 37 to 46 | Orthodontic Consumables |  | Forestadent - Germany | Euro 2,145.00 C&F |
| DHS/SU/968/2011 521551 | Central Venous Catheter Set 5fr x 10cm with triple lumen | 960 Nos | Becton Dickinson Critical Care Systems - Singapore | USD 22.50/ unit C&F |
| DHS/LWW/006/2012 868610 | Lab Items | 2 x 96 Tests | M/s Euroimmcem Ag - Germany | Euro 250.00/96 tests C&F |
| DHS/LWW/006/2012 9/868589 | Cmv Igg - EIA | 6 x 96T | Emar Pharma - Colombo | US$ 288.00 / 96 Tests (with VAT) |
| DHS/LWW/006/2012 867046 867054 868521 868539 868547 868555 868563 868571 868597 868628 878217 948698 948703 | Lab Items |  | Hemsons International - Colombo | Rs. 3,221,832.80 + 12% VAT |
| DHS/RL/206/2009 11/701931 | Sulphur Flour | 3,000 g | Arihant India | 1st Lot -US$ 4.85 per 500g (C&F) 2nd Lot- US$ 6.85 per 500g (C&F) |
| DHS/LBS/DQ/011/2012 855196 | Reagent Red Blood Cells | 36 sets | CSL Biotherapies - Australia | CPT/AUD 110.85 / 3 x 10ml |
| DHS/LBS/DQ/209/2011 01/908533 | Carbimazole BPCRS | 100mg | BPCRS(MHRA) - UK | GBP 111.00/100gm + Handling & Courier Chargers GBP 75.00 |
| DHS/RLS/77/2010 29/907359 | Zinc Chioride AR. | 250g | Hemsons International - Colombo | Rs. 9419.20 / 250g inclusive VAT |
| DHS/LWW/051/2012 771643 | Petridishes Borosilicate 3.3, clear,even thickness, uniform optical qualities, ability to withstand repeated autoclaving. Diameter of cover 5-7 cm (Height of base 1.2cm) | 2,000 packs | Lanka Laboratories Ltd- Wattala | LKR 245/pack (with VAT) |
| DHS/RLS/485/2008 876867 | Lipid Profile - Colorimetric method | 600 Nos | Zenith Impex - Rajagiriya | LKR 82.85/each (with VAT) |
| DHS/RLS/34/12 878398 | Amphotericin BP 10mg | 5 vials x 50 discs | Transmed International - Nugegoda | RS. 676.48/ 50 discs With VAT |
| DHS/LWW/053/2012 875992 | Fungisone (20ml/Bottle) | 01 Pack | Sera Labs International - UK | FOB GBP 17.41/100ml + GBP 10for Blue Ice + GBP 15 for Dry Ice + Actual Freight Chargers |
| DHS/LWW/049/2012 28/945991 | Consumable for Immunology | 50,000g | Arihant - India | 1st Lot - USD 28/500g C&F 2nd Lot- USD 31/500g C&F |
| DHS/LWW/046/2012 10/935019 | Para Film | 20 Nos | Glasswaren& Fabrick - Germany | FOB Euro 14.59/each + Actual Freight Chargers |
| DHS/LWW/042/2012 918889 | 0.2ml PCR clean Micro Cetrifuge Tubes With Domed Cap (1000/Pack) | 2 Packs | A.J. Cope & Co. - U.k | C&F GBP 72.80/1000 |
| DHS/LWW/042/2012 979649 | Pcr clean micro centrifuge tubes 1.5ml (1000/pack) similar to cat no 0030.125.185) | 2 Packs | A.J. Cope & Co Ltd - U.k | C&F GBP 22.83/1000 |
| DHS/LWW/021/2012 751009 | Microscope slides (Plain) thickness 1mm, size 76mm x 26mm, fungus free, | 3,800,000 | Arihant Industry - India | C&F USD 0.0117/each |
| DHS/LWW/042/2012 939877 | Staining Rack for staining slides (stainless steel) | 01 No | Ominro Medical Pvt Ltd - Battaramulla | Rs. 1750/each Inclusive VAT |
| DHS/LWW/042/2012 878275 | Syringe filters units, sterile, disposable, 0.45um filter diameter 25mm | 50 nos | A.J. Cope & Co. - U.k | GBP 125.34/50 C&F |
| DHS/LWW/042/2012 878291 | Automatic Pipette Variable capacity 5-50ul | 01 no | Glassware & Fabrick - Germany | FOB Euro 115/each + Actual Freight Chargers |
| DHS/LWW/042/2012 975491 | Millipore vaccum filter flask assembly (Sterifil holders 47mm) vaccum resistant glass flask with 45mm outer diameter mouth | 01 no | A.J. Cope &Co. - U.k | GBP 316.83/each C&F |
| DHS/LWW/002/12 710516 710582 | Lab Items |  | Oxid Ltd - U.K | GBP 18.80/500g C&F C&F 1st Lot -GBP 12.16/500g C&F 2nd Lot - GBP 12.33/500g |
| DHS/RL/124/2009 750906 | Microscope cover slip circular dia 19mm | 250,000 Nos | Glasswaren & Fabrick - Germany | C&F Euro 28.50/1000’s |
| DHS/SU/079/2012 of 09/11/2011 521331 | Auto Disable Syringe 0.5ml | 1,000,000 Nos | Wuxi Yushou Medical Appliances Company Limited - China | US$ 4.70/100 nos (C&F) |
| DHS/SUS/772/2010 of 21.01.2011 03/676526 | Surgical consumables | 100 sets | M/s Synthes GmbH - Switzerland | CHF 2,272.23 /set C&F |
| DHS/SUS/31/F/2012 of 13.06.2011 535445 | Surgical Consumables | 2400 nos | B. Braun Medical Industries - Malaysia | USD 3.09/each C&F |
| DHS/SU/046/2012 of 06/06/2011 520018 | Volume controlled intravenous administration sets for gravity infusion, conforming to ISO standards, comprising, Piercing spike, calibrated fluid chamber 100ml to 150ml, 150to 180 cm long tubing with flow control device, “Y” injection site, bacteria proof air inlet with snap vent, luer lock fitting and complete with piercing spike. Sterile non - toxic and pyrogen free | 97,500 nos | M/s Vitromed Healthcare - India | US$ 0.4949/each C&F |
| DHS/SU/043/2012 of 19.05.2011 521111 | CPD Adenine (CPD-A1) Double Blood Bags for collection of 450ml of blood. | 25,000 nos | M/s Terumo corporation - Singapore | USD 3.30/each C&F |
| DHS/SUS/44/F/2012 closed on 06.07.2011 04/546014 05/546022 06/546030 | Custom Tubing Packs adult 2, Paediatric and infant | 700 Nos 100 Nos 10 Nos | B. L. Lifesciences Pvt Ltd- India | US$ C&F 65.00/each 80.00/each 65.00/each |
| DHS/RSS/114/2011 of 16.11.2011 11/546179 | Infant Hollow Fiber Oxygenator | 325 Nos | M/s Terumo Corporation - Singapore | US$ 210.00/each C&F |
| DHS/RS/60/2011 of 01/09/2011 470093 | Surgical Suture Non Absorbable Monofilament Polypropylene Suture BP/USP Gauge Size 3/0, Blue 90cm Length | 36,000 Nos | S.M.B. Corporation - India | USD 7.75/12 C&F |
| DHS/SU/047/2012 310219 311079 | Bone cutting forcep liston straight 200mm Twist drill bits quick coupling type 3.2mm Dia | 12 nos 32 nos | Aesculap Germany | Euro 2224.60 C&F |
| DHS/SU/077/2012 08/450776 | Surgical suture, coated , braided, absorbable synthetic surgical suture BP/USP standard or equivalent standards, gauge size 4/0, 75cm length attached to a 16mm (approx) curved cutting eyeless needle. | 7992 nos | Sutures India | US$ 0.85 each |
| DHS/SU/077/2012 14/450954 | Surgical suture, coated , braided, absorbable synthetic surgical suture BP/USP standard or equivalent standards, gauge size 4/0, 75cm length attached to a 17mm (approx) half circle round bodied eyeless needle. | 3,000 Nos | Sutures India Pvt Ltd - India | US$ 0.85 /each C&F |
| DHS/SU/077/2012 06/450637 | Surgical suture, coated , braided, absorbable synthetic surgical suture BP/USP standard or equivalent standards, gauge size 4/0, 75cm length attached to a 13mm (approx) half circle round bodied eyeless needle. | 3996 Nos | Sutures India Pvt Ltd - India | US$ 0.98/ each C&F |
| DHS/SU/077/2012 10/450873 | Surgical suture, coated , braided, absorbable synthetic surgical suture BP/USP standard or equivalent standards, gauge size 1,75cm length attached to a 35mm (approx) half circle round bodied eyeless needle. | 19,992 Nos | Sutures India Pvt Ltd - India | US$ 0.69/ each C&F |
| DHS/SU/077/2012 15/450962 | Surgical suture, coated , braided, absorbable synthetic surgical suture BP/USP standard or equivalent standards, gauge size 4/0, 75cm length attached to a 20mm (approx) half circle round bodied eyeless needle. | 3,000 Nos | Sutures India Pvt Ltd - India | US$ 0.83 /each C&F |
| DHS/RSS/181/K/2009 4/546242 25/546739 23/546674 | Surgical Consumables | 625 nos 25 nos 50 nos - | California Medical Laboratories -USA Edward Life sciences - USA | US$ 8909.12 Total C&F US$ 850.00 |
| DHS/SUS/75/R/12 Item Nos : 1-5, 7-13, 21.22,24, 27, 29-32, 37, 39, 40, 42-54 Item Nos : 15-38 Item Nos : 16, 23,25 Item Nos: 26, 28, 33, 36 Item Nos: 6, 34, 35 Item Nos: 14,17,18,19,20 | Surgical Non consumables |  | Rudolf Medical GMBH - Germany Gedbruder Martin GMBH - Germany Kish International - Wattala Plus Medical Teachnology - India South India Surgical Company ltd Synthesies - Switzerland | FOB 11,320.71 + Actual Freight Chargers Euro 282.15 C&F Rs. 57,122.00 (total delivered price) USD 1436.00 C&F USD 707.00 C&F FOB CHF 1679.25 + Actual Freight |
| DHS/SUS/819/2011 of 01.02.2010 11/545173 15/545212 16/545220 17/545238 18/545246 19/545254 22/545327 | Surgical Consumables | 110 Nos 50 Nos 50 Nos 50 Nos 100 Nos 100 Nos 60 Nos | M/s Medtronic Trading NL | C&F US$ 32.10 US$ 32.10 US$ 32.10 US$ 32.10 US$ 32.10 US$ 32.10 US$ 32.10 |
| DHS/RSS/12/09 of 20.02.2009 16/659061 17/659079 18/659087 21/656843 22/556700 25/556726 27/556776 29/556865 34/556718 37/656982 38/656495 | Surgical Consumables | 30 nos 20 nos 100 nos 100 nos 30 nos 10 nos 10 nos 10 nos 50 nos 50 nos 100 nos | Johnson and Johnson - India | C&F US$ 44.00 US$ 44.00 US$ 44.00 US$ 44.00 US$ 44.00 US$ 44.00 US$ 44.00 US$ 44.00 US$ 44.00 US$ 44.00 US$ 44.00 US$ 44.00 |
| DHS/SUS/76/J/2012 of 12.09.2011 01/315015 02/315023 10/315112 11/315138 13/315162 14/315170 15/315188 16/315219 17/315227 18/315235 20/315251 21/315269 36/315447 | Surgical Non-Consumables | 03 nos 06 nos 06 nos 06 nos 04 nos 04 nos 06 nos 08 nos 08 nos 06 nos 03 nos 03 nos 02 nos | M/s Rudolf Medical GmbH - Germany | FOB/Euro 117.79/each + 139.42/each 162.02/each 158.94/each 139.42/each 77.60/each 336.81/each 275.05/each 44.99/each 42.72/each 42.72/each 76.63/each 216.54/each 28.88/each + Actual freight and Packing Chargers |
| 03/315031 08/315081 09/315104 39/315502 40/315510 |  | 06 nos 02 nos 04 nos 02 nos 01 no | Siora Surgicals Pvt Ltd - India | C&F US$ 24.57/each US$ 111.00/each US$ 24.57/each US$ 353.79/each US$ 533.15/each |
| 04/315049 37/315471 |  | 06 nos 02 nos | M/s Lawton GmbH & Company Kg- Germany | C&F Euro 133.70/each Euro 27.93/each |
| 23/315308 24/315316 25/315324 26/315332 27/315340 28/315366 33/315413 35/315439 38/315497 41/315528 43/315544 48/315609 49/315617 |  | 02 nos 01 no 01 no 02 nos 02 nos 02 nos 01 no 01 no 02 nos 01 no 02 nos 01 no 01 no | M/s Synthes Gmbh- Switzerland | C&F CHF 7,644.26/each CHF 7,644.26/each CHF 4,624.46/each CHF 9,419.87/each CHF 8,329.60/each CHF 2,079.23/each CHF 4,384.22/each CHF 5,938.07/each CHF 3,284.56/each CHF 3,061.28/each CHF 3,193.63/each CHF 11,282.20/each CHF 17,361.23/each |
| 29/315374 30/315382 31/315390 32/315405 |  | 01 no 01 no 01 no 01 no | M/s Zimmer Pvt Ltd - Singapore | C&F US$ 9,700.00/each US$ 4,920.00/each US$ 2,400.00/each US$ 5,750.00/each |
| 19/315243 34/315421 |  | 03 nos 01 no | M/s Kish International (Pvt) Ltd - Sri Lanka | Delivered Price LKR 80,000.00/each LKR 8,874.00/each |
| 44/315552 45/315560 46/315578 47/315586 |  | 03 nos 06 nos 06 nos 06 nos | M/s Orthofix Srl - Italy | C&F US$ 14,697.65/each US$ 14,990.90/each US$ 13,052.15/each US$ 16,174.52/each |
| DHS/SUS/29/R/12 of 07/06/2011 01/475247 02/475386 04/475695 05/475857 11/478156 19/457045 26/485763 27/485690 | Surgical Consumables | 1080 nos 3240 nos 1800 nos 1188 nos 1200 nos 1800 nos 600 nos 3000 nos | Peters Surgical - France | C&F US$ 4.23/each US$ 4.97/each US$ 1.82/each US$ 1.91/each US$ 2.09/each US$ 1.97/each US$ 3.4925/each US$ 2.795/each |
| 06/476162 07/476269 17/456730 18/457948 20/465438 21/465640 22/465909 23/466133 24/466117 |  | 120 nos 120 nos 60 nos 480 nos 120 nos 240 nos 600 nos 900 nos 1200 nos | B.Braun Surgical SA., Spain | C&F US$ 1.65/each US$ 1.59/each US$ 1.52/each US$ 1.70/each US$ 0.65/each US$ 0.66/each US$ 0.58/each US$ 0.92/each US$ 0.52/each |
| 08/478083 09/478766 12/478114 30/478106 |  | 3600 nos 900 nos 1200 nos 900 nos | M/s Stericat Gutstrings Pvt Ltd - India | C&F US$ 10.95/12 nos US$ 9.95/12 nos US$ 11.75/12 nos US$ 11.75/12 nos |
| DHS/SUS/63/RD/12 of 08/08/2011 12/545238 13/545246 14/545254 | Surgical Consumables | 400 nos 700 nos 300 nos | Edwards Life Sciences - USA | 18.00/each 17.00/each 18.00/each |
| 01/545050 02/545068 03/545424 04/545080 08/545369 09/545351 10/545571 11/545377 15/548189 |  | 500 nos 800 nos 600 nos 10 nos 400 nos 50 nos 40 nos 200 nos 700 nos | California Medical - USA | US$ 14.608/each US$ 14.608/each US$ 16.489/each US$ 16.489/each US$ 22.132/each US$ 23.386/each US$ 22.132/each US$ 22.132/each US$ 12.947/each |
| DHS/SUS/013/K/2012 09/SR 605266 13/SR 605305 15/SR 605321 34/SR 606597 46/SR 607802 | Orthopedic Consumables | 148 nos 124 nos 124 nos 4 nos 55 nos | A. Baur & Company - Colombo | Delivered price US$ 50.00/each US$ 70.00/each US$ 70.00/each US$ 1,167.00/each US$ 70.00/each |
| 33/SR 606571 42/SR 607357 44/SR 607373 45/SR 607399 |  | 08 nos 60 nos 63 nos 47 nos | M/s Siora Surgical Pvt Ltd - India | US$ 499.45/each US$ 14.84/each US$ 14.84/each US$ 15.46/each |
| DHS/SUS/33J/2012 of 13.06.2011 14/566357 | Voice Prosthesis System | 10 nos | M/s Deena Enterprises - India | US$ 294.00/each C&F |
| DHS/SU/056/2012 closed on 20.06.2011 182098 | Iopromide (Non Ionic Contrast Media) for cardiac angiography 370mg/ml | 2,250 vials | Bayer Pharma Ag-Germany | USD 185/10 vials C&F |
| DHS/SU/077/2012 13/450946 | Surgical suture, coated, braided, Absorbable Synthetic surgical suture BP/USP standard or equivalent standards, gauge size 2, 75cm length attached to a 30mm (approx.) half circle round bodied eyeless needle. Each sterile packed individually in peel open foil and peel/tear open over wrap and labeled accordingly. | 60,000 Nos | M/s Sutures India Pvt Ltd - India | US$ 0.685/each C&F |
| DHS/RSS/185DP/2009 of 28.09.2011 Item No: 01 Item Nos: 02-04 | Surgical Consumable Items |  | M/s Romsons International - India M/s Uro Technology Sdn Bhd- Malaysia | US$ 1,800.00 (Total C&F) US$ 7,454.50 (Total C&F) |
| Item Nos 16-20 |  |  | M/s Sisco Latex Pvt Ltd - India | US$ 13,948.50 (total C&F) |
| Item No: 08 |  |  | M/s Vitromed Healthcare - India | US$ 13,094.60 (Total C&F) |
| Item No: 24 |  |  | M/s Devon Innovation Pvt Ltd - India | US$ 14,124.60 (total C&F) |
| DHS/SUS/59J/12 of 01/08/2011 Item Nos: 01, 03, 26-33, 60, 61,77-86, 88 | Surgical Consumables |  | M/s Zodiac Medical Pvt Ltd - Colombo | LKR 2,476,000.00 (total delivered price) |
| Item Nos: 04-25, 34-59, 64, 65 |  |  | M/s Siora Surgicals Pvt Ltd - India | US$ 51,467.19 (Total C&F) |
| Item Nos : 62,63 |  |  | M/s Synthes GmbH - Switzerland | CHF 11,992.20 (Total FOB + Actual Freight & Packing Chargers ) |
| Item Nos: 75, 76 |  |  | M/s Smith Medimed Pvt Ltd - India | US$ 125,627.03 C&F |
| Item Nos : 66-74, 87 |  |  | M/s Hardik International - India | US$ 3,295.15 (total C&F) |
| DHS/RS/13/2012 181806 | Non - lonic contrast media for peripheral angiography (Iodine content 240-320mg/ml) 20ml vials | 2,000 vials | Bayer Pharma AG - Germany | USD 78/10 C&F |
| DHS/RS/75/2011 520204 | Drug Nebulizing Kits for Adults | 45,000 nos | Romsons International - India | USD 0.55/each C&F |
| DHS/RS/507/2008 560050 | Endotracheal Tubes Murphy Eye, Oral & Nasal, Plain, size 4.5mm ID | 12,000 Nos | Romsons International - India | USD 0.324/each C&F |
| DHS/RS/507/2008 560034 | Endotracheal tubes Murphy eye, oral & nasal, plain, size 3.5mm ID | 8,000 Nos | Romsons International - India | USD 0.324/each C&F |
| DHS/RS/010/2012 520482 | Hypodermic Needles, size 26g x 15mm length, single use | 840,000 Needles | Hindustan syringes & Medical Devices - India | USD 1.16/100 PU C&F |
| DHS/SUS/09/K/2012 15/547858 | Pericardial Bioprostheses Value size 19mm. Aortic. Sterile. | 03 Nos | Edward Lifesciences India | USD 9000.00 C&F |
| DHS/SU/022/2012 02/610601 | Devitalizing Paste/Liquid for Pulptomy Technique | 500 Nos | La Solve - Wattala | Rs. 5250/per pack (delivered price) |
| DHS/SUS/61J/2012 18/317148 | Bone Lever, Verbrugge-Muller, 65mm Broad, 25.5cm Long, Stainless Steel. | 16 Nos | Aesculap - Germany | FOB 48.70/ each + Actual Freight & Packing chargers |
| DHS/RS/042/11 04/622226 | Diamond dental burs round ISO size 012 (Bur Head Diameter 1.2mm) Shank Length 25mm for latch type contra angle hand piece. | 400 Nos | GEBR. BRASSSELLER, GMBH,-GERMANY | Euro 1.50/ each C&F |
| DHS/RS/507/2008 560026 | Endotracheal Tubes Murphy eye, oral & nasal, Plain, size 3.0mm ID | 7,000 Nos | Romsons International - India | USD 0.324/each C&F |
| DHS/RS/507/2008 560018 | Endotracheal Tubes Murphy Eye, oral & nasal, plain, size 2.5mm ID | 16,000 Nos | Romsons International - India | USD 0.324/each C&F |
| DHS/RS/507/2008 560076 | Endotracheal Tubes Murphy Eye, oral & nasal, plain, size 5.0 mm ID | 3000 Nos | UNOMEDICAL Malaysia | USD 0.65/each C&F |
| DHS/RS/507/2008 560084 | Endotracheal Tubes Murphy Eye, oral & nasal, plain, size 6.0 mm ID | 5000 Nos | UNOMEDICAL Malaysia | USD 0.65/each C&F |
| DHS/RSS/121/F/2011 of 04.01.2012 11/465933 | Surgical suture, non-absorbable coated braided silk suture BP/USP standard of equivalent standards, gauge size 2/0 black, 100cm length attached to a 55mm (approx) straight cutting eyeless needle and sterile. Each sterile suture packed individually in a Peel/tear open foil pack and labeled accordingly. Pack size: 12 | 300 Nos | M/s sutures India Pvt Ltd- India | USD 1.0305/each C&F |
| 54/478287 | Surgical suture, Non- absorbable Braided coated polyester suture BP/USP standard or equivalent standards, gauge size 0, green 90cm length with attached to a 35mm half circle round bodied taper cut eyeless needle and sterile, each sterile suture packed individually in peel/tear open foil pack and labeled accordingly. Pack size: 12 | 588 Nos | M/s sutures India Pvt Ltd- India | USD 1.5480/each C&F |
| 59/478708 | Surgical suture, Non- absorbable Braided coated polyester suture BP/USP standard or equivalent standards, gauge size2/ 0, green 90cm length with each attached to 16 mm half circle round bodied (double arm) eyeless needle and sterile, Each sterile suture packed individually in a peel/tear open foil pack and labeled accordingly. Pack size: 12 | 120 Nos | M/s sutures India Pvt Ltd- India | USD 1.5480/each C&F |
| 55/478300 | Surgical suture, non - absorbable braided coated polyester suture, BP/USP standard or equivalent standards, gauge size 3/0, 100cm length with each end attached to a 26mm (approx) half circle round bodied taper point eyeless needle (double arm) and sterile. Each sterile suture packed individually in a peel/tear open foil pack and labeled accordingly. Pack size : 12 | 120 Nos | M/s Johnson & Johnson Ltd- India | USD 37.20/each C&F |
| 25/477095 | Surgical suture, Non-absorbable Monofilament polyamide 6 and 66 (Nylon) suture BP/USP standard or equivalent standards, gauge size 1,1.5m, 100cm length with each end attached to a 50mm circle loop and sterile. Each sterile suture packed individually in a peel/tear open over wrap and labeled accordingly. Such over wraps packed in a suitable box. Pack size : 12 | 600 Nos ( Offered pack size : 24) (50pcs x 12’s ) | M/s B. Braun Surgical S.A-Spain | USD 1.65/each |
| DHS/RLS/022/2012 908583 | Ethidium bromide 10mg/m1 | 30 Packs | Avon Pharma Chemical - Nugegoda | LKR 693.28/pack with VAT |
| DHS/RLS/022/2012 908672 | Sodium Barbitol | 200 Packs x 19 | Analytical Instruments - Colombo | LKR 343.40/pack (Delivered price) |
| DHS/RLS/022/2012 908591 | Gel Loading Dye | 10 packs x 1ml | Analytical Instruments - Colombo | LKR 882.30/pack inclusive VAT (Delivered price) |
| DHS/RLS/022/2012 958863 | Ethanol (Molecular Biology Grade) | 10,000 Packs x 1ml | Analytical Instruments - Colombo | Rs. 12.75/pack inclusive VAT |
| DHS/RLS/022/2012 908698 | Non-Essential Amino Acid | 400 Packs x 1 vial | Analytical Instruments - Colombo | Rs. 107.80/pack Inclusive VAT (Delivered price) |
| DHS/LWW/024/2012 09/722042 | R.A.Test Complete | 750 kits | Atlas Medical - Jordan | US$ 7,588.50 C&F |
| DHS/RLS/022/2012 908648 | TBE Buffer ( 10x) | 8,000 Packs x 1ml | Avon Pharmo Chemical (Pvt)Ltd - Nugegoda | Rs. 5.8632 Inclusive VAT |
| DHS/LWW/002/12 867541, 710029, 710362, 710401, 710477, 710663 | Lab Items |  | Himedia Laboratories - India | US$ 6,655.60 (total C&F) |
| DHS/RLS/113/10 967074 | Petrolium Ether | 3,500 ml | Hemsons international - Colombo | LKR 6.5216/1ml Inclusive VAT (delivered price) |
| DHS/RLS/022/2012 906010 | QIAmp Viral RNA Mini Kit (250 Reactions) | 18 packs | Micro Tech Biological (Pvt) Ltd - Pannipitiya | LKR 168,000 /pack Inclusive VAT (delivered price) |
| DHS/RLS/118/10/S 895625 | (Methanol) HPLC grade | 175 packs of 1000ml |  | GBP FOB 7.09/2.5l GBP 214.78+ sea FOB GBP 265.70 sea freight |
| DHS/LWW/006/12 958724 | Hepatitis B Anti HBE Elisa | 08 Kits ( Original 04 Kits) | Higchem R. Ceylon Company | US$ 225/ 96 texts |
| DHS/RLS/022/2012 945072 | Foetal Bovine Serum 500 ml/pack | 18 packs x 500ml | Science Tech (Pvt) Ltd - Keliniya | LKR 125,000/pack delivered price to MSD |
| DHS/RLS/022/2012 908567 | Dextrose | 2,000g | Avon Pharma Chem (Pvt) Ltd | Rs. 1140/500g (delivered price) |
| DHS/RSS/196/A/2009 of 30.11.2011 20/525880 | Central line double lumen 4fr x 4cm sterile. | 850 nos | M/s Vygon India Pvt Ltd - India | US$ 50.30/each C&F |
| DHS/SUS/30/B/2012 of 26/5/2011 08/545953 09/545961 | Custom tubing pack adult - 1, and adult -2 | 1,200 nos 150 nos | B.L. Lifesciences Pvt Ltd - India | US$ 74.50/each C&F 78.00/each C&F |
| DHS/RSS/111/W/2011 of 29.08.2011 02/548600 05/548862 06/548870 | Surgical Consumables | 55 nos 90 nos 200 nos | M/s Uremee Healthcare - India M/s D.S Jayasinghe Opticians (pvt) Ltd - Colombo M/s Siemens Medical instruments Pte Ltd - Singapore | US$ 284.28/each C&F LKR 10,500.00/each (Delivered price) US$ 62.00/each C&F |
| DHS/SUS/918/2011 of 07/03/2011 01/468509 04/468533 08/468575 10/468591 11/468606 |  | 170 nos 410 nos 345 nos 161 nos 81 nos | M/s B.J. ZHF. Panther Medical Equipment co. ltd - China | C&F US$ 106.92/each 77.22/each 77.22/each 106.92/each 106.92/each |
| 02/468517 03/468525 05/468541 09/468583 14/468630 |  | 60 Nos 372 Nos 306 Nos 60 Nos 108 Nos | M/s Tyco Healthcare Pte Ltd- Singapore | US$ 570.00/3 nos US$ 516.00/6 nos US$ 142.00/6 nos US$ 123.00/6 nos US$ 29.00/12 nos |
| 12/468614 13/468622 |  | 216 nos 120 nos | M/s 3M Lanka (Pvt) Ltd - Battaramulla | US$ 13.00/each US$ 71.00/each |
| 06/468559 07/468567 |  | 50 nos 12 nos | M/s Johnson and Johnson - India | US$ 350.00/each US$ 180.00/each |
| DHS/SU/063/2012 450603 | Surgical Suture, coated braided, absorbable synthetic ophthalmic surgical suture BP/USP Gauge Size 5/0 45 cm length | 2,004 Nos | Johnson & Johnson - India | USD 60/12 Nos C&F |
| DHS/SU/063/2012 450645 | Surgical Suture, coated braided, absorbable synthetic Surgical suture BP/USP Gauge Size 3/0 75cm Legth | 8,004 Nos | Dynek Pty ltd., Australia | USD 17.86/12 C&F |
| DHS/RSS/206/K/09 of 01.02.2012 625208 | Direct Bond Brackets Roth System | 100 Kits | 3M Lanka Pvt Ltd- Battaramulla | USD 37.00/100 C&F |
| DHS/SUS/782/11 Item No: 1&3 Item No: 2,10,11,16,19,23,24, 28, | Surgical Non Consumables |  | Inno Opthalmic - India B.Webber & Co. Pakistan | USD 517.00 C&F USD 354.91 C&F |
| DHS/RSS/201A/2009 556417 | Three port disposable manifold with rotating adapter right hand handle on sterile | 100 nos | Intra Special Catheters GMBH - Germany | Euro 6.50 /each C&F |
| DHS/RSS/02/F/2012 of 08.02.2012 15/546810 16/546802 17/546828 | Surgical Consumables | 500 Nos 100 Nos 25 Nos | Technomedics Ltd- Battaramulla Sisco Medical Device Pvt Ltd - India | Rs. 225,000.00 (total deliver price) USD 3.40 each C&F |
| DHS/RSS/178/RD/09 14/556598 16/556564 19/556556 21/558671 | Surgical Consumables | 20 nos 50 nos 50 nos 50 nos | CID SRL - Italy | USD 21,250.00 C&F |
| DHS/SU/71/2012 513354 | Austin Moore Hip prosthesis self-locking fenestrated narrow stem head diameter 53mm x 12mm length | 100 nos | Auxein - India | US$ 18.0996 /each C&F |
| DHS/RLS/024/2012 1-8 | Primers for Dengue PCR | As summarized at folios 37-38 | Avon Pharmo Chemical - Nugegoda | LKR 13,104.00 Inclusive VAT (Total Value) |
| DHS/LWW/006/10 864593 | Dengue lgm kit | 10 kits x 96 tests (original Qty) | Australia Medical Diagnostics - Australia | AUD 490/ kit C&F |
| DHS/SUS/73D/12 Item No: 1-3 , 5-36 , 38-47, Item No: 4 Item No: 37 | Surgical Consumables |  | Hardick International - India G.P.C Medical - India Synthes GMBH -Switzerland | USD 24,345.00 C&F FOB USD 898+ Actual Freight Chargers CHF FOB 7572 + Actual Freight |
| DHS/SU/044/12 dated 03/06/2011 591019 | Face Mask Disposable | 900,000 nos | Xiantao Fushi Protective Products Co. Ltd - China | US$ 43/2000 nos C&F |
| DHS/SU/046/2012 of 06.06.2011 520068 | I.V. Cannula set with vertical Injection port size 20gx 32mm long cannula conforming to ISO standards comprising the cannula of non - irritant, non - kinkable and flexible material with embedded radio opaque line, Luer lock system for infusion set. | 200,000 sets | Life Medical Devices (Pvt) Ltd- India | USD 9.40/100 sets C&F |
| DHS/RSS/202/A/2009 of 08.02.2012 16/315950 | Power Drill Battery Operated with drill & saw attachments. | 08 Nos | Aesculap Ag., Germany | Euro 13157.02/set C&F |
| DHS/SUS/932/F/2011 of 06.04.2011 16/545953 | Surgical Consumables | 1200 Nos | M/s B. Lifesciences Pvt Ltd - India | US$ 74.50/each C&F |
| DHS/ SU/044/2012 Dated 03.06.2011 01/520903 | Prejelled E.C.G Electrodes Silver/Silver Chloride for Adults Disposable. | 660,000 nos | M/s Leonhard Lang GmbH - Austria | USD 0.0396/each C&F |
| DHS/SUS/65/W/2012 of 17.08.2011 02/609163 | Implant for Adult Limb Reconstruction System | 13 sets | M/s Orthofix Srl- Italy | Unit FOB US$ 13,504.10 + actual freight and packing chargers |
| DHS/SUS/65/W/2012 of 17.08.2011 03/609171 05/609210 06/609228 | Mini Implant Set for hand surgery Implant set for Humeral Nailing System Implant Set for Intramedullary tibial and femoral nailing system | 04 nos 08 nos 06 nos | M/s Synthes GmbH- Switzerland | UNIT (C&F) 6,870.35 24,462.05 13,099.50 |
| DHS/SUS/083/K/12 of 09.01.2012 02/655790 04/658609 05/658617 | Surgical Consumables | 25 Nos 20 Nos 20 Nos | M/s Medtronic Trading NL Bv - Netherland | UNIT (C&F) US$ 850.00/each US$ 2,325.00/each US$ 1,300.00/each |
| DHS/SU/021/2012 481507 481515 | Ligating Clips - Small Size Ligating Clips - Medium Size | 15120 nos 15120 nos | M/s Johnson and Johnson - India | (C&F) US$ 120/216 clips US$ 78/216 clips |
| DHS/SUS/49/W/2012 of 20.07.2011 01/335471 12/335439 13/325256 14/325264 15/325272 16/325280 17/325303 |  | 03 nos 37 nos 05 nos 18 nos 22 nos 21 nos 03 nos | M/s Aesculap Ag- Germany | FOB Euro 189.62/each Euro 122.73/each Euro 20.61/each Euro 27.24/each Euro 28.75/each Euro 28.75/each Euro 104.46/each + actual freight and packing charges |
| 04/335536 05/335544 06/335552 07/335586 09/335285 |  | 05 nos 06 nos 05 nos 03 nos 68 nos | M/s Karl Srorz GMBH & Co., - Germany | FOB Euro 3,017.24/each Euro 3,172.41/each Euro 3,172.41/each Euro 2,177.59/each Euro 41.38/each + Actual freight and packing charges |
| 02/335489 03/335497 |  | 08 nos 01 nos | M/s Ceegeez Associates - Colombo | Delivered price LKR 19,800.00/each LKR 19,800.00/each |
| 11/335405 18/335298 |  | 21 nos 17 nos | M/s South India Surgical Co Ltd - India | US$ 31.00/each C&F US$ 22.00/each C&F |
| 08/335269 |  | 02 nos | M/s Rudolf GMBH - Germany | Euro FOB 838.38/each + Actual freight and packing chargers |
| DHS/SUS/931/B/2011 of 20.04.2011 02/558126 03/558134 05/558176 08/558223 10/558388 13/558508 16/558782 17/559805 19/559871 |  | 08 Nos 10 Nos 05 Nos 10 Nos 10 Nos 10 Nos 20 Nos 20 Nos 10 Nos | M/s CID Srl - Italy | C&F US$ 184.00/each US$ 184.00/each US$ 184.00/each US$ 184.00/each US$ 184.00/each US$ 184.00/each US$ 184.00/each US$ 184.00/each US$ 184.00/each |
| 04/558168 06/558184 07/558207 11/558435 18/559847 |  | 10 Nos 20 nos 20 nos 10 nos 10 nos | M/s India Medtronic Pvt Ltd.,- India | C&F US$ 300.00/each US$ 300.00/each US$ 300.00/each US$ 300.00/each US$ 300.00/each |
| 14/558702 15/558710 |  | 10 nos 10 nos | M/s B. Braun Medicals Sdn Bhd., - Malaysia | US$ 525.00/each C&F US$ 525.00/each C&F |
| 20/559889 |  | 20nos | M/s Biotronik Ag., - Switzerland | Euro 230.00/each C&F |
| DHS/SUS/17B/12 Item No: 1-3, 5-12, 23-26 Item 18-22 | Surgical consumables |  | M/s Judes Medical Hong Kong Edward life science | USD 17.748.00 C&F USD 8626 C&F |
| DHS/SUS/82/P/2012 Item No: 28-31 Item No: 34 | Surgical Consumables |  | Ceegeez Associates - Colombo Ceegeez Associates - Colombo | USD 9720(total delivered Price ) Rs. 13,500/= (total delivered price) |